## Sheet1
Facility Name:
Month/Year:
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
Hoses | [16 empty] | No Kinks, Flare Spots, Blockages
Boots | [16 empty] | No Tears, Slits
Faceplates / Flexible Cones | [16 empty] | Good Seals, Not Missing
Nozzle Shutoff | [16 empty] | No Shutoff Malfunctions
Check Valves | [16 empty] | Properly Wired/clamped
Certified Equipment | [16 empty] | No Missing Labels,/Stickers/Visible
Underground Storage Tanks | [16 empty] | No Missing Seals, All Valves Closed, All Caps Properly Seals
Vapor Processing System | [16 empty] | Power On, Compressor Working
Initials
| 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
Hoses | [16 empty] | No Kinks, Flare Spots, Blockages
Boots | [16 empty] | No Tears, Slits
Faceplates / Flexible Cones | [16 empty] | Good Seals, Not Missing
Nozzle Shutoff | [16 empty] | No Shutoff Malfunctions
Check Valves | [16 empty] | Properly Wired/clamped
Certified Equipment | [16 empty] | No Missing Labels,/Stickers/Visible
Underground Storage Tanks | [16 empty] | No Missing Seals, All Valves Closed, All Caps Properly Seals
Vapor Processing System | [16 empty] | Power On, Compressor Working
Initials
Instructions to complete this form: |  |  | A check mark ( ) in each box for each day signifies that all the equipment at this facility is operational. If a piece of equipment is not working or is damaged,
the number of the pump will be written in that block for that day. Continue to write the pump number in the block each day until the equipment is repaired or
replaced. To avoid violations of state regulations. tag all equipment that is out of service so it will not be used until repaired or replaced.
| NOTE: |  | Keep all records of repairs or replacements.