## Format Information
Key
Required
Lookup
Lookup And Required
Format Name: LDEQ
Format Version: 1.02.78

## DataProvider_v1
Field Name | Data Type | Key | Required | Default | Parent | Lookup | Database Mapping(s) | Comment | Checks
data_provider | Text(20) | PK | Y |  |  | rt_company.company_code |  | AI number or assigned ID number fo company/agency responsible for submitting a part of the data.
data_contact_person | Text(30) | [6 empty] | Name of contact associated with data_provider.
data_contact_address1 | Text(40) | [6 empty] | Physical address of data provider contact.
data_contact_address2 | Text(40) | [6 empty] | Complete mailing address of data provider contact.
data_contact_city | Text(30) | [6 empty] | Physical address city.
data_contact_state | Text(5) |  |  |  |  | rt_state.state_code |  | Physical address state.
data_contact_zipcode | Text(10) | [6 empty] | Physical address postal code
data_contact_email | Text(60) | [6 empty] | Contact e-mail address.
data_contact_phone | Text(30) | [6 empty] | Contact phone number.

## Facility_v1
Field Name | Data Type | Key | Required | Default | Parent | Lookup | Database Mapping(s) | Comment | Checks
facility_code | Text(20) | PK | Y |  |  |  |  | Agency Interest (AI) Number
prp_agency | Text(20) | [6 empty] | PRP agency
data_provider | Text(20) |  |  |  |  | rt_company.company_code |  | Data provider
facility_type | Text(20) | [6 empty] | Facility type
program_code | Text(20) | [6 empty] | Program code
facility_name | Text(60) | [6 empty] | Facility name
address_1 | Text(40) | [6 empty] | Address 1
address_2 | Text(40) | [6 empty] | Address 2
city | Text(30) | [6 empty] | City
county | Text(50) | [6 empty] | County
state | Text(10) |  |  |  |  | rt_state.state_code |  | State
country | Text(50) | [6 empty] | Country
postal_code | Text(30) | [6 empty] | Postal code
coord_type_code | Text(20) | [6 empty] | Coordinate type code
phone_number | Text(30) | [6 empty] | Phone number
alt_phone_number | Text(30) | [6 empty] | Alternate phone number
fax_number | Text(30) | [6 empty] | Fax number
email_address | Text(100) | [6 empty] | Email address
remark | Text(2000) | [6 empty] | Remark
client | Text(50) | [6 empty] | Client
identifier | Text(20) | [6 empty] | Identifier
sys_region_code | Text(20) | [6 empty] | System region code
project_manager | Text(50) | [6 empty] | Project manager
start_date | Date | [6 empty] | Facility start date
coord_unit | Text(15) | [6 empty] | Coordinate unit
elev_unit | Text(15) | [6 empty] | Elevation unit
x_min | Numeric | [6 empty] | Minimum X coordinate
x_max | Numeric | [6 empty] | Maximum X coordinate
y_min | Numeric | [6 empty] | Minimum Y coordinate
y_max | Numeric | [6 empty] | Maximum Y coordinate
z_min | Numeric | [6 empty] | Minimum Z coordinate
z_max | Numeric | [6 empty] | Maximum Z coordinate

## Task_v1
Field Name | Data Type | Key | Required | Default | Parent | Lookup | Database Mapping(s) | Comment | Checks
task_code | Text(20) | PK | Y |  |  |  |  | Code used to identify the task under which the field sample was retrieved
task_desc | Text(255) | [6 empty] | Task description
start_date | Date | [6 empty] | Task start date
end_date | Date | [6 empty] | Task end date
delivery_order | Text(20) | [6 empty] | Delivery order
client | Text(50) | [6 empty] | Client

## Subfacilities_v1
Field Name | Data Type | Key | Required | Default | Parent | Lookup | Database Mapping(s) | Comment | Checks
subfacility_code | Text(20) | PK | Y |  |  |  |  | Subfacility code
subfacility_type | Text(20) |  |  |  |  | rt_subfacility_type.subfacility_type |  | Subfacility Type
subfacility_name | Text(60) |  | Y |  |  |  |  | Subfacility name
subfacility_description | Text(2000) | [6 empty] | Subfacility description
remark_2 | Text(2000) | [6 empty] | Remark 2
contact_name | Text(50) | [6 empty] | Contact name
address_1 | Text(40) | [6 empty] | Address 1
address_2 | Text(40) | [6 empty] | Address 2
city | Text(30) | [6 empty] | City
state | Text(10) |  |  |  |  | rt_state.state_code |  | State
zipcode | Text(30) | [6 empty] | Zip code
phone_number | Text(30) | [6 empty] | Phone number
alt_phone_number | Text(30) | [6 empty] | Alternate phone number
fax_number | Text(30) | [6 empty] | Fax number
email_address | Text(100) | [6 empty] | Email address

## Location_v1
Field Name | Data Type | Key | Required | Default | Parent | Lookup | Database Mapping(s) | Comment | Checks
data_provider | Text(20) |  | Y |  | DataProvider_v1.data_provider | rt_company.company_code |  | AI of Data Provider
sys_loc_code | Text(20) | PK | Y |  |  |  |  | Location identifier of sample collection, soil boring, or well installation. Examples of possible sys_loc_code are MW-01, A-1, SB6, etc.
x_coord | Numeric |  | Y |  |  |  |  | Longitude in decimal degrees
y_coord | Numeric |  | Y |  |  |  |  | Latitude in decimal degrees
surf_elev | Numeric | [6 empty] | Sampling location surface elevation
elev_unit | Text(10) |  |  |  |  | (Enumeration: elev_unit) |  | Unit of measurement for elevations
coord_sys_desc | Text(8) |  | Y |  |  | (Enumeration: coord_sys_desc) |  | Latitude and longitude in decimal degrees
observation_date | Date | [6 empty] | Date observation or site survey was made
alt_x_coord | Numeric | [6 empty] | Coordinate in UTM NAD 83
alt_y_coord | Numeric | [6 empty] | Coordinate in UTM NAD 83
coord_type_code | Text(20) |  |  |  |  | (Enumeration: coord_type_code) |  | UTM coordinates
identifier | Text(20) | [6 empty] | Enter 1 here if alt_x_coord and alt_y_coord is populated.
horz_collect_method_code | Text(2) |  |  |  |  | rt_coord_horz_method.horz_collect_method_code |  | Use codes in horizontal collection method valid value table in appendix. Method used to determine the latitude/longitude.
horz_accuracy_value | Text(20) | [6 empty] | Accuracy range (+/-) of the latitude and longitude. Only the least accurate measurement should be reported, regardless if it is for latitude or longitude.
horz_accuracy_unit | Text(5) |  |  |  |  | (Enumeration: horz_accuracy_unit) |  | Unit of the horizontal accuracy value
horz_datum_code | Text(1) |  |  |  |  | rt_coord_horz_datum.horz_datum_code |  | Reference datum of the latitude and longitude
elev_collect_method_code | Text(2) |  |  |  |  | rt_coord_elev_method.elev_collect_method_code |  | Method used to determine the ground elevation of the sampling location
elev_accuracy_value | Text(20) | [6 empty] | Accuracy range (+/-) of the elevation measurement
elev_accuracy_unit | Text(15) |  |  |  |  | rt_unit.unit_code |  | Unit of the elevation accuracy value
elev_datum_code | Text(1) |  |  |  |  | rt_coord_elev_datum.elev_datum_code |  | Reference datum for the elevation measurement
source_scale | Text(2) |  |  |  |  | (Enumeration: source_scale) |  | Scale of the source used to determine the latitude and longitude
subcontractor_name_code | Text(20) |  |  |  |  | rt_company.company_code |  | Code used to distinguish subcontractor name
verification_code | Text(1) | [6 empty] | Verification code
reference_point | Text(2) |  |  |  |  | (Enumeration: reference_point) |  | Describes the place at which geologic coordinates were established
geometric_type_code | Text(20) |  |  |  |  | rt_coord_geometric_type.geometric_type_code |  | Geometric type code
rank | Numeric | [6 empty] | Rank
loc_name | Text(80) | [6 empty] | Sampling location name
loc_desc | Text(255) | [6 empty] | Sampling location description
loc_type | Text(20) |  | Y |  |  | rt_location_type.location_type_code |  | Sampling location type. Use codes in loc_type valid value table in appendix.
loc_purpose | Text(20) | [6 empty] | Sampling location purpose
subfacility_code | Text(20) |  | Y |  | Subfacilities_v1.subfacility_code |  |  | Unique code for site or area
within_facility_yn | Text(1) |  | Y | Y |  | (Enumeration: yes_no_values) |  | Indicates whether this sampling location is within facility boundaries, 'Y' for yes or 'N' for no.
loc_parish_code | Text(20) |  | Y |  |  |  |  | Location parish
loc_region_code | Text(20) |  | Y |  |  |  |  | Location region
loc_state_code | Text(10) |  | Y |  |  | rt_state.state_code |  | Location state code; controlled vocabulary using FIPS codes
loc_major_basin | Text(8) |  |  |  |  | rt_basin.basin_code |  | Location major basin; controlled vocabulary using HUC (Hydrologic Unit Codes). HUC codes can be found via the internet at http://www.epa.gov/surf. The first 8 digits of the HUC code should be entered here.
loc_minor_basin | Text(20) | [6 empty] | Location minor basin; controlled vocabulary using HUC codes. Any digits after the 8th (first 8 are reported in loc_major_basin) should be reported here.
remark | Text(255) | [6 empty] | Location specific comment.
total_depth | Numeric | [6 empty] | Total depth below ground surface of boring, in feet.
depth_to_bedrock | Numeric | [6 empty] | Depth below ground surface of bedrock in feet.
depth_to_top_of_screen | Numeric | [6 empty] | Depth below ground surface to the top of the well screen. This information is required to obtain the vertical location from which the groundwater sample was taken. Leave null if sample is not from well.
depth_to_bottom_of_screen | Numeric | [6 empty] | Depth below ground surface to bottom of well screen. This information is required to obtain the vertical location from which the groundwater sample was taken. Leave null if sample is not from well.
top_casing_elev | Numeric | [6 empty] | Elevation of the top of casing. Leave null if sample is not from well.
datum_value | Numeric | [6 empty] | Datum value
datum_unit | Text(15) |  |  |  |  | rt_unit.unit_code |  | Datum unit
step_or_linear | Text(6) |  |  |  |  | (Enumeration: step_or_linear) |  | Step or linear
datum_collection_method_code | Text(2) |  |  |  |  | rt_coord_elev_method.elev_collect_method_code |  | Datum collection method code
datum_desc | Text(70) | [6 empty] | Datum description
datum_start_date | Date | [6 empty] | Datum start date
geologist | Text(50) | [6 empty] | Geologist
inspector | Text(50) | [6 empty] | Inspector

## LocationParameter_v1
Field Name | Data Type | Key | Required | Default | Parent | Lookup | Database Mapping(s) | Comment | Checks
sys_loc_code | Text(20) | PK | Y |  | Location_v1.sys_loc_code |  |  | Unique Location Name
parameter_code | Text(20) | PK | Y |  |  | rt_location_param_type.param_code |  | Code used to identify parameter being measured, observed, or attribute being described
parameter_value | Text(240) | [6 empty] | Value of parameter
parameter_unit | Text(15) |  |  |  |  | rt_unit.unit_code |  | Parameter unit
measurement_date | Date | [6 empty] | Date of parameter measurement or observation
measurement_time | Time | [6 empty] | Time of parameter measurement or observation. Format hh:mm:ss
measurement_method | Text(20) | [6 empty] | Measurement method
task_code | Text(20) | [6 empty] | Code used to identify the task.
remark | Text(1000) | [6 empty] | Remark

## DrillActivity_v1
Field Name | Data Type | Key | Required | Default | Parent | Lookup | Database Mapping(s) | Comment | Checks
sys_loc_code | Text(20) | PK | Y |  | Location_v1.sys_loc_code |  |  | Soil boring or well installation location. Must be a valid code for the facility and reported value in the sys_loc_code field of the location file.
drill_event | Text(20) | PK | Y |  |  |  |  | Used to identify drilling event. Examples of drilling events could be 'INITIAL' for initial drilling or 'SECOND' for a subsequent drilling at the same sys_loc_code.
start_depth | Numeric | [6 empty] | The start depth, in feet, below ground surface of the drilling activity.
end_depth | Numeric | [6 empty] | End depth, in feet, below ground surface of the drilling activity.
drill_start_date | Date | [6 empty] | Date drilling began
drill_end_date | Date | [6 empty] | Date drilling concluded
diameter | Numeric | [6 empty] | Diameter of boring
diameter_unit | Text(15) |  |  |  |  | rt_unit.unit_code |  | Use values from Unit valid value table. Unit of measure for diameter.
drill_method | Text(50) | [6 empty] | Method used to drill boring
fluid | Text(50) | [6 empty] | Description of fluid used during drilling
viscosity | Text(50) | [6 empty] | Viscosity of drilling fluid
hammer_wt | Text(50) | [6 empty] | Weight of hammer, in pounds, used for sampling
hammer_fall | Text(50) | [6 empty] | Distance of hammer fall during sampling
lift_mechanism | Text(50) | [6 empty] | Type of mechanism used to lift hammer
new_yn | Text(1) |  |  |  |  | (Enumeration: yes_no_values) |  | Is this a new boring? 'Y' for yes or 'N' for no
repair_yn | Text(1) |  |  |  |  | (Enumeration: yes_no_values) |  | Is this drilling event to repair an existing boring? 'Y' for yes or 'N' for no
deepen_yn | Text(1) |  |  |  |  | (Enumeration: yes_no_values) |  | Is this drilling event to deepen an existing boring? 'Y' for yes or 'N' for no
abandon_yn | Text(1) |  |  |  |  | (Enumeration: yes_no_values) |  | Has the boring been abandoned? 'Y' for yes or 'N' for no
replace_yn | Text(1) |  |  |  |  | (Enumeration: yes_no_values) |  | Is this drill event to replace an existing boring? 'Y' for yes or 'N' for no
public_yn | Text(1) |  |  |  |  | (Enumeration: yes_no_values) |  | Is well being install for a public use? ? 'Y' for yes or 'N' for no
purpose | Text(70) | [6 empty] | Describe the purpose of the drill event
rig_desc | Text(50) | [6 empty] | Description of drilling rig
drilling_subcontractor | Text(20) |  |  |  |  | rt_company.company_code |  | Drilling subcontractor
driller | Text(50) | [6 empty] | Driller

## Lithology_v1
Field Name | Data Type | Key | Required | Default | Parent | Lookup | Database Mapping(s) | Comment | Checks
sys_loc_code | Text(20) | PK | Y |  | Location_v1.sys_loc_code |  |  | Soil boring or well installation location. Must be a valid code for the facility and reported in the sys_loc_code field of the location file (Table 3-2).
start_depth | Numeric | PK | Y |  |  |  |  | The start depth of the lithologic layer
material_type | Text(40) |  |  |  |  | rt_material.material_name |  | The type of material that composes the lithologic unit. Controlled vocabulary, see material list in appendix. Must be used in all cases except when a depth specific comment is being made.
geo_unit_code_1 | Text(20) | [6 empty] | The data providers interpretation of the hydrogeologic unit present at this lithologic unit, e.g., aquifer 1, aquitard 1, aquifer 2, upper clay unit
geo_unit_code_2 | Text(20) | [6 empty] | Alternate geologic unit grouping. This can be a sub-classification of geologic_unit_code_1 or a layer used for groundwater flow/transport computer modelling that contains the lithologic unit.
remark1 | Text(255) | [6 empty] | Comment on the lithologic unit
remark2 | Text(255) | [6 empty] | Comment on the geologic unit
moisture | Text(20) |  |  |  |  | (Enumeration: moisture) |  | What degree of moisture was observed within the lithologic unit?
permeable | Text(20) | [6 empty] | Description of the permeability of the lithologic unit such as 'impervious', 'semi', 'pervious,' or 'very'.
consolidated_yn | Text(1) |  |  |  |  | (Enumeration: yes_no_values) |  | Was lithologic unit consolidated? 'Y' for yes or 'N' for no.
color | Text(30) |  |  |  |  | (Enumeration: color) |  | Color of lithologic layer
observation | Text(255) | [6 empty] | General field observations of the lithologic unit
consistency | Text(20) | [6 empty] | Description of the consistency of the soil such as 'very soft', 'soft, 'firm', 'hard' or 'very hard'
sorting | Text(20) |  |  |  |  | (Enumeration: sorting) |  | Geologic description of the grain size distribution of the lithologic unit. Use 'poor' for soil with a wide range of particle sizes or 'well' for soil with a narrow range of particle sizes.
grainsize | Text(20) | [6 empty] | Description of grain size
odor | Text(20) |  |  |  |  | (Enumeration: odor) |  | Description of odor from the soil
end_depth | Numeric | [6 empty] | The end depth of the lithologic layer.
density | Text(20) |  |  |  |  | (Enumeration: density) |  | Density

## Well_v1
Field Name | Data Type | Key | Required | Default | Parent | Lookup | Database Mapping(s) | Comment | Checks
sys_loc_code | Text(20) | PK | Y |  | Location_v1.sys_loc_code |  |  | Well installation location. Must be a valid code for the facility and reported in the sys_loc_code field of the location file.
well_id | Text(30) | [6 empty] | Well ID
well_description | Text(30) | [6 empty] | Used for additional well description, if necessary
well_owner | Text(30) | [6 empty] | Name of entity that owns the well
well_purpose | Text(20) | [6 empty] | Purpose of well
well_status | Text(20) | [6 empty] | Current status of well
top_casing_elev | Numeric | [6 empty] | Elevation of the top of well casing
datum_value | Numeric | [6 empty] | Value of datum used to reference water level measurements
datum_unit | Text(15) |  |  |  |  | rt_unit.unit_code |  | Unit of measure for the well datum
datum_desc | Text(70) | [6 empty] | Description of the datum, such as 'top of well casing'
step_or_linear | Text(6) |  |  |  |  | (Enumeration: step_or_linear) |  | If a section of the well casing was removed or added use 'step' as the value. If nothing was added or removed from the last survey use 'linear' as the value.
datum_start_date | Date | [6 empty] | Date that datum was first used in MM/DD/YYYY format
datum_collection_method_code | Text(2) |  |  |  |  | rt_coord_elev_method.elev_collect_method_code |  | Method used to determine the datum elevation
depth_of_well | Numeric | [6 empty] | Depth below ground surface of the well bottom
depth_unit | Text(15) |  |  |  |  | rt_unit.unit_code |  | Unit of measurement for depth
depth_measure_method | Text(20) | [6 empty] | Method of measuring depth of well
stickup_height | Text(8) | [6 empty] | Height of casing above ground surface
stickup_unit | Text(15) |  |  |  |  | rt_unit.unit_code |  | Unit of measure for the stickup height
sump_length | Text(20) | [6 empty] | Length of sump
sump_unit | Text(15) |  |  |  |  | rt_unit.unit_code |  | Unit of measure for the sump length
installation_date | Date | [6 empty] | Date of well installation in MM/DD/YYYY format
construct_start_date | Date | [6 empty] | Date well construction began in MM/DD/YYYY format
construct_complete_date | Date | [6 empty] | Date well construction was completed in MM/DD/YYYY format
construct_contractor | Text(20) |  |  |  |  | rt_company.company_code |  | Name of contractor that installed well
pump_type | Text(20) | [6 empty] | Type of pump used at well such as centrifugal, propeller, jet, helical, rotary, etc.
pump_capacity | Text(6) | [6 empty] | Capacity of pump
pump_unit | Text(15) |  |  |  |  | rt_unit.unit_code |  | Unit of measure for the pump capacity and yield
pump_yield | Text(6) | [6 empty] | The yield of the pump
pump_yield_method | Text(20) | [6 empty] | Method used for pump yield
weep_hole | Text(1) |  |  |  |  | (Enumeration: yes_no_values) |  | Is there a weep hole? 'Y' for yes or 'N' for no
head_configuration | Text(50) | [6 empty] | Description of the well head
access_port_yn | Text(1) |  |  |  |  | (Enumeration: yes_no_values) |  | Is there an access port? 'Y' for yes or 'N' for no
casing_joint_type | Text(50) | [6 empty] | Type of casing joint such as threaded, flush, or solvent welded
perforator_used | Text(50) | [6 empty] | Description of well perforation such as slotted, drilled, or wound
intake_depth | Numeric | [6 empty] | Depth below ground surface of the well intake
disinfected_yn | Text(1) |  |  |  |  | (Enumeration: yes_no_values) |  | Was well disinfected? 'Y' for yes or 'N' for no
historical_reference_elev | Numeric | [6 empty] | Historical reference value. Used for the elevation of past reference points
geologic_unit_code | Text(20) | [6 empty] | Geologic unit in which the well intake is installed
remark | Text(255) | [6 empty] | General remarks
DOTD_well_no | Text(20) | [6 empty] | DOTD Well Number
well_use_code | Text(20) |  |  |  |  | rt_well_use.well_use_code |  | Well Use Code
driller | Text(50) | [6 empty] | Driller's Name
map_code | Text(20) |  |  |  |  | rt_map.map_code |  | Map Code

## WellConstruction_v1
Field Name | Data Type | Key | Required | Default | Parent | Lookup | Database Mapping(s) | Comment | Checks
sys_loc_code | Text(20) | PK | Y |  | Location_v1.sys_loc_code |  |  | Soil boring or well installation location. Must be a valid code for the facility and reported in the location file either now or during an earlier data submission
segment_type | Text(20) | PK | Y |  |  |  |  | Type of segment within well (e.g., protective casing, well casing, screen, etc.)
material_type_code | Text(20) | PK | Y |  |  |  |  | Material description of well segment
start_depth | Numeric | PK | Y |  |  |  |  | Depth below ground surface of the top of the segment
end_depth | Numeric |  | Y |  |  |  |  | Depth below ground surface of the bottom of the segment
depth_unit | Text(15) |  | Y | ft |  | rt_unit.unit_code |  | The unit of depth measurements
inner_diameter | Numeric | [6 empty] | The inside diameter of segment
outer_diameter | Numeric | [6 empty] | The outside diameter of the segment
diameter_unit | Text(15) |  |  |  |  | rt_unit.unit_code |  | The unit of measure for diameter measurement
thickness | Numeric | [6 empty] | Thickness of the well segment
thickness_unit | Text(15) |  |  |  |  | rt_unit.unit_code |  | The unit of measurement for thickness
slot_type | Text(20) | [6 empty] | Type of slots such as bridge, shutter, and continuous
slot_size | Numeric | [6 empty] | Width of slots
slot_size_unit | Text(15) |  |  |  |  | rt_unit.unit_code |  | The unit of measurement for slot size
perf_length | Numeric | [6 empty] | Length of perforated portion of screen
screen_type | Text(15) | [6 empty] | Type of screen
material_quantity | Text(20) | [6 empty] | Quantity of material used. Applicable to annular seal/fill material.
material_density | Text(20) | [6 empty] | Density of the annular seal material
remark | Text(255) | [6 empty] | Remarks regarding the well segment

## GeoSamples_v1
Field Name | Data Type | Key | Required | Default | Parent | Lookup | Database Mapping(s) | Comment | Checks
sys_loc_code | Text(20) |  | Y |  | Location_v1.sys_loc_code |  |  | Sample collection location. Must be a valid code for the facility and reported in the sys_loc_code field of the location file.
geo_sample_code | Text(40) | PK | Y |  |  |  |  | Unique sample identifier. Considerable flexibility is given in the methods used to derive and assign unique sample identifiers, but uniqueness throughout the database is the only restriction enforced.
sample_name | Text(50) | [6 empty] | Use to provide a name or description of sample. Does not have to be a unique.
sample_top | Numeric |  | Y |  |  |  |  | Depth, in feet below ground surface, to top of sample
sample_bottom | Numeric |  | Y |  |  |  |  | Depth, in feet below ground surface, to bottom of sample
sample_date | Date | [6 empty] | Date sample was collected in MM/DD/YYYY format
sample_time | Time | [6 empty] | Time sample was collected. Format hh:mm:ss
sample_method | Text(30) | [6 empty] | Method used to obtain sample
material_type | Text(40) |  |  |  |  | rt_material.material_name |  | Material type of geologic sample
sample_desc | Text(255) | [6 empty] | General description of the sample or sampling activities
geologic_unit_code | Text(20) | [6 empty] | Code used to identify the geologic unit of sample
liquid_limit | Numeric | [6 empty] | Liquid limit of sample
plastic_limit | Numeric | [6 empty] | Plastic limit of sample
shrinkage_limit | Numeric | [6 empty] | Shrinkage limit of sample
flow_index | Numeric | [6 empty] | Flow index of sample
plasticity_index | Numeric | [6 empty] | Plasticity index of sample
activity | Numeric | [6 empty] | Activity of sample
e | Numeric | [6 empty] | Void ratio of sample
e_max | Numeric | [6 empty] | Maximum void ratio of sample
e_min | Numeric | [6 empty] | Minimum void ratio of sample
n | Numeric | [6 empty] | Porosity of sample
specific_gravity | Numeric | [6 empty] | Specific gravity of sample
w | Numeric | [6 empty] | Water content of sample
opt_w | Numeric | [6 empty] | Optimum water content
s | Numeric | [6 empty] | Degree of saturation of the sample
K | Numeric | [6 empty] | Hydraulic conductivity of sample
K_unit | Text(15) |  |  |  |  | rt_unit.unit_code |  | Unit of measure for K
unit_wt | Numeric | [6 empty] | Unit weight of sample
sat_unit_wt | Numeric | [6 empty] | Saturated unit weight
dry_unit_wt | Numeric | [6 empty] | Dry unit weight
dry_unit_wt_max | Numeric | [6 empty] | Maximum dry unit weight
dry_unit_wt_min | Numeric | [6 empty] | Minimum dry unit weight
density_unit | Text(15) |  |  |  |  | rt_unit.unit_code |  | Unit of measure for the density of the sample
rel_density | Numeric | [6 empty] | Relative density of sample
rel_compaction | Numeric | [6 empty] | Relative compaction of sample
consistency | Text(20) | [6 empty] | Description of the consistency of the soil sample such as very soft, soft, firm, hard or very hard
organic_carbon | Numeric | [6 empty] | Organic carbon content of sample
organic_carbon_unit | Text(15) |  |  |  |  | rt_unit.unit_code |  | Unit of measurement of organic carbon

## WaterLevel_v1
Field Name | Data Type | Key | Required | Default | Parent | Lookup | Database Mapping(s) | Comment | Checks
sys_loc_code | Text(20) | PK | Y |  | Location_v1.sys_loc_code |  |  | Soil boring or well installation location. Must be a valid code for the facility and reported in the sys_loc_code field of the location file.
measurement_date | Date | PK | Y |  |  |  |  | Date and time of water level measurement in MM/DD/YYYY HH:MM:SS format
measurement_time | Time | PK | Y |  |  |  |  | Time of parameter measurement or observation. Format hh:mm:ss
historical_reference_elev | Numeric | [6 empty] | Historical reference value. Used for the elevation of past reference points. Elevation must be in feet.
water_level_depth | Numeric | [6 empty] | Depth of ground water below datum defined in well table
water_level_elev | Numeric |  | Y |  |  |  |  | Elevation of water level. Elevation must be in feet.
corrected_depth | Numeric | [6 empty] | Depth of water level after any necessary corrections, e.g., if corrections were necessary to water_level_depth because free product was encountered
corrected_elev | Numeric | [6 empty] | Corrected water level elevation. Elevation must be in feet.
measured_depth_of_well | Numeric | [6 empty] | The depth below ground surface to the bottom of the well
depth_unit | Text(15) |  | Y |  |  | rt_unit.unit_code |  | Use values from Unit valid value table. Unit of measure for depths.
technician | Text(30) | [6 empty] | Name of technician measuring water level
dry_indicator_yn | Text(1) |  |  |  |  | (Enumeration: yes_no_values) |  | Is the well dry? 'Y' for yes or 'N' for no
measurement_method | Text(20) | [6 empty] | Method used to make water level measurements
batch_number | Text(10) | [6 empty] | Batch number
dip_or_elevation | Text(10) |  |  |  |  | (Enumeration: dip_or_elevation) |  | Use either 'elevation' or 'dip'. Use 'elevation' if water level measurement is above the datum (i.e., artesian well) or 'dip' if water level is below datum.
remark | Text(255) | [6 empty] | Remark on measurement
lnapl_cas_rn | Text(15) |  |  |  |  | rt_analyte.cas_rn |  | LNAPL_cas_rn
lnapl_depth | Numeric | [6 empty] | LNAPL_depth
dnapl_cas_rn | Text(15) |  |  |  |  | rt_analyte.cas_rn |  | DNAPL_cas_rn
dnapl_depth | Numeric | [6 empty] | DNAPL_depth
task_code | Text(20) | [6 empty] | Code used to identify the task under which the field sample was retrieved

## WaterTable_v1
Field Name | Data Type | Key | Required | Default | Parent | Lookup | Database Mapping(s) | Comment | Checks
sys_loc_code | Text(20) | PK | Y |  | Location_v1.sys_loc_code |  |  | Soil boring or well installation location. Must be a valid code for the facility and reported in the sys_loc_code field of the location file.
type | Text(20) | PK | Y |  |  |  |  | Aquifer designation such as unconfined1, confined1, or confined2
sequence | Text(20) | PK | Y |  |  | (Enumeration: sequence) |  | Designation of when water level measurement was taken. For example, measurement before water stabilized would be 'unstabilized' and after stabilization would be 'stabilized'.
depth | Numeric |  | Y |  |  |  |  | Depth of water table below reference point
flowing_yn | Text(1) |  |  |  |  | (Enumeration: yes_no_values) |  | Is the water table flowing? 'Y' for yes or 'N' for no
measurement_method | Text(50) | [6 empty] | Method of measuring water table depth
capped_pressure | Numeric | [6 empty] | Hydrostatic pressure of confined aquifer
capped_pressure_unit | Text(15) |  |  |  |  | rt_unit.unit_code |  | Unit of measure for capped pressure
reference_point | Text(50) | [6 empty] | Description of reference point from which depth were measured
reference_elevation | Numeric | [6 empty] | The reference point elevation
temperature | Numeric | [6 empty] | Temperature of water in the water table
temperature_unit | Text(15) |  |  |  |  | rt_unit.unit_code |  | Unit of temperature

## DownholePoint_v1
Field Name | Data Type | Key | Required | Default | Parent | Lookup | Database Mapping(s) | Comment | Checks
sys_loc_code | Text(20) | PK | Y |  | Location_v1.sys_loc_code |  |  | Soil boring or well installation location. Must be a valid code for the facility and reported in the sys_loc_code field of the location file.
depth | Numeric | PK | Y |  |  |  |  | Depth of measurement below ground surface
param | Text(20) | PK | Y |  |  | rt_downhole_point_param_type.param |  | The parameter being measured such as tip stress, resistivity, or pore pressure
param_value | Numeric |  | Y |  |  |  |  | The measured value of the parameter
param_unit | Text(15) |  |  |  |  | rt_unit.unit_code |  | The unit of the measured value

## ExtractionInjectionWells_v1
Field Name | Data Type | Key | Required | Default | Parent | Lookup | Database Mapping(s) | Comment | Checks
sys_loc_code | Text(20) | PK | Y |  | Well_v1.sys_loc_code Location_v1.sys_loc_code |  |  | Well installation code
start_measure_date | Date | PK | Y |  |  |  |  | Date that the pumping measures began in MM/DD/YYYY format
start_measure_time | Time |  | Y |  |  |  |  | Time that the pumping measures began in HH:MM:SS format
end_measure_date | Date |  | Y |  |  |  |  | Date that the pumping measures concluded in MM/DD/YYYY format
end_measure_time | Time |  | Y |  |  |  |  | Time that the pumping measures began in HH:MM:SS format
ave_pump_rate | Numeric |  | Y |  |  |  |  | Average pumping rate. Recommended method: volume pumped divided by reported measurement date span
pump_rate_unit | Text(15) |  | Y |  |  | rt_unit.unit_code |  | Unit of measure for the pumping rate
pct_operating_time | Numeric | [6 empty] | Percentage of the measurement time interval that the well was operating. 0 - 100 (no %)
operating_mode | Text(14) |  | Y |  |  | (Enumeration: operating_mode) |  | Mode in which well was operating during the reported interval
design_rate | Text(14) |  | Y |  |  |  |  | Pumping rate specified in the remedial design to fully capture site's contamination
design_rate_unit | Text(14) |  | Y |  |  | rt_unit.unit_code |  | Unit of measure for the design pumping rate
rate_measurement_type | Text(10) |  |  |  |  | (Enumeration: rate_measurement_type) |  | Type of measurement used for averaging
suction | Text(14) | [6 empty] | Vacuum in well (e.g. wellpoint vacuum) or well casing (e.g. vacuum well) in equivalent feet of water
remark | Text(255) | [6 empty] | Remarks regarding the pumping rate measurements

## Purge_v1
Field Name | Data Type | Key | Required | Default | Parent | Lookup | Database Mapping(s) | Comment | Checks
sys_loc_code | Text(20) | PK | Y |  | Location_v1.sys_loc_code |  |  | Unique Station ID
start_date | DateTime | PK | Y |  |  |  |  | Date the location was purged
end_date | DateTime | [6 empty] | Date the location was purged
sampling_zone | Text(20) | [6 empty] | Description of zone that was sampled
depth_unit | Text(15) |  |  |  |  | rt_unit.unit_code |  | Unit of measurement for the purge depth
depth_to_water | Text(8) | [6 empty] | Depth to water
flowmeter_start | Text(7) | [6 empty] | Start reading of flowmeter
purge_vol | Text(7) | [6 empty] | Purged volume
purge_vol_unit | Text(15) |  |  |  |  | rt_unit.unit_code |  | Unit of purged volume
purge_rate | Text(6) | [6 empty] | Purge rate
purge_rate_unit | Text(15) |  |  |  |  | rt_unit.unit_code |  | Purge rate unit
purge_purpose | Text(2) | [6 empty] | Purpose of purge
purge_method | Text(50) | [6 empty] | Purge method
remark | Text(250) | [6 empty] | Remark

## SampleParameter_v1
Field Name | Data Type | Key | Required | Default | Parent | Lookup | Database Mapping(s) | Comment | Checks
sys_sample_code | Text(40) | PK | Y |  |  |  |  | Unique sample identifier. Each sample must have a unique value, including spikes and duplicates. Laboratory QC samples must also have unique identifiers. The laboratory and the EQuIS user have considerable flexibility in the methods they use to derive and assign unique sample identifiers, but uniqueness throughout the database is the only restriction enforced by EQuIS.
measurement_date | Date | PK | Y |  |  |  |  | Measurement date
measurement_time | Time | PK | Y |  |  |  |  | Measurement time. Format hh:mm:ss
param_code | Text(20) | PK | Y |  |  | rt_sample_param_type.param_code |  | Parameter code
param_value | Text(255) | [6 empty] | Parameter value
param_unit | Text(15) |  |  |  |  | rt_unit.unit_code |  | Unit of measure for parameter value
measurement_method | Text(20) | [6 empty] | Measurement method
remark | Text(255) | [6 empty] | Remark

## FieldResults_v1
Field Name | Data Type | Key | Required | Default | Parent | Lookup | Database Mapping(s) | Comment | Checks
data_provider | Text(20) |  | Y |  |  | rt_company.company_code |  | Data Provider.
sys_loc_code | Text(20) |  | Y |  |  |  |  | Unique Station ID. Required for mapping.
sys_sample_code | Text(40) | PK | Y |  |  |  |  | Unique sample identifier. The sys sample code field must consist of a three digit personnel ID number or three letter initial of sampler, the date (yymmdd) and a sequence number and/or letter description. Example: Personnel 123 collecting the first sample on January 01, 2007 at monitoring well #1 would give the sample the following sample identification number: 123-070101-MW1-01. A duplicate sample collected of the example above would have a sys sample code number of 123-070101-MW1-01-Dup.
field_parameter | Text(15) | PK | Y |  |  | rt_analyte.cas_rn |  | Use values in analyte valid value table
parameter_name | Text(75) |  | Y |  |  |  |  | Use the name in the analyte valid value table
start_depth | Numeric | [6 empty] | Sample start depth
end_depth | Numeric | [6 empty] | Sample end depth
depth_unit | Text(2) |  |  |  |  | (Enumeration: depth_unit) |  | Sample depth unit.
result_date | Date | PK | Y |  |  |  |  | Result date (MM/DD/YYYY).
result_time | Time | PK | Y |  |  |  |  | Time result was collected. Format hh:mm:ss
result_value | Text(20) |  | Y |  |  |  |  | Result value.
result_unit | Text(15) |  | Y |  |  | rt_unit.unit_code |  | Result unit.
quantitation_limit | Text(20) | [6 empty] | Quantitation limit
task_code | Text(40) | [6 empty] | Code used to identify the task under which the field sample was retrieved
sample_matrix_code | Text(10) |  | Y |  |  | rt_matrix.matrix_code |  | Sample matrix code
qualifier | Text(20) |  |  |  |  | rt_qualifier.qualifier |  | Qualifier
sampling_company_code | Text(20) |  |  |  |  | rt_company.company_code |  | Company code.
sampler | Text(50) | [6 empty] | Name or initials of sampler
sampling_reason | Text(30) | [6 empty] | sampling reason
sampling_method | Text(40) | [6 empty] | Sampling method
reportable_result | Text(10) |  | Y | Yes |  | (Enumeration: reportable_result) |  | Reportable result
value_type | Text(10) |  | Y |  |  | (Enumeration: value_type) |  | How value was derived
remark | Text(1000) | [6 empty] | Unused in Region 4.
field_sdg | Text(20) | [6 empty] | Field Sample Delivery Group
sample_type_code | Text(20) |  | Y | N |  | rt_sample_type.sample_type_code |  | Sample type code.
composite_yn | Text(1) |  | Y | N |  | (Enumeration: yes_no_values) |  | Is sample a composite sample? 'Y' for yes or 'N' for no
composite_desc | Text(255) | [6 empty] | Description of composite sample (if composite_yn is 'Yes')
column_number | Text(2) |  | Y | NA |  |  |  | Default value of ‘NA’. NOTE: This is a key (unique) column.

## Sample_v1
Field Name | Data Type | Key | Required | Default | Parent | Lookup | Database Mapping(s) | Comment | Checks
sys_sample_code | Text(40) | PK | Y |  |  |  |  | Unique sample identifier. The sys sample code field must consist of a three digit personnel ID number or three letter initial of sampler, the date (yymmdd) and a sequence number and/or letter description. Example: Personnel 123 collecting the first sample on January 01, 2007 at monitoring well #1 would give the sample the following sample identification number: 123-070101-MW1-01. A duplicate sample collected of the example above would have a sys sample code number of 123-070101-MW1-01-Dup.
sample_name | Text(30) | [6 empty] | Additional sample identification information as necessary. Is not required to be unique (i.e., duplicates are OK).
sample_matrix_code | Text(3) |  | Y |  |  | rt_matrix.matrix_code |  | Code which distinguishes between different types of sample matrix. For example, soil samples must be distinguished from ground water samples, etc.
sample_type_code | Text(3) |  | Y |  |  | rt_sample_type.sample_type_code |  | Code which distinguishes between different types of samples. For example, normal field samples must be distinguished from laboratory method blank samples, etc.
sample_source | Text(10) |  | Y |  |  | (Enumeration: sample_source) |  | This field identifies where the sample came from, either Field or Lab. In this import, this should always be Field.
parent_sample_code | Text(40) |  |  |  | Sample_v1.sys_sample_code |  |  | The value of "sys_sample_code" that uniquely identifies the sample that was the source of this sample. For example, the value of this field for a duplicate sample would identify the normal sample of which this sample is a duplicate.
sample_date | Date | [6 empty] | Date sample was collected (in MM/DD/YYYY format for EDD)
sample_time | Time | [6 empty] | Time sample was collected. Format hh:mm:ss
sys_loc_code | Text(20) |  |  |  | Location_v1.sys_loc_code |  |  | Soil boring or well installation location. Must be a valid code for the facility and reported in the sys_loc_code field of the location file (Table 3-2).* Field should be null if field QC sample (e.g., field blank, trip blank, etc.)
start_depth | Numeric | [6 empty] | Beginning depth (top) of sample in feet below ground surface. Leave null for most ground water samples from monitoring wells. Database will derive this information from the start/end depth of the well screen field located in another data table. Only use for groundwater samples if discrete samples are taken at different depth elevations from a single well, i.e. multiple well packer samples.
end_depth | Numeric | [6 empty] | Ending depth (top) of sample in feet below ground surface. Leave null for most ground water samples from monitoring wells. Database will derive this information from the start/end depth of the well screen field located in another data table. Only use for groundwater samples if discrete samples are taken at different depth elevations from a single well, i.e. multiple well packer samples.
depth_unit | Text(15) |  |  |  |  | rt_unit.unit_code |  | Unit of measurement for the sample begin and end depths
chain_of_custody | Text(15) | [6 empty] | Chain of custody identifier. A single sample may be assigned to only one chain of custody.
sent_to_lab_date | Date | [6 empty] | Date sample was sent to lab (in MM/DD/YYYY format for EDD)
sample_receipt_date | Date | [6 empty] | Date that sample was received at laboratory (in MM/DD/YYYY format for EDD)
sampler | Text(50) | [6 empty] | Name or initials of sampler
sampling_company_code | Text(20) |  | Y |  |  | rt_company.company_code |  | AI or ID of sampling company. If not listed select "Unknown"
sampling_reason | Text(30) | [6 empty] | Report as null
sampling_technique | Text(40) | [6 empty] | Sampling technique
task_code | Text(20) | [6 empty] | Code used to identify the task under which the field sample was retrieved
collection_quarter | Text(5) | [6 empty] | Format: YYQ# where YY is year and # is 1,2,3,or 4 representing what quarter
composite_yn | Text(1) |  | Y | N |  | (Enumeration: yes_no_values) |  | Is sample a composite sample? 'Y' for yes or 'N' for no
composite_desc | Text(255) | [6 empty] | Description of composite sample (if composite_yn is 'Yes')
sample_class | Text(10) | [6 empty] | Report as null
comment | Text(255) | [6 empty] | Comment
duration | Text(20) | [6 empty] | Duration.
duration_unit | Text(15) |  |  | hr |  |  |  | Duration unit.
equipment_code | Text(20) | [6 empty] | Code for type of equipment used.

## TestResults_v1
Field Name | Data Type | Key | Required | Default | Parent | Lookup | Database Mapping(s) | Comment | Checks
sys_sample_code | Text(40) | PK | Y |  | Sample_v1.sys_sample_code |  |  | Unique sample identifier. The sys sample code field must consist of a three digit personnel ID number or three letter initial of sampler, the date (yymmdd) and a sequence number and/or letter description. Example: Personnel 123 collecting the first sample on January 01, 2007 at monitoring well #1 would give the sample the following sample identification number: 123-070101-MW1-01. A duplicate sample collected of the example above would have a sys sample code number of 123-070101-MW1-01-Dup.
lab_anl_method_name | Text(20) | PK | Y |  |  | rt_analytic_method.analytic_method |  | Laboratory analytical method name or description. A controlled vocabulary column, valid values can be found in the appendix in table lab_anl_method_name.
analysis_date | Date | PK | Y |  |  |  |  | Date and time of sample analysis in MM/DD/YYYY format. May refer to either beginning or end of the analysis as required by EPA.
analysis_time | Time | PK | Y | 00:00:00 |  |  |  | Time of analysis or observation. Format hh:mm:ss
total_or_dissolved | Text(1) | PK | Y |  |  | rt_fraction.fraction |  | Must be either 'D' for dissolved or filtered [metal] concentration, or 'T' for everything else
column_number | Text(2) |  | Y | NA |  |  |  | Default value of ‘NA’. NOTE: This is a key (unique) column.
test_type | Text(10) | PK | Y | INITIAL |  | rt_test_type.test_type |  | Type of test. Valid values include 'INITIAL', 'REEXTRACT1', 'REEXTRACT2', 'REEXTRACT3', 'REANALYSIS', 'DILUTION1', 'DILUTIONS2', and 'DILUTIONS3'
lab_matrix_code | Text(3) |  |  |  |  | rt_matrix.matrix_code |  | Code which distinguishes between different type of sample matrix. For example, soil samples must be distinguished from ground water samples, etc. The matrix of the sample as analyzed may be different from the matrix of the sample as retrieved (e.g. leachates), so this field is available at both the sample and test level.
analysis_location | Text(2) |  | Y | LB |  | (Enumeration: analysis_location) |  | Must be either 'FI' for field instrument or probe, 'FL' for mobile field laboratory analysis, or 'LB' for fixed_based laboratory analysis
basis | Text(10) |  | Y | NA |  | (Enumeration: basis) |  | Must be either 'Wet' for wet_weight basis reporting, 'Dry' for dry_weight basis reporting, or 'NA' for tests for which this distinction is not applicable. The EPA prefers that results are reported on the basis of dry weight where applicable.
container_id | Text(30) | [6 empty] | Report as null
dilution_factor | Numeric |  | Y | 1.0 |  |  |  | Effective test dilution factor
prep_method | Text(20) |  |  |  |  | rt_prep_method.prep_method |  | Laboratory sample preparation method name or description
prep_date | Date | [6 empty] | Beginning date of sample preparation in MM/DD/YYYY format
prep_time | Time | [6 empty] | Beginning time of sample preparation in HH:MM:SS format
leachate_method | Text(15) | [6 empty] | Laboratory leachate generation method name or description. The method name should be sufficient to reflect operation of the laboratory.
leachate_date | DateTime | [6 empty] | Beginning date and time of leachate preparation in MM/DD/YYYY HH:MM:SS format
lab_name_code | Text(20) |  |  |  |  | rt_company.company_code |  | Unique identifier of the laboratory
qc_level | Text(10) |  |  |  |  | (Enumeration: qc_level) |  | qc_level "Prelim" for Perliminary, "LV" for lab validated, or "TPV" for Third Party Validated.
lab_sample_id | Text(20) | [6 empty] | Laboratory LIMS sample identifier. If necessary, a field sample may have more than one LIMS lab_sample_id (maximum one per each test event)
percent_moisture | Numeric | [6 empty] | Percent moisture of the sample portion used in this test; this value may vary from test to test for any sample. Numeric format is 'NN.MM', i.e., 70.1% could be reported as '70.1' but not as '70.1%'.
subsample_amount | Text(14) | [6 empty] | Amount of sample used for test
subsample_amount_unit | Text(15) |  |  |  |  | rt_unit.unit_code |  | Unit of measurement for subsample amount
analyst_name | Text(30) | [6 empty] | Report as null
instrument_id | Text(50) | [6 empty] | Report as null
comment | Text(255) | [6 empty] | Comments about the test
preservative | Text(20) |  |  |  |  | rt_preservative.preservative |  | Sample preservative used
final_volume | Numeric | [6 empty] | The final volume of the sample after sample preparation. Include all dilution factors.
final_volume_unit | Text(15) |  |  |  |  | rt_unit.unit_code |  | The unit of measure that corresponds to the final_amount
cas_rn | Text(15) | PK | Y |  |  | rt_analyte.cas_rn |  | Use values in analyte valid value table
chemical_name | Text(75) |  | Y |  |  |  |  | Use the name in the analyte valid value table
result_value | Text(20) | [6 empty] | Analytical result reported at an appropriate number of significant digits. May be blank for non-detects. If detect_flag='Y', then result_value is required.
result_error_delta | Text(20) | [6 empty] | Error range applicable to the result value; typically used only for radiochemistry results.
result_type_code | Text(3) |  | Y | TRG |  | rt_result_type.result_type_code |  | Must be either 'TRG' for a target or regular result, 'TIC' for tentatively identified compounds, 'SUR' for surrogates, 'IS' for internal standards, or 'SC' for spiked compounds
reportable_result | Text(10) |  | Y | Yes |  | (Enumeration: reportable_result) |  | Must be either 'Yes' for results which are considered to be reportable, or 'No' for other results. This field has many purposes. For example, it can be used to distinguish between multiple results where a sample is retested after dilution. It can also be used to indicate which of the first or second column result should be considered primary. The proper value of this field in both of these two examples should be provided by the laboratory (only one result should be flagged as reportable).
detect_flag | Text(2) |  | Y |  |  | (Enumeration: detect_flag) |  | May be either 'Y' for detected analytes or 'N' for non_detects. Use 'Y' for estimated values (above detection limit but below the quantitation limit) or '<' and '>' for tests such as flash point. Note that '<' must not be used to indicate non-detects (use 'N' for non_detects instead).
lab_qualifiers | Text(10) | [6 empty] | Qualifier flags assigned by the laboratory
validator_qualifiers | Text(10) | [6 empty] | Qualifier flags assigned by the validation firm.
interpreted_qualifiers | Text(10) |  |  |  |  | rt_qualifier.qualifier |  | Qualifier flags assigned by the validation firm
organic_yn | Text(1) |  | Y |  |  | (Enumeration: yes_no_values) |  | Must be either 'Y' for organic constituents or 'N' for inorganic constituents
method_detection_limit | Text(20) | [6 empty] | Report as null
reporting_limit | Numeric | [6 empty] | Concentration level above which results can be quantified with confidence. It must reflect conditions such as dilution factors and moisture content. Required for all results for which such a limit is appropriate. The reporting_limit column must be reported as the sample specific detection limit. If detect_flag = N then reporting_limit is required.
quantitation_limit | Text(20) | [6 empty] | Report as null
result_unit | Text(15) |  |  |  |  | rt_unit.unit_code |  | Units of measurement for the result
detection_limit_unit | Text(15) |  |  |  |  | rt_unit.unit_code |  | Units of measurement for the detection limit(s). This field is required if a reporting_limit is reported.
tic_retention_time | Time | [6 empty] | Report as null
result_comment | Text(255) | [6 empty] | Result specific comments
lab_sdg | Text(20) | [6 empty] | Laboratory Sample Delivery Group

## TestResultsQC_v1
Field Name | Data Type | Key | Required | Default | Parent | Lookup | Database Mapping(s) | Comment | Checks
sys_sample_code | Text(40) | PK | Y |  | Sample_v1.sys_sample_code |  |  | Unique sample identifier. The sys sample code field must consist of a three digit personnel ID number or three letter initial of sampler, the date (yymmdd) and a sequence number and/or letter description. Example: Personnel 123 collecting the first sample on January 01, 2007 at monitoring well #1 would give the sample the following sample identification number: 123-070101-MW1-01. A duplicate sample collected of the example above would have a sys sample code number of 123-070101-MW1-01-Dup.
lab_anl_method_name | Text(20) | PK | Y |  |  | rt_analytic_method.analytic_method |  | Laboratory analytical method name or description
analysis_date | Date | PK | Y |  |  |  |  | Date of sample analysis in 'MM/DD/YYYY' format. May refer to either beginning or end of the analysis as required by EPA.
analysis_time | Time | PK | Y | 00:00:00 |  |  |  | Time of analysis or observation. Format hh:mm:ss
total_or_dissolved | Text(1) | PK | Y |  |  | rt_fraction.fraction |  | Must be either 'D' for dissolved or filtered [metal] concentration, or 'T' for everything else
column_number | Text(2) |  | Y | NA |  |  |  | Default value of ‘NA’. NOTE: This is a key (unique) column.
test_type | Text(10) | PK | Y | INITIAL |  | rt_test_type.test_type |  | Type of test. Valid values include 'INITIAL', 'REEXTRACT1', 'REEXTRACT2', 'REEXTRACT3', 'REANALYSIS', 'DILUTION1', 'DILUTIONS2', and 'DILUTIONS3'
lab_matrix_code | Text(3) |  |  |  |  | rt_matrix.matrix_code |  | Code which distinguishes between different type of sample matrix. For example, soil samples must be distinguished from ground water samples, etc. The matrix of the sample as analyzed may be different from the matrix of the sample as retrieved (e.g. leachates), so this field is available at both the sample and test level.
analysis_location | Text(2) |  | Y | LB |  | (Enumeration: analysis_location) |  | Must be either 'FI' for field instrument or probe, 'FL' for mobile field laboratory analysis, or 'LB' for fixed_based laboratory analysis
basis | Text(10) |  | Y | NA |  | (Enumeration: basis) |  | Must be either 'Wet' for wet_weight basis reporting, 'Dry' for dry_weight basis reporting, or 'NA' for tests for which this distinction is not applicable. The EPA prefers that results are reported on the basis of dry weight where applicable.
container_id | Text(30) | [6 empty] | Report as null
dilution_factor | Numeric |  | Y | 1.0 |  |  |  | Effective test dilution factor
prep_method | Text(20) |  |  |  |  | rt_prep_method.prep_method |  | Laboratory sample preparation method name or description
prep_date | Date | [6 empty] | Beginning date of sample preparation in MM/DD/YYYY format
prep_time | Time | [6 empty] | Beginning time of sample preparation in HH:MM:SS format
leachate_method | Text(15) | [6 empty] | Laboratory leachate generation method name or description. The method name should be sufficient to reflect operation of the laboratory.
leachate_date | Date | [6 empty] | Beginning date and time of leachate preparation in 'MM/DD/YYYY HH:MM:SS' format.
lab_name_code | Text(20) |  |  |  |  | rt_company.company_code |  | AI on ID assigned to lab by LDEQ.
qc_level | Text(10) |  |  |  |  | (Enumeration: qc_level) |  | qc_level "Prelim" for Perliminary, "LV" for lab validated, or "TPV" for Third Party Validated.
lab_sample_id | Text(20) | [6 empty] | Laboratory LIMS sample identifier. If necessary, a field sample may have more than one LIMS lab_sample_id (maximum one per each test event).
percent_moisture | Numeric | [6 empty] | Percent moisture of the sample portion used in this test; this value may vary from test to test for any sample. Numeric format is 'NN.MM', i.e., 70.1% could be reported as '70.1' but not as '70.1%'.
subsample_amount | Text(14) | [6 empty] | Amount of sample used for test
subsample_amount_unit | Text(15) |  |  |  |  | rt_unit.unit_code |  | Unit of measurement for subsample amount
analyst_name | Text(30) | [6 empty] | Report as null
instrument_id | Text(50) | [6 empty] | Report as null
comment | Text(255) | [6 empty] | Comments about the test
preservative | Text(20) |  |  |  |  | rt_preservative.preservative |  | Sample preservative used
final_volume | Numeric | [6 empty] | The final volume of the sample after sample preparation. Include all dilution factors.
final_volume_unit | Text(15) |  |  |  |  | rt_unit.unit_code |  | The unit of measure that corresponds to the final_volume
cas_rn | Text(15) | PK | Y |  |  | rt_analyte.cas_rn |  | Use values in analyte valid value table
chemical_name | Text(75) |  | Y |  |  |  |  | Use the name in the analyte valid value table
result_value | Text(20) | [6 empty] | Analytical result reported at an appropriate number of significant digits. May be blank for non-detects. If detect_flag='Y', then result_value is required.
result_error_delta | Text(20) | [6 empty] | Error range applicable to the result value; typically used only for radiochemistry results.
result_type_code | Text(10) |  | Y | TRG |  | rt_result_type.result_type_code |  | Must be either 'TRG' for a target or regular result, 'TIC' for tentatively identified compounds, 'SUR' for surrogates, 'IS' for internal standards, or 'SC' for spiked compounds.
reportable_result | Text(10) |  | Y | Yes |  | (Enumeration: reportable_result) |  | Must be either 'Yes' for results which are considered to be reportable, or 'No' for other results. This field has many purposes. For example, it can be used to distinguish between multiple results where a sample is retested after dilution. It can also be used to indicate which of the first or second column result should be considered primary. The proper value of this field in both of these two examples should be provided by the laboratory (only one result should be flagged as reportable).
detect_flag | Text(2) |  | Y | Y |  | (Enumeration: detect_flag) |  | Maybe either 'Y' for detected analytes or 'N' for non_detects. Use 'Y' for estimated (above detection limit but below the quantitation limit) or '<' and '>' for tests such as flash point. Note that '<' must not be used to indicate non_detects (use 'N' for non_detects instead).
lab_qualifiers | Text(10) | [6 empty] | Qualifier flags assigned by the laboratory
validator_qualifiers | Text(10) | [6 empty] | Qualifier flags assigned by the validation firm.
interpreted_qualifiers | Text(10) |  |  |  |  | rt_qualifier.qualifier |  | Qualifier flags assigned by the validation firm
organic_yn | Text(1) |  | Y |  |  | (Enumeration: yes_no_values) |  | Must be either 'Y' for organic constituents or 'N' for inorganic constituents
method_detection_limit | Text(20) | [6 empty] | Report as null
reporting_limit | Numeric | [6 empty] | Concentration level above which results can be quantified with confidence. It must reflect conditions such as dilution factors and moisture content. Required for all results for which such a limit is appropriate. The reporting_limit column must be reported as the sample specific detection limit. If detect_flag = N then reporting_limit is required.
quantitation_limit | Text(20) | [6 empty] | Report as null
result_unit | Text(15) |  |  |  |  | rt_unit.unit_code |  | Units of measurement for the result
detection_limit_unit | Text(15) |  |  |  |  | rt_unit.unit_code |  | Units of measurement for the detection limit(s). This field is required if a reporting_limit is reported.
tic_retention_time | Time | [6 empty] | Report as null
result_comment | Text(255) | [6 empty] | Result specific comments
qc_original_conc | Numeric | [6 empty] | The concentration of the analyte in the original (unspiked) sample. Might be required for spikes and spike duplicates (depending on user needs). Not necessary for surrogate compounds or LCS samples (where the original concentration is assumed to be zero).
qc_spike_added | Numeric | [6 empty] | The concentration of the analyte added to the original sample. Might be required for spikes, spike duplicates, surrogate compounds, LCS and any spiked sample (depending on user needs).
qc_spike_measured | Numeric | [6 empty] | The measured concentration of the analyte. Use zero for spiked compounds that were not detected in the sample. Might be required for spikes, spike duplicates, surrogate compounds, LCS and any spiked sample (depending on user needs).
qc_spike_recovery | Numeric | [6 empty] | The percent recovery calculated as specified by the laboratory QC program. Always required for spikes, spike duplicates, surrogate compounds, LCS and any spiked sample. Report as percentage multiplied by 100 (e.g., report "120%" as "120").
qc_dup_original_conc | Numeric | [6 empty] | The concentration of the analyte in the original (unspiked) sample. Might be required for spike or LCS duplicates only (depending on user needs). Not necessary for surrogate compounds or LCS samples (where the original concentration is assumed to be zero).
qc_dup_spike_added | Numeric | [6 empty] | The concentration of the analyte added to the original sample. Might be required for spike or LCS duplicates, surrogate compounds, and any spiked and duplicated sample (depending on user needs). Use zero for spiked compounds that were not detected in the sample. Required for spikes, spike duplicates, surrogate compounds, LCS and any spiked sample. Also complete the qc-spike-added field.
qc_dup_spike_measured | Numeric | [6 empty] | The measured concentration of the analyte in the duplicate. Use zero for spiked compounds that were not detected in the sample. Might be required for spike and LCS duplicates, surrogate compounds, and any other spiked and duplicated sample (depending on user needs). Also complete the qc-spike-measured field.
qc_dup_spike_recovery | Numeric | [6 empty] | The duplicate percent recovery calculated as specified by the laboratory QC program. Always required for spike or LCS duplicates, surrogate compounds, and any other spiked and duplicated sample. Also complete the qc-spike-recovery field. Report as percentage multiplied by 100 (e.g., report "120%" as "120").
qc_rpd | Numeric | [6 empty] | The relative percent difference calculated as specified by the laboratory QC program. Required for duplicate samples as appropriate. Report as percentage multiplied by 100 (e.g., report "30%" as "30").
qc_spike_lcl | Numeric | [6 empty] | Lower control limit for spike recovery. Required for spikes, spike duplicates, surrogate compounds, LCS and any spiked sample. Report as percentage multiplied by 100 (e.g., report "60%" as "60").
qc_spike_ucl | Numeric | [6 empty] | Upper control limit for spike recovery. Required for spikes, spike duplicates, surrogate compounds, LCS and any spiked sample. Report as percentage multiplied by 100 (e.g., report "60%" as "60").
qc_rpd_cl | Numeric | [6 empty] | Relative percent difference control limit. Required for any duplicated sample. Report as percentage multiplied by 100 (e.g., report "25%" as "25").
qc_spike_status | Text(10) |  |  |  |  | (Enumeration: spike_status) |  | Used to indicate whether the spike recovery was within control limits. Use the "*" character to indicate failure, otherwise leave blank. Required for spikes, spike duplicates, surrogate compounds, LCS and any spiked sample.
qc_dup_spike_status | Text(10) |  |  |  |  | (Enumeration: spike_status) |  | Used to indicate whether the duplicate spike recovery was within control limits. Use the "*" character to indicate failure, otherwise leave blank. Required for any spiked and duplicated sample.
qc_rpd_status | Text(10) |  |  |  |  | (Enumeration: spike_status) |  | Used to indicate whether the relative percent difference was within control limits. Use the "*" character to indicate failure, otherwise leave blank. Required for any duplicated sample.
lab_sdg | Text(20) | [6 empty] | Laboratory Sample Delivery Group

## TestBatch_v1
Field Name | Data Type | Key | Required | Default | Parent | Lookup | Database Mapping(s) | Comment | Checks
sys_sample_code | Text(40) | PK | Y |  |  |  |  | Unique sample identifier. The sys sample code field must consist of a three digit personnel ID number or three letter initial of sampler, the date (yymmdd) and a sequence number and/or letter description. Example: Personnel 123 collecting the first sample on January 01, 2007 at monitoring well #1 would give the sample the following sample identification number: 123-070101-MW1-01. A duplicate sample collected of the example above would have a sys sample code number of 123-070101-MW1-01-Dup.
lab_anl_method_name | Text(35) | PK | Y |  |  | rt_analytic_method.analytic_method |  | Laboratory analytical method name or description
analysis_date | Date | PK | Y |  |  |  |  | Date and time of sample analysis in 'MM/DD/YYYY HH:MM:SS' format. May refer to either beginning or end of the analysis as required by EPA.
analysis_time | Time | PK | Y | 00:00:00 |  |  |  | Time of analysis or observation. Format hh:mm:ss
total_or_dissolved | Text(1) | PK | Y |  |  | rt_fraction.fraction |  | Must be either 'D' for dissolved or filtered [metal] concentration, or 'T' for everything else
test_type | Text(10) | PK | Y |  |  | rt_test_type.test_type |  | Type of test. Valid values include 'INITIAL', 'REEXTRACT1', 'REEXTRACT2', 'REEXTRACT3', 'REANALYSIS', 'DILUTION1', 'DILUTIONS2', and 'DILUTIONS3'
test_batch_type | Text(10) | PK | Y |  |  | rt_test_batch_type.test_batch_type |  | Lab batch type. Valid values include 'Prep', 'Analysis', and 'Leach'. This is a required field for all batches.
test_batch_id | Text(20) |  | Y |  |  |  |  | Unique identifier for all lab batches.
column_number | Text(2) |  | Y | NA |  |  |  | Default value of ‘NA’. NOTE: This is a key (unique) column.

## BasicLocations_v1
Field Name | Data Type | Key | Required | Default | Parent | Lookup | Database Mapping(s) | Comment | Checks
sys_loc_code | Text(20) | PK | Y |  |  |  |  | Location identifier of sample collection, soil boring, or well installation. Examples of possible sys_loc_code are MW-01, A-1, SB6, etc.
subfacility_code | Text(20) | [6 empty] | Unique code for Operable Unit (site/area)
x_coord | Numeric |  | Y |  |  |  |  | Sampling location numeric X coordinate
y_coord | Numeric |  | Y |  |  |  |  | Sampling location numeric Y coordinate
surf_elev | Numeric | [6 empty] | Sampling location surface elevation in feet
coord_sys_desc | Text(8) |  | Y |  |  | rt_coord_type.coord_type_code |  | Sampling location coordinate system description.
loc_name | Text(40) | [6 empty] | Sampling location name (i.e. MW-01)
loc_desc | Text(255) | [6 empty] | Sampling location description (i.e. Monitoring Well 01)
loc_type | Text(20) |  |  |  |  | rt_location_type.location_type_code |  | Sampling location type
loc_purpose | Text(20) | [6 empty] | Sampling location purpose (RCRA Monitoring)
within_facility_yn | Text(1) |  | Y |  |  | (Enumeration: yes_no_values) |  | Indicates whether this sampling location is within facility boundaries, “Y” for yes or “N” for no
depth_to_top_of_screen | Numeric | [6 empty] | Depth in feet below ground surface to the top of the well screen
depth_to_bottom_of_screen | Numeric | [6 empty] | Depth in feet below ground surface to bottom of well screen. This information is required to obtain the vertical location from which the groundwater sample was taken.
top_casing_elev | Numeric | [6 empty] | Elevation of the top of casing in feet
depth_to_bottom_of_well | Numeric | [6 empty] | Depth in feet below ground surface to bottom of well
total_depth | Numeric | [6 empty] | Total depth below ground surface of boring, in feet
remark | Text(255) | [6 empty] | Remark

## BasicWaterLevels_v1
Field Name | Data Type | Key | Required | Default | Parent | Lookup | Database Mapping(s) | Comment | Checks
sys_loc_code | Text(20) | PK | Y |  | BasicLocations_v1.sys_loc_code |  |  | Soil boring or well installation location. Must be a valid code for the facility and reported in the sys_loc_code field of the location file.
measurement_date | Date | PK | Y |  |  |  |  | Date and time of water level measurement.
historical_reference_elev | Numeric |  | Y |  |  |  |  | Historical reference value. Used for the elevation of past reference points. Elevation must be in feet.
water_level_depth | Numeric | [6 empty] | Depth of ground water below datum defined in well table
water_level_elev | Numeric | [6 empty] | Elevation of water level. Elevation must be in feet.
measured_depth_of_well | Numeric | [6 empty] | The depth below ground surface to the bottom of the well
depth_unit | Text(15) |  |  |  |  | rt_unit.unit_code |  | Use values from Unit valid value table. Unit of measure for depths.
remark | Text(255) | [6 empty] | Remark on measurement
dry_indicator_yn | Text(1) |  |  |  |  | (Enumeration: yes_no_values) |  | Is the well dry? "Y" for yes or "N" for no.
lnapl_cas_rn | Text(15) |  |  |  |  | rt_analyte.cas_rn |  | CAS registry number for LNAPL
lnapl_depth | Numeric | [6 empty] | LNAPL depth
dnapl_cas_rn | Text(15) |  |  |  |  | rt_analyte.cas_rn |  | CAS registry number for DNAPL
dnapl_depth | Numeric | [6 empty] | DNAPL depth
Task_code | Text(8) | [6 empty] | Code used to identify the task under which the field sample was retrieved

## BasicChemistry_v1
Field Name | Data Type | Key | Required | Default | Parent | Lookup | Database Mapping(s) | Comment | Checks
sys_sample_code | Text(40) | PK | Y |  |  |  |  | Unique sample identifier. Each sample at a facility must have a unique value, including spikes and duplicates. You have considerable flexibility in the methods used to derive and assign unique sample identifiers, but uniqueness throughout the database is the only restriction enforced by EQuIS.
sys_loc_code | Text(20) |  |  |  | BasicLocations_v1.sys_loc_code |  |  | Location identifier of sample collection, soil boring, or well installation. Examples of possible sys_loc_code are MW-01, A-1, SB6, etc.
sample_name | Text(30) | [6 empty] | Additional sample identification information as necessary. Is not required to be unique (i.e., duplicates are OK).
sample_matrix_code | Text(2) |  | Y |  |  | rt_matrix.matrix_code |  | Code which distinguishes between different types of sample matrix
sample_type_code | Text(3) |  | Y |  |  | rt_sample_type.sample_type_code |  | Code which distinguishes between different types of samples
sample_source | Text(10) |  | Y | FIELD |  | (Enumeration: sample_source) |  | This field identifies where the sample came from, either Field or Lab. In this import, this should always be Field.
parent_sample_code | Text(40) | [6 empty] | The value of "sys_sample_code" that uniquely identifies the sample that was the source of this sample.
sample_date | Date |  | Y |  |  |  |  | Date sample was collected (in MM/DD/YYYY format)
start_depth | Numeric | [6 empty] | Beginning depth (top) of sample in feet below ground surface. Leave null for most ground water samples from monitoring wells. Only use for groundwater samples if discrete samples are taken at different depth elevations from a single well.
end_depth | Numeric | [6 empty] | Ending depth (bottom) of sample in feet below ground surface. Leave null for most ground water samples from monitoring wells.Only use for groundwater samples if discrete samples are taken at different depth elevations from a single well.
depth_unit | Text(15) |  |  |  |  | rt_unit.unit_code |  | Unit of measurement for the sample begin and end depths
composite_yn | Text(1) |  |  | N |  | (Enumeration: yes_no_values) |  | Is sample a composite sample? "Y" for yes or "N" for no
lab_anl_method_name | Text(20) | PK | Y | UNKNOWN |  | rt_analytic_method.analytic_method |  | Laboratory analytical method name or description
analysis_date | Date | PK | Y |  |  |  |  | Date of sample analysis in MM/DD/YYYY format. May refer to either beginning or end of the analysis as required by EPA.
total_or_dissolved | Text(1) | PK | Y | T |  | rt_fraction.fraction |  | Must be either "D" for dissolved or filtered [metal] concentration, or "T" for everything else
test_type | Text(10) | PK | Y | INITIAL |  | rt_test_type.test_type |  | Type of test. Valid values include 'INITIAL', 'REEXTRACT1', 'REEXTRACT2', 'REEXTRACT3', 'REANALYSIS', 'DILUTION1', 'DILUTIONS2', and 'DILUTIONS3'
lab_matrix_code | Text(10) |  |  |  |  | rt_matrix.matrix_code |  | Code which distinguishes between different type of sample matrix. This field is available at both the sample and test level.
analysis_location | Text(2) |  | Y |  |  | (Enumeration: analysis_location) |  | Must be either "FI" for field instrument or probe, "FL" for mobile field laboratory analysis, or "LB" for fixed_based laboratory analysis
basis | Text(10) |  |  |  |  | (Enumeration: basis) |  | Must be either "Wet" for wet_weight basis reporting, "Dry" for dry_weight basis reporting, or "NA" for tests for which this distinction is not applicable. The EPA prefers that results are reported on the basis of dry weight where applicable.
dilution_factor | Numeric |  | Y | 1.0 |  |  |  | Effective test dilution factor
qc_level | Text(10) |  |  |  |  | (Enumeration: qc_level) |  | May be either "screen" or "quant"
lab_sample_id | Text(20) | [6 empty] | Laboratory LIMS sample identifier. If necessary, a field sample may have more than one LIMS lab_sample_id (maximum one per each test event).
cas_rn | Text(15) | PK | Y |  |  | rt_analyte.cas_rn |  | Use values in analyte valid value table
chemical_name | Text(75) |  | Y |  |  |  |  | Use the name in the analyte valid value table
result_value | Text(20) | [6 empty] | Analytical result reported at an appropriate number of significant digits. May be blank for non-detects.
result_type_code | Text(10) |  | Y | TRG |  | rt_result_type.result_type_code |  | Must be either "TRG" for a target or regular result, "TIC" for tentatively identified compounds, "SUR" for surrogates, "IS" for internal standards, or "SC" for spiked compounds.
reportable_result | Text(10) |  | Y | Yes |  | (Enumeration: reportable_result) |  | Must be either "Yes" for results which are considered to be reportable, or "No" for other results
detect_flag | Text(2) |  | Y | Y |  | (Enumeration: detect_flag) |  | May be either "Y" for detected analytes or "N" for non-detects. Use "Y" for estimated (above detection limit but below the quantitation limit) or ">" and "<" for tests such as flash point. Note that "<" must not be used to indicate non-detects (use "N" for non_detects instead).
lab_qualifiers | Text(10) | [6 empty] | Qualifier flags assigned by the laboratory.
validator_qualifiers | Text(10) | [6 empty] | Qualifier flags assigned by the validation firm.
interpreted_qualifiers | Text(10) |  |  |  |  | rt_qualifier.qualifier |  | Qualifier flags assigned by the data submitter. This is a controlled vocabulary column, valid values can be found in the qualifiers table.
organic_yn | Text(1) |  | Y |  |  | (Enumeration: yes_no_values) |  | Must be either "Y" for organic constituents or "N" for inorganic constituents
reporting_limit | Numeric | [6 empty] | Concentration level above which results can be quantified with confidence. It must reflect conditions such as dilution factors and moisture content.
result_unit | Text(15) |  |  |  |  | rt_unit.unit_code |  | Units of measurement for the result
detection_limit_unit | Text(15) |  |  |  |  | rt_unit.unit_code |  | Units of measurement for the detection limit(s). This field is required if a reporting_limit is reported.
method_detection_limit | Text(20) | [6 empty] | Method detection limit. Unit reported in detection_limit_unit field.
quantitation_limit | Text(20) | [6 empty] | Quantitation limit. Unit reported in detection_limit_unit field.
task_code | Text(20) | [6 empty] | Code used to identify the task under which the field sample was retrieved
result_comment | Text(255) | [6 empty] | Result specific comments
column_number | Text(2) |  | Y | NA |  |  |  | Default value of ‘NA’. NOTE: This is a key (unique) column.

## BasicGeology_v1
Field Name | Data Type | Key | Required | Default | Parent | Lookup | Database Mapping(s) | Comment | Checks
sys_loc_code | Text(20) | PK | Y |  | BasicLocations_v1.sys_loc_code |  |  | Soil boring or well installation location. Must be a valid code for the facility and reported in the sys_loc_code field of the location file.
start_depth | Numeric | PK | Y |  |  |  |  | The start depth, in feet below ground surface, of the lithologic unit
material_type | Text(40) |  |  |  |  | rt_material.material_name |  | The type of material that composes the lithologic unit. Must be used in all cases except when a depth specific comment is being made.
geo_unit_code_1 | Text(20) |  | Y |  |  | rt_geologic_unit.geologic_unit_code |  | The data providers interpretation of the hydrogeologic unit present at this lithologic unit, e.g., aquifer 1, aquitard 1, aquifer 2, upper clay unit
geo_unit_code_2 | Text(20) |  |  |  |  | rt_geologic_unit.geologic_unit_code |  | Alternate geologic unit grouping. This can be a sub-classification of geologic_unit_code_1 or a layer used for groundwater flow/transport computer modelling that contains the lithologic unit
remark | Text(255) | [6 empty] | Comment on the lithologic unit

## Files_v1
Field Name | Data Type | Key | Required | Default | Parent | Lookup | Database Mapping(s) | Comment | Checks
file_name | Text(255) | PK | Y |  |  |  |  | Name of the file.
file_type | Text(20) |  | Y |  |  | rt_file_type.file_type |  | Type of the file.
file_date | DateTime | [6 empty] | Date of the file.
title | Text(2) |  |  |  |  | (Enumeration: values_1-20) |  | Title of the file.
author | Text(255) | [6 empty] | Author of the file.
confidential_yn | Text(1) |  |  |  |  | (Enumeration: yes_no_values) |  | Whether or not the file is confidential.
remark | Text(255) | [6 empty] | Remark for the file.
place_type | Text(50) |  | Y |  |  | (Enumeration: place_values) |  | Type of place this file is associated with.
place_code | Text(50) | [6 empty] | Code/identifier of the place this file is associated with.
place_subcode | Text(50) | [6 empty] | Subcode/identifier of the place this file is associated with.
content | [7 empty] | Content of the file.

## Enumerations (hidden)
elev_unit | coord_sys_desc | coord_type_code | horz_accuracy_unit | source_scale | reference_point | yes_no_values | step_or_linear | moisture | color | sorting | odor | density | dip_or_elevation | sequence | operating_mode | rate_measurement_type | depth_unit | reportable_result | value_type | sample_source | analysis_location | basis | qc_level | detect_flag | spike_status | test_batch_type | values_1-20 | place_values
ft | LAT LONG | UTM ZONE 15 | 1 | 1 | PG | Y | step | DRY | WHITE | POOR | ORGANIC | HARD | dip | UNSTABILIZED | EXTRACTION | TOTALIZER | ft | Yes | ACTUAL | FIELD | FI | WET | PRELIM | Y | * | PREP | 01 | REMEDIATION ROUTING GROUP
|  | UTM ZONE 16 | 2 | 2 | PP | N | linear | DAMP | BLACK | WELL | DIESEL | FIRM | elevation | STABILIZED | INJECTION | MANIFOLD | m | No | CALCULATED | LAB | FL | DRY | LV | N |  | ANALYSIS | 02 | WATER QUALITY ROUTING GROUP
|  |  | 3 | 3 | PF |  |  | MOIST | BLACKISH |  | GASOLINE | SOFT |  |  | RECIRCULATION | ESTIMATE |  |  | ESTIMATED |  | LB | NA | TPV |  |  | LEACH | 03 | ASSET PROGRAM ROUTING GROUP
|  |  | 4 | 4 | AS |  |  | WET | GRAY |  | WEATH GAS | RUNNING |  |  | PULSE | AVERAGE | [10 empty] | 04 | AIR ROUTING GROUP
|  |  | 5 | 5 | AV |  |  | SATURATED | GRAYISH |  | MOTHBALLS |  |  |  | DEVEL | [11 empty] | 05 | SURVEILLANCE ROUTING GROUP
|  |  | 6 | 6 | ST |  |  |  | DARK GRAY |  | HOL/KERO |  |  |  | UNUSE | [11 empty] | 06
|  |  | 7 | 7 | WR |  |  |  | MEDIUM GRAY |  | MTBE | [15 empty] | 07
|  |  |  | 8 | SP |  |  |  | LIGHT GRAY |  | PETROLEUM | [15 empty] | 08
|  |  |  | 9 | LW |  |  |  | BROWN |  | SEWAGE | [15 empty] | 09
|  |  |  | A | AE |  |  |  | BROWNISH |  | SWEET | [15 empty] | 10
|  |  |  | B | SD |  |  |  | DARK BROWN | [17 empty] | 11
|  |  |  | C | SS |  |  |  | MEDIUM BROWN | [17 empty] | 12
|  |  |  | D | LF |  |  |  | LIGHT BROWN | [17 empty] | 13
|  |  |  | E | LC |  |  |  | ORANGE | [17 empty] | 14
|  |  |  | F | PU |  |  |  | ORANGISH | [17 empty] | 15
|  |  |  | G | PC |  |  |  | DARK ORANGE | [17 empty] | 16
|  |  |  | H | AB |  |  |  | MEDIUM ORANGE | [17 empty] | 17
|  |  |  | I | FC |  |  |  | LIGHT ORANGE | [17 empty] | 18
|  |  |  | J | NE |  |  |  | RED | [17 empty] | 19
|  |  |  | K | SE |  |  |  | REDDISH | [17 empty] | 20
|  |  |  | L | NW |  |  |  | DARK RED | [17 empty] | NA
|  |  |  | M | SW |  |  |  | MEDIUM RED
|  |  |  | N | CE |  |  |  | LIGHT RED
|  |  |  | O | WL |  |  |  | YELLOW
[5 empty] | WA |  |  |  | YELLOWISH
[5 empty] | WM |  |  |  | GREEN
[5 empty] | AM |  |  |  | GREENISH
[5 empty] | OT |  |  |  | BLUE
[5 empty] | UN |  |  |  | BLUEISH
[5 empty] | DA |  |  |  | MOTTLED
DI
ME
SB
TH
TS
WB