|  | ## Louisiana Environmental Laboratory Accreditation Program (LELAP) ## Assessment Checklist for State-Accredited Facilities |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| # Special Instructions ## This checklist must be completed by laboratory personnel prior to an onsite assessment. A response is required for each numbered item. LELAP requires that each "Laboratory Quality System Reference" indicates the document type (Quality Assurance Manual or SOP) and the citation to the page and/or specific section where the requirement is fulfilled. Please include an authorized signature as indicated on page 23. Type or print clearly. Submit the completed checklist at least 14 days prior to the scheduled assessment date by one of the following methods: |  |  |  |  |  |  |  |  |
| Email |  | # LDEQ.LabAccreditationProgram@LA.GOV |  |  |  |  |  |  |
| # File Drop |  | # Notify LELAP at the above email address if you will submit using your file drop |  |  |  |  |  |  |
| # Service Carrier or Hand-Delivery |  | LELAP Office of Environmental Services Louisiana Department of Environmental Quality Galvez Bldg. / 602 N. 5th St. # Baton Rouge, LA 70802 Attention: Tramecha Rankins |  |  |  |  |  |  |
| # U.S. Mail |  | LELAP Office of Environmental Services P. O. Box 4313 Baton Rouge, LA 70821-4313 Attention: Tramecha Rankins |  |  |  |  |  |  |
| Facility Information |  |  |  |  |  |  |  |  |
| ## Facility Name |  |  |  |  |  |  |  |  |
| ## Agency Interest No. |  |  |  |  |  |  |  |  |
| ## LELAP Lab ID No. |  |  |  |  |  |  |  |  |
| ## Physical Address |  |  |  |  |  |  |  |  |
| ## City |  |  |  | ## State |  | ## Zip |  |  |

| - Item | - Requirement |  |  | - LAC 33:I Reference |  | - LELAP Use Only |  | - Quality System Reference - (Indicate QAM or SOP & Page/Section) |  | - Comment |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | - Present | - Absent/ - Further Review |  |  |  |  |  |
| - Program Requirements |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Is the laboratory legally identifiable and does it have a permanent business address and telephone number? |  |  | §4703.A |  |  |  |  |  |  |  |  |
| 2 | Does the laboratory have the staff and resources sufficient to satisfactorily accomplish those analyses/tests for which accreditation is requested? |  |  | §4703.A |  |  |  |  |  |  |  |  |
| 3 | Has the laboratory submitted a complete application package and paid all applicable fees? |  |  | §4703.B |  |  |  |  |  |  |  |  |
| 4 | Are all of the laboratory facilities covered under the scope of accreditation located on the same or adjoining grounds? |  |  | §4703.C |  |  |  |  |  |  |  |  |
| 5 | Has the laboratory designated an appropriate official (laboratory representative) to represent it in all matters related to attaining and maintaining environmental laboratory accreditation? |  |  | §4703.D |  |  |  |  |  |  |  |  |
| 6 | Is the laboratory representative a person in a position of authority to ensure that the laboratory complies with the criteria and conditions for accreditation and does the representative have the authority to bind the company in a legal manner? |  |  | §4703.D |  |  |  |  |  |  |  |  |
| 7 | Does the laboratory have copies of the relevant test method documentation and the requisite equipment for the methods available at the laboratory? |  |  | §4705.A |  |  |  |  |  |  |  |  |
| 8 | Does the laboratory participate in department-approved proficiency testing programs relevant to its scope of accreditation, to provide suitable evidence of laboratory proficiency? |  |  | §4711.A; §4711.C |  |  |  |  |  |  |  |  |
| 9 | In cases where the department has determined that an appropriate proficiency test is not accessible or readily available for a particular type of analysis, has the laboratory submitted an "analytical data package" that includes all relevant analytical methodology, technical information, and quality assurance results for the requested method? |  |  | §4711.A; §4711.B |  |  |  |  |  |  |  |  |
| 10 | Does the laboratory participate in two proficiency test studies per year for each field of testing, at intervals of approximately six months? |  |  | §4711.D |  |  |  |  |  |  |  |  |
| 11 | Has the laboratory satisfactorily completed two proficiency test studies offered for each test category accredited within the most recent three proficiency test studies attempted? |  |  | §4711.E |  |  |  |  |  |  |  |  |
| 12 | Has the laboratory authorized the proficiency test provider to release the results of all proficiency evaluation (PE) tests to LELAP at the same time that they are submitted to the laboratory? |  |  | §4711.F |  |  |  |  |  |  |  |  |
| 13 | Has the laboratory performed corrective actions for all proficiency evaluation test results that are "unacceptable" for a specific analyte, including investigating and identifying likely causes for these results, resolving any problems, reporting such activity to LELAP, and submitting the corrective action proficiency sample test results? |  |  | §4711.F |  |  |  |  |  |  |  |  |
| Organization and Personnel Requirements |  |  |  |  |  |  |  |  |  |  |  |  |
| 14 | Does the laboratory have the managerial staff with the authority and resources needed to discharge their duties? |  |  | §4901.A |  |  |  |  |  |  |  |  |
| 15 | Is the technical director or his/her designated representative a full-time member of the laboratory staff with the authority to exercise the day-to-day supervision of the laboratory policies and procedures? |  |  | §4901.A |  |  |  |  |  |  |  |  |
| 16 | Does the laboratory specify and document the responsibility, authority, and interrelation of all personnel who manage, perform, or verify work affecting the quality of calibrations and tests? |  |  | §4901.A |  |  |  |  |  |  |  |  |
| 17 | Does the documentation include a clear description of the lines of responsibility in the laboratory? |  |  | §4901.A.1 |  |  |  |  |  |  |  |  |
| 18 | Does the documentation include a description of personnel proportioned such that adequate supervision is ensured? Does the documentation include an organizational chart? (Recommended) |  |  | §4901.A.2 |  |  |  |  |  |  |  |  |
| 19 | Does the documentation include job descriptions for all positions? |  |  | §4901.A.3 |  |  |  |  |  |  |  |  |
| 20 | Does the laboratory technical director have a bachelor's degree in science or at least four years' equivalent experience in a related field? |  |  | §4901.B.1 |  |  |  |  |  |  |  |  |
| 21 | Does the laboratory technical director have at least two years' experience in the area of environmental analysis? |  |  | §4901.B.2 |  |  |  |  |  |  |  |  |
| 22 | Does the quality assurance manager have at least a bachelor's degree in science or four years' equivalent experience in a related field? |  |  | §4901.C.1 |  |  |  |  |  |  |  |  |
| 23 | Does the quality assurance manager have at least two years' environmental laboratory experience? |  |  | §4901.C.2 |  |  |  |  |  |  |  |  |
| 24 | Does the quality assurance manager have direct access to the highest level of management for decisions regarding laboratory quality assurance policy and resources, and independent authority regarding quality assurance oversight and implementation of the quality assurance program? Note: This organizational position must not report through the technical management of the laboratory. |  |  | §4901.C.3 |  |  |  |  |  |  |  |  |
| 25 | Does the quality assurance manager have the opportunity and freedom to evaluate data objectively without influence from technical or financial management? |  |  | §4901.C.3 |  |  |  |  |  |  |  |  |
| 26 | Does the quality assurance manager have a general knowledge of all analytical methods that are performed by the laboratory? |  |  | §4901.C.4 |  |  |  |  |  |  |  |  |
| 27 | NOTE: In smaller laboratories (staff less than 10 total employees), the quality assurance manager's responsibilities may be performed by an upper level technical or operational manager of the facility. Academic and experience requirements apply. |  |  | §4901.C.5 |  |  |  |  |  |  |  |  |
| 28 | Do laboratory supervisors have at least a bachelor's degree or four years' experience in a related field? |  |  | §4901.D.1 |  |  |  |  |  |  |  |  |
| 29 | Do laboratory supervisors have at least one year of experience in the area to be supervised, preferably with a minimum of six months' supervisory experience? |  |  | §4901.D.2 |  |  |  |  |  |  |  |  |
| 30 | If the supervisor is a supervisor of a radiochemistry laboratory, does the individual have at least four years’ experience in the field/area of radiochemistry or additional college-level training in related field? Note: Each year of additional college may substitute for one year of experience, up to a maximum of two years. |  |  | §4901.D.3 |  |  |  |  |  |  |  |  |
| 31 | a. Do the instrument operators have at least a high school diploma or equivalent? b. Have instrument operators satisfactorily completed a short course or structured in-house equivalent on the operation of the instrument (by equipment manufacturer, professional organization, university, or other qualified training facility)? |  |  | §4901.E.1 |  |  |  |  |  |  |  |  |
| 32 | Do instrument operators have at least six months' experience in the operation of the instrument with documentation that acceptable results are achieved by the operator? |  |  | §4901.E.2 |  |  |  |  |  |  |  |  |
| 33 | Do chemistry analysts have at least a high school diploma or equivalent, plus proper training in a methods training course or by a qualified analyst? |  |  | §4901.F.1.a |  |  |  |  |  |  |  |  |
| 34 | Do chemistry analysts have at least six months' experience with the analysis procedure(s), with documentation that acceptable results are achieved by the analyst? |  |  | §4901.F.1.b |  |  |  |  |  |  |  |  |
| 35 | a. Do microbiology analysts have at least a bachelor’s degree in science or four years’ experience in a related field? b. Do microbiology analysts have training in water analyses for total coliform and fecal material and at least a high school diploma or the equivalent? Have they satisfactorily completed a short course or structured in-house equivalent on the proper techniques of analysis? |  |  | §4901.F.2.a |  |  |  |  |  |  |  |  |
| 36 | Do microbiology analysts have at least six months’ experience in microbiological analysis and techniques? |  |  | §4901.F.2.b |  |  |  |  |  |  |  |  |
| 37 | Do radiochemistry analysts have at least a high school diploma or equivalent, plus specialized training in standards and sample preparation, instrument calibration, calculations, and data handling? |  |  | §4901.F.3.a |  |  |  |  |  |  |  |  |
| 38 | Do radiochemistry analysts have at least six months of on-the-job training? Note: An analyst may assist in routine sample preparation and radioanalytical procedures provided that the work is supervised and validated by a qualified analyst and/or laboratory supervisor. |  |  | §4901.F.3.b |  |  |  |  |  |  |  |  |
| 39 | Do biomonitoring analysts have at least a high school diploma, or the equivalent, and documented training by a qualified analyst, with EPA video training tapes having been utilized where available? |  |  | §4901.F.4.a |  |  |  |  |  |  |  |  |
| 40 | Do biomonitoring analysts have at least six months of on-the-job training with documentation of acceptable results from standard reference toxicant tests performed by the analyst? |  |  | §4901.F.4.b |  |  |  |  |  |  |  |  |
| 41 | Does the laboratory maintain information on the relevant qualifications, training, and experience of all members of the technical staff? |  |  | §4901.G |  |  |  |  |  |  |  |  |
| 42 | Does the laboratory provide additional training as needed in order to keep personnel current with new procedures, changes in existing procedures, and/or equipment changes or improvements? |  |  | §4901.H |  |  |  |  |  |  |  |  |
| Environment |  |  |  |  |  |  |  |  |  |  |  |  |
| 43 | Are the following materials available for review at the laboratory: quality assurance plan; approved methodology manual(s); quality assurance data; and proficiency test data? |  |  | §5101.C |  |  |  |  |  |  |  |  |
| 44 | Are the laboratory conditions in which the tests are undertaken such as to not invalidate the test results or adversely affect the required accuracy of measurement? |  |  | §5103.A |  |  |  |  |  |  |  |  |
| 45 | Does the laboratory have the necessary equipment, adequate storage facilities, procedures to preserve the identity, concentration and stability of samples, and energy sources needed for proper testing? |  |  | §5103.A |  |  |  |  |  |  |  |  |
| 46 | Is the laboratory equipped with devices to monitor essential environmental conditions? |  |  | §5103.A |  |  |  |  |  |  |  |  |
| 47 | Does the laboratory have adequate workspace, ventilation, light, and access to stable power sources? |  |  | §5103.A.1 |  |  |  |  |  |  |  |  |
| 48 | Does the laboratory have exhaust hoods for proper elimination of volatile materials? |  |  | §5103.A.2 |  |  |  |  |  |  |  |  |
| 49 | Does the laboratory have contamination-free work areas as necessary? |  |  | §5103.A.3 |  |  |  |  |  |  |  |  |
| 50 | Does the laboratory have chemical and sample handling areas that provide safe working areas and that prevent cross contamination of samples? |  |  | §5103.A.4 |  |  |  |  |  |  |  |  |
| 51 | Does the laboratory have adequate storage facilities for samples, extracts, reagents, solvents, reference materials, and standards to preserve their identity, concentration, purity, and stability? |  |  | §5103.A.5 |  |  |  |  |  |  |  |  |
| 52 | Does the laboratory have adequate procedures and facilities in place for collection, storage, and disposal of wastes, including expired chemicals, reagents, solutions, standards, and other material with a limited shelf life? |  |  | §5103.A.6 |  |  |  |  |  |  |  |  |
| 53 | Does the laboratory have adequate procedures and facilities for handling materials that may transmit infectious agents and radioactive materials, where relevant? |  |  | §5103.A.7 |  |  |  |  |  |  |  |  |
| 54 | Does the laboratory have appropriate storage for volatile, corrosive, or explosive chemicals and flammable solvents? |  |  | §5103.A.8 |  |  |  |  |  |  |  |  |
| 55 | Does the laboratory have adequate separation of activities to ensure that no activity has an adverse effect on analyses? |  |  | §5103.A.9 |  |  |  |  |  |  |  |  |
| 56 | Does the laboratory have separate culturing and testing facilities for biomonitoring laboratories? |  |  | §5103.A.10 |  |  |  |  |  |  |  |  |
| 57 | Does the laboratory have counting rooms that are physically separate from other activities in radiological laboratories? |  |  | §5103.A.11 |  |  |  |  |  |  |  |  |
| 58 | Is access to and use of test areas regulated in a manner appropriate to their designated purpose, and entry by persons external to the laboratory controlled? |  |  | §5103.B |  |  |  |  |  |  |  |  |
| 59 | Are adequate measures taken to ensure cleanliness in the testing area? |  |  | §5103.C |  |  |  |  |  |  |  |  |
| Test Methods and Procedures |  |  |  |  |  |  |  |  |  |  |  |  |
| 60 | Does the testing laboratory have adequately documented instructions on the use and operation of all relevant equipment; on the handling and preparation of test items, where applicable; and on standard testing techniques, where the absence of such instructions could jeopardize the efficiency of the testing process? |  |  | §5105.A |  |  |  |  |  |  |  |  |
| 61 | Are all instructions, standards, manuals, and reference data relevant to the work of the testing laboratory maintained up-to-date and readily available to the staff? |  |  | §5105.A |  |  |  |  |  |  |  |  |
| 62 | Does the testing laboratory use department-approved methodologies that are available to the staff performing the tests? |  |  | §5105.B |  |  |  |  |  |  |  |  |
| 63 | Has the testing laboratory implemented the written standard operating procedures (SOPs) that are available to the staff and inspector? |  |  | §5105.D |  |  |  |  |  |  |  |  |
| 64 | Does the testing laboratory have an acceptable and written quality assurance program plan that is implemented by the staff and readily available to the inspector? |  |  | §5105.E |  |  |  |  |  |  |  |  |
| 65 | Has the laboratory implemented satisfactory corrective action for all deficiencies or deviations identified in the previous on-site assessment? |  |  | §5107.B |  |  |  |  |  |  |  |  |
| 66 | Does the laboratory strictly follow all safety practices that are included in or required by any approved method? |  |  | §5111.A |  |  |  |  |  |  |  |  |
| Quality System Requirements |  |  |  |  |  |  |  |  |  |  |  |  |
| 67 | Does the laboratory maintain its Quality Assurance/Quality Control (QA/QC) program using appropriate document control practices? |  |  | §5301.A |  |  |  |  |  |  |  |  |
| 68 | Have the quality assurance manual, analytical methods, and administrative procedures necessary to meet requirements of these regulations been reviewed for accuracy and approved for release by the appropriate personnel, distributed, and controlled to ensure the use of the current approved version? |  |  | §5301.A |  |  |  |  |  |  |  |  |
| 69 | Does the laboratory have documented quality control procedures in use for each analytical procedure? |  |  | §5301.A.1 |  |  |  |  |  |  |  |  |
| 70 | Does the laboratory comply with all quality control procedures required by applicable federal, state, or public health agencies when performing analyses? |  |  | §5301.A.2 |  |  |  |  |  |  |  |  |
| 71 | Does the laboratory have procedures to be followed for feedback and corrective action whenever testing discrepancies are detected or departures from documented policies and procedures occur? |  |  | §5301.A.3 |  |  |  |  |  |  |  |  |
| 72 | Does the laboratory operate an internal quality assurance program appropriate to the type, range, and volume of work performed? |  |  | §5301.B |  |  |  |  |  |  |  |  |
| 73 | Has the laboratory management designated a person/persons having responsibility for quality assurance within the laboratory and having direct access to top management? (Quality Assurance Manager) |  |  | §5301.B |  |  |  |  |  |  |  |  |
| 74 | Has the quality assurance program been documented in a quality assurance manual that is available for use by the laboratory staff? |  |  | §5301.C |  |  |  |  |  |  |  |  |
| 75 | Is the quality assurance manual maintained by the Quality Assurance Manager? |  |  | §5301.C |  |  |  |  |  |  |  |  |
| 76 | Does the quality assurance manual contain information regarding the structure of the laboratory (organizational charts and generic position descriptions) including relationship between management, technical operations, support services, and quality systems? |  |  | §5301.C.1 |  |  |  |  |  |  |  |  |
| 77 | Does the quality assurance manual contain information regarding the operational and functional duties and services pertaining to quality assurance, so that each person concerned knows the extent and the limits of his/her responsibility? |  |  | §5301.C.2 |  |  |  |  |  |  |  |  |
| 78 | Does the quality assurance manual contain information regarding general quality assurance procedures? |  |  | §5301.C.3 |  |  |  |  |  |  |  |  |
| 79 | Does the quality assurance manual contain information regarding procedures for feedback and corrective action whenever testing discrepancies are detected? |  |  | §5301.C.4 |  |  |  |  |  |  |  |  |
| 80 | Does the quality assurance manual contain information regarding chain of custody procedures? |  |  | §5301.C.5 |  |  |  |  |  |  |  |  |
| 81 | Does the quality assurance manual contain information regarding a quality policy statement, including objectives and commitments, by management? |  |  | §5301.C.6 |  |  |  |  |  |  |  |  |
| 82 | Does the quality assurance manual contain information regarding procedures for the control and maintenance of documents, including document control of laboratory notebooks, instrument logbooks, standards logbooks, and records for data reduction, validation, storage, and reporting? |  |  | §5301.C.7 |  |  |  |  |  |  |  |  |
| 83 | Does the quality assurance manual contain information regarding the laboratory’s procedures for achieving traceability of measurements to NIST reference materials or other traceable commercial vendors? |  |  | §5301.C.8 |  |  |  |  |  |  |  |  |
| 84 | Does the quality assurance manual contain information regarding the laboratory's scope of tests? |  |  | §5301.C.9 |  |  |  |  |  |  |  |  |
| 85 | Does the quality assurance manual contain information regarding procedures for handling submitted samples? |  |  | §5301.C.10 |  |  |  |  |  |  |  |  |
| 86 | Does the quality assurance manual contain information regarding major equipment, as well as the facilities and services used by the laboratory? |  |  | §5301.C.11 |  |  |  |  |  |  |  |  |
| 87 | Does the quality assurance manual contain information regarding procedures for calibration, verification, and maintenance of equipment? |  |  | §5301.C.12 |  |  |  |  |  |  |  |  |
| 88 | Does the quality assurance manual contain information regarding verification practices including interlaboratory comparisons, proficiency testing programs, use of reference materials, and internal quality control schemes? |  |  | §5301.C.13 |  |  |  |  |  |  |  |  |
| 89 | Does the quality assurance manual contain information regarding the laboratory management arrangements for departures from documented policies and procedures or from standard specifications? |  |  | §5301.C.14 |  |  |  |  |  |  |  |  |
| 90 | Does the quality assurance manual contain information regarding policy and procedures for the resolution of complaints received from clients or other parties, including a requirement that records of all complaint and subsequent actions must be maintained? |  |  | §5301.C.15 |  |  |  |  |  |  |  |  |
| 91 | Does the quality assurance manual contain information regarding procedures for protecting confidentiality and proprietary rights? |  |  | §5301.C.16 |  |  |  |  |  |  |  |  |
| 92 | Does the quality assurance manual contain information regarding procedures for audit and review? |  |  | §5301.C.17 |  |  |  |  |  |  |  |  |
| 93 | Does the quality assurance manual contain information regarding identification of the laboratory’s approved signatories? |  |  | §5301.C.18 |  |  |  |  |  |  |  |  |
| 94 | Does the title page of the quality assurance manual have the signed and dated concurrence (with appropriate titles) of all responsible parties, including the quality assurance officer(s), technical director, and the laboratory manager? |  |  | §5301.C.18 |  |  |  |  |  |  |  |  |
| 95 | Does the quality assurance manual contain information regarding processes/procedures for educating and training personnel in their ethical and legal responsibilities, including potential punishment and penalties for improper, unethical, or illegal actions? |  |  | §5301.C.19 |  |  |  |  |  |  |  |  |
| 96 | Does the quality assurance manual contain information regarding processes/procedures for establishing that personnel are adequately experienced in the duties they are expected to carry out and/or receive any needed training? |  |  | §5301.C.20 |  |  |  |  |  |  |  |  |
| 97 | Does the quality assurance manual contain information regarding procedures for reporting analytical results? |  |  | §5301.C.21 |  |  |  |  |  |  |  |  |
| 98 | Does the quality assurance manual include a table of contents and applicable lists of references, glossaries, and appendices? |  |  | §5301.C.22 |  |  |  |  |  |  |  |  |
| 99 | Does the laboratory have documentation that the quality assurance system has been reviewed annually by management to ensure its continued effectiveness? |  |  | §5301.D; §5315.A |  |  |  |  |  |  |  |  |
| 100 | Is there documentation that the laboratory has conducted annual internal audits to verify the compliance with the laboratory’s quality system? |  |  | §5301.E; §5315.A |  |  |  |  |  |  |  |  |
| 101 | Is the quality assurance officer responsible for planning and organizing internal audits? Personnel shall not audit their own activities. |  |  | §5301.E |  |  |  |  |  |  |  |  |
| 102 | Does the laboratory have a manual of standard operating procedures (SOPs) available to the analyst and the inspector? Note: SOPs may be included as a part or section of the laboratory's quality assurance manual. |  |  | §5301.F |  |  |  |  |  |  |  |  |
| 103 | Does the laboratory have clearly defined, written SOPs or an equivalent that at addressing the following required elements? - identification of the test method - applicable matrix or matrices - detection limit - scope and application, including components to be analyzed - summary of test method - definitions - safety - equipment and supplies - reagents and standards - sample collection, preservation, storage, handling, and chain of custody - quality control - calibration - procedure - calculations - method performance - pollution prevention - data assessment and acceptance criteria for quality control measures - corrective actions for out-of-control or unacceptable data - contingencies for handling out-of-control or unacceptable data - waste management - references - any tables, diagrams, flowcharts, and validation data |  |  | §5301.F.1.a-v |  |  |  |  |  |  |  |  |
| 104 | Does the laboratory have clearly defined, written procedures for procurement and inventory procedures? |  |  | §5301.F.2 |  |  |  |  |  |  |  |  |
| 105 | Does the laboratory have clearly defined, written procedures for preventive maintenance? |  |  | §5301.F.3 |  |  |  |  |  |  |  |  |
| 106 | Does the laboratory have clearly defined, written procedures for recordkeeping and record storage (archives)? |  |  | §5301.F.4 |  |  |  |  |  |  |  |  |
| 107 | Does the laboratory have clearly defined, written procedures for data reduction, validation, and reporting? |  |  | §5301.F.5 |  |  |  |  |  |  |  |  |
| 108 | Does the laboratory have clearly defined, written procedures for correcting erroneous reports? |  |  | §5301.F.6 |  |  |  |  |  |  |  |  |
| 109 | Does the laboratory have clearly defined, written procedures for management of laboratory wastes and hazardous materials? |  |  | §5301.F.7 |  |  |  |  |  |  |  |  |
| 110 | Does the laboratory have clearly defined, written procedures for handling complaints registered against the laboratory's testing procedures, reporting procedures, and/or other general operating procedures? |  |  | §5301.F.8 |  |  |  |  |  |  |  |  |
| 111 | Have the written quality assurance/quality control procedures been implemented? |  |  | §5301.G |  |  |  |  |  |  |  |  |
| 112 | Does the laboratory employ adequate quality controls to monitor tests such as blanks, spikes, or reference toxicants? |  |  | §5301.H.1.a |  |  |  |  |  |  |  |  |
| 113 | Does the laboratory employ adequate tests to define the variability and/or reproducibility of the laboratory results such as duplicates? |  |  | §5301.H.1.b |  |  |  |  |  |  |  |  |
| 114 | Does the laboratory employ measures to ensure the accuracy of the test data, including sufficient calibration and/or continuing calibrations, use of certified reference materials, proficiency test samples, or other measures? |  |  | §5301.H.1.c |  |  |  |  |  |  |  |  |
| 115 | Does the laboratory employ measures to evaluate test performance, such as method detection limits, or range of applicability such as linearity? |  |  | §5301.H.1.d |  |  |  |  |  |  |  |  |
| 116 | Does the laboratory employ selection of appropriate formulae to reduce raw data to final results such as linear regression, internal standards, or statistical packages? |  |  | §5301.H.1.e |  |  |  |  |  |  |  |  |
| 117 | Does the laboratory employ measures to ensure selection and use of reagents and standards of appropriate quality? |  |  | §5301.H.1.f |  |  |  |  |  |  |  |  |
| 118 | Does the laboratory employ measures to ensure constant and consistent test conditions (both instrumental and environmental) where required by the method? |  |  | §5301.H.1.g |  |  |  |  |  |  |  |  |
| 119 | Are all quality control measures assessed and evaluated on an ongoing basis, and are quality control acceptance limits used to determine the validity of the data? |  |  | §5301.H.2 |  |  |  |  |  |  |  |  |
| 120 | Are acceptance/rejection criteria updated at a frequency established by the test method or by the department’s standards? |  |  | §5301.H.2 |  |  |  |  |  |  |  |  |
| 121 | Does the laboratory have procedures for the development of acceptance/ rejection criteria where no method or regulatory criteria exists? |  |  | §5301.H.3 |  |  |  |  |  |  |  |  |
| 122 | Are the method-specified and/or method-recommended quality control protocols followed? |  |  | §5301.H.4 |  |  |  |  |  |  |  |  |
| 123 | Are the essential quality control standards described in §5301.H used if no protocols are written into the method or if the method protocols are less stringent? |  |  | §5301.H.4 |  |  |  |  |  |  |  |  |
| Equipment and Supplies |  |  |  |  |  |  |  |  |  |  |  |  |
| 124 | Does the laboratory have access to all items of equipment required for correct performance of the analytical procedures for which it is accredited? |  |  | §5303.A |  |  |  |  |  |  |  |  |
| 125 | Does the laboratory have documentation that all equipment has been properly maintained? |  |  | §5303.B |  |  |  |  |  |  |  |  |
| 126 | Is defective equipment removed from service and labeled until it has been repaired and shown to function satisfactorily? |  |  | §5303.C |  |  |  |  |  |  |  |  |
| 127 | Have records been maintained for each item of equipment and for all reference materials significant to the tests performed? |  |  | §5303.D |  |  |  |  |  |  |  |  |
| 128 | Have maintenance logbook(s) and/or an electronic maintenance database with scheduled backups been maintained for all major equipment? |  |  | §5303.D |  |  |  |  |  |  |  |  |
| 129 | Do the equipment maintenance logs include the following required elements? - the name of the item of equipment - the manufacturer's name, type identification, and serial number - the date received and the date placed in service - the condition of equipment when placed in service (new, used, or reconditioned) - the current location - the location of manufacturer's instruction manual (if available) - the details of maintenance, including history of any damage, malfunction, modification, or repair. |  |  | §5303.D.1-7 |  |  |  |  |  |  |  |  |
| 130 | Are calibration records maintained for all measuring equipment? |  |  | §5303.E |  |  |  |  |  |  |  |  |
| 131 | Are records maintained for acquisition of all equipment, reagents, and support services utilized by the laboratory in the generation of analytical data? |  |  | §5303.F |  |  |  |  |  |  |  |  |
| 132 | Are reagent requirements specified by the accredited individual procedures being satisfied? |  |  | §5303.G.1.a |  |  |  |  |  |  |  |  |
| 133 | Are stock and working standard solutions checked regularly for signs of decomposition and expiration? |  |  | §5303.G.1.b |  |  |  |  |  |  |  |  |
| 134 | Are all solutions labeled with identification of the compound, concentration, date prepared, analyst who prepared solution, and expiration date? |  |  | §5303.G.1.c |  |  |  |  |  |  |  |  |
| 135 | Are all purchased chemicals, solutions, and standards labeled with dates of receipt, the dates of expiration on the container, and the date when the container is opened? |  |  | §5303.G.1.d |  |  |  |  |  |  |  |  |
| 136 | When reagents are removed from a container, does the laboratory use the reagent entirely or discard the unused portion? Note: Unused portions of a reagent may not be returned to the original container |  |  | §5303.G.1.e |  |  |  |  |  |  |  |  |
| 137 | Are all compressed gases of commercial grade, unless individual procedures specify other requirements? |  |  | §5303.G.1.f |  |  |  |  |  |  |  |  |
| 138 | Is all glassware cleaned and maintained properly as required by the test methodology? |  |  | §5303.G.2 |  |  |  |  |  |  |  |  |
| 139 | Where temperature measurements are required, does the laboratory have access to a NIST (National Institute of Standards and Technology) traceable thermometer? |  |  | §5303.G.3.a |  |  |  |  |  |  |  |  |
| 140 | Has the calibration of working thermometers been checked at least annually against a NIST-traceable certified thermometer, and the results recorded and documented per thermometer? |  |  | §5303.G.3.b |  |  |  |  |  |  |  |  |
| 141 | Has the calibration of dial-type thermometers been checked at least quarterly against a NIST traceable thermometer and results recorded per thermometer? |  |  | §5303.G.3.c |  |  |  |  |  |  |  |  |
| 142 | Have all thermometers been labeled when calibrated and the correction factor recorded? |  |  | §5303.G.3.d |  |  |  |  |  |  |  |  |
| 143 | Does the laboratory have records showing daily (or before each use) functional/calibration checks for analytical balances and monthly functional/calibration checks for pan balances? |  |  | §5303.H.1.a |  |  |  |  |  |  |  |  |
| 144 | Does the laboratory use at least two ranges when calibrating analytical balances and pan balances with a minimum class S or S-1 reference weights or equivalent? |  |  | §5303.H.1.a |  |  |  |  |  |  |  |  |
| 145 | Have the reference weights used for balance calibration checks been recertified every two years? |  |  | §5303.H.1.a |  |  |  |  |  |  |  |  |
| 146 | Have all balances been calibrated and serviced at a minimum of once per year, and has the service date been recorded on the balance? |  |  | §5303.H.1.b |  |  |  |  |  |  |  |  |
| 147 | Are balances only used with suitable support? |  |  | §5303.H.1.c |  |  |  |  |  |  |  |  |
| 148 | For pH measurements, does the laboratory use a pH meter with appropriate electrode with scale graduations at least 0.1 pH units (calibrated to  0.1 pH units for each use period) with temperature correction? |  |  | §5303.H.2.a |  |  |  |  |  |  |  |  |
| 149 | For pH measurements, does the laboratory use either a thermometer or a temperature sensor for automatic temperature compensation? |  |  | §5303.H.2.b |  |  |  |  |  |  |  |  |
| 150 | For pH measurements, have records been maintained indicating calibration daily or before each use, whichever is less frequent? |  |  | §5303.H.2.c |  |  |  |  |  |  |  |  |
| 151 | For pH measurements, are aliquots of standard pH 4 and pH 7 or pH 7 and pH 10 used only once? |  |  | §5303.H.2.d |  |  |  |  |  |  |  |  |
| 152 | For conductivity measurements, is a conductivity meter and probe of sufficient sensitivity used? |  |  | §5303.H.3.a |  |  |  |  |  |  |  |  |
| 153 | For conductivity measurements, have records been kept to show a daily or before each use calibration check, whichever is less frequent? Note: Calibration shall be within the range of interest using standard solutions. |  |  | §5303.H.3.b |  |  |  |  |  |  |  |  |
| 154 | For conductivity measurements, have records been kept showing that the cell constant has been determined annually? |  |  | §5303.H.3.c |  |  |  |  |  |  |  |  |
| 155 | Does each refrigerator have a thermometer immersed in liquid to the appropriate immersion line? |  |  | §5303.H.4.a |  |  |  |  |  |  |  |  |
| 156 | Are refrigerator thermometers graduated in increments no larger than 1°C? |  |  | §5303.H.4.b |  |  |  |  |  |  |  |  |
| 157 | Have temperatures for each refrigerator been recorded for each day in use for laboratory activities? |  |  | §5303.H.4.c |  |  |  |  |  |  |  |  |
| 158 | Are samples stored in separate refrigerators from all standards where a potential for cross-contamination exists? |  |  | §5303.H.4.d |  |  |  |  |  |  |  |  |
| 159 | Have refrigerator temperatures been maintained between 1°C and 6°C (inclusive), and have freezer temperatures been maintained below 0°C? |  |  | §5303.H.4.e |  |  |  |  |  |  |  |  |
| 160 | Have visual comparison devices been calibrated according to manufacturer's specifications and/or test methodologies? |  |  | §5303.H.5.a |  |  |  |  |  |  |  |  |
| 161 | Have the calibration results for visual comparison devices been recorded and maintained? |  |  | §5303.H.5.b |  |  |  |  |  |  |  |  |
| 162 | For ovens, incubators, or baths, is there documentation that the temperature has been adequately controlled? |  |  | §5303.H.6.a |  |  |  |  |  |  |  |  |
| 163 | For ovens, incubators, or baths, have records been kept to show that temperature has been maintained (e.g., beginning and end of each use cycle or daily for extended drying periods)? |  |  | §5303.H.6.b |  |  |  |  |  |  |  |  |
| Calibration |  |  |  |  |  |  |  |  |  |  |  |  |
| 164 | Have measuring and testing equipment used by the testing laboratory been calibrated, where appropriate, before being put into service and thereafter according to an established program? |  |  | §5305.A |  |  |  |  |  |  |  |  |
| 165 | Does the laboratory have an overall program of calibration of equipment designed and operated so as to ensure that measurements made in the testing laboratory are traceable (where the concept is applicable) to national standards of measurement and, where available, to international standards of measurement specified by the International Committee of Weights and Measures? |  |  | §5305.B |  |  |  |  |  |  |  |  |
| 166 | Where the concept of traceability to national or international standards of measurement is not applicable, has the testing laboratory provided satisfactory evidence of correlation or accuracy of test results (e.g., by participation in a suitable program of interlaboratory comparisons)? |  |  | §5305.B |  |  |  |  |  |  |  |  |
| 167 | Does the laboratory maintain a record of all calibration data including frequency, conditions, and standards used for all analytical methodology? |  |  | §5305.C |  |  |  |  |  |  |  |  |
| 168 | Has the laboratory verified and documented all standards versus primary (reference) standards? |  |  | §5305.D |  |  |  |  |  |  |  |  |
| Test Methods and Procedures |  |  |  |  |  |  |  |  |  |  |  |  |
| 169 | Does the laboratory have procedures for making and controlling revisions to in-house SOPs, using revised SOPs only after written authorization from the designated laboratory authority? |  |  | §5307.A |  |  |  |  |  |  |  |  |
| 170 | Are all quality control procedures documented and available to the staff as required in LAC 33:I.5301.C? |  |  | §5307.B |  |  |  |  |  |  |  |  |
| 171 | Are all manual calculation and data transfers subject to appropriate checks? |  |  | §5307.C |  |  |  |  |  |  |  |  |
| 172 | When manual calculations have been checked by a supervisor or another analyst, have the results been initialed and dated on the work sheet by the individual who verified the results? |  |  | §5307.C.1 |  |  |  |  |  |  |  |  |
| 173 | Where results are derived by electronic data processing techniques, is stability of the system such that the accuracy of the results is not affected? |  |  | §5307.C.2 |  |  |  |  |  |  |  |  |
| 174 | Does the laboratory have the ability to detect malfunctions in computer hardware during program execution and to take appropriate corrective action? |  |  | §5307.C.2 |  |  |  |  |  |  |  |  |
| 175 | Does the laboratory adhere to good automated laboratory practices (GALP)? (Recommended) |  |  | §5307.C.2 |  |  |  |  |  |  |  |  |
| 176 | Does the laboratory employ computer software that is appropriate for the intended use? |  |  | §5307.C.2.a |  |  |  |  |  |  |  |  |
| 177 | Has the laboratory established and implemented procedures for the protection of the integrity of data? |  |  | §5307.C.2.b |  |  |  |  |  |  |  |  |
| - 178 | - Do the laboratory procedures for protection of the integrity of data address the following required elements? - integrity of data entry or capture - data storage - data transmission - data processing |  |  | - §5307.C.2.b.i-iv |  |  |  |  |  |  |  |  |
| 179 | Have computer and automated equipment been provided with acceptable environmental operating conditions in order to maintain the operating integrity of the system? |  |  | §5307.C.2.c |  |  |  |  |  |  |  |  |
| 180 | Have appropriate procedures been implemented in order to maintain the security of data, including prevention of unauthorized access to computer records and prevention of unauthorized amendments or changes to computer records? |  |  | §5307.C.2.d |  |  |  |  |  |  |  |  |
| 181 | Whenever samples are subcontracted to another environmental testing laboratory, does the original laboratory maintain a verifiable copy of results with a chain of custody? |  |  | §5307.D |  |  |  |  |  |  |  |  |
| 182 | Does the laboratory ensure that any subcontracted laboratory used is properly accredited for the scope of testing performed? |  |  | §5307.D |  |  |  |  |  |  |  |  |
| Reports |  |  |  |  |  |  |  |  |  |  |  |  |
| 183 | Do the laboratory’s test reports accurately, clearly, and unambiguously present the test results and all other relevant information? |  |  | §5313.A |  |  |  |  |  |  |  |  |
| 184 | Are the laboratory’s test reports designed for the type of test/analysis reported, with standardized heading utilized whenever possible? |  |  | §5313.A |  |  |  |  |  |  |  |  |
| 185 | Does each test report include the following required information? - name and address of testing laboratory - title of report, unique identification of report (such as log number), identification of each page of the report by number, and total number of pages in the report - description and identification of the sample(s) - date of receipt of sample(s) and date(s) of performance of test, as appropriate - identification of the test method - any deviations, additions to, or exclusions from the test method and any other information relevant to a specific test - disclosure of any nonstandard test method utilized - measurements, examinations, and results, accompanied by appropriate quality assurance (QA) documents - a statement on measurement uncertainty (where relevant) - a signature and title of person(s) accepting technical responsibility for the test report and date of issue - if applicable, a statement that indicates that the results relate only to the items tested - if applicable, a statement that indicates that the report shall not be reproduced in full (or in part, if required) without the written approval of the customer |  |  | §5313.B.1-12 |  |  |  |  |  |  |  |  |
| 186 | Are corrections or additions to a test report after issue made only by a further document that is suitably marked (e.g., "Supplement to test report log number …" or as otherwise identified) and that meets the relevant requirements of §5313? |  |  | §5313.C |  |  |  |  |  |  |  |  |
| 187 | In instances where the laboratory transmits a report via telephone, telex, facsimile (FAX), or any other means of electronic transmittal, does the laboratory have in place a written procedure that will provide protection and/or preservation of client confidentiality? |  |  | §5313.D |  |  |  |  |  |  |  |  |
| Records |  |  |  |  |  |  |  |  |  |  |  |  |
| 188 | Does the laboratory maintain a record system that produces accurate, readily available records (including archived SOPs) that document all laboratory activities? |  |  | §5315.A |  |  |  |  |  |  |  |  |
| 189 | Does the testing laboratory retain on record all original raw data and observations, calculations and derived data, calibration records, and the final test report in a manner in which the continuity and integrity of the analytical process is preserved? |  |  | §5315.A |  |  |  |  |  |  |  |  |
| 190 | Does the laboratory retain all records for a minimum of 10 years or as required by regulatory or legal requirement? |  |  | §5315.A |  |  |  |  |  |  |  |  |
| 191 | Where computers or automated equipment are used for the capture, processing, manipulation, recording, reporting, storage, or retrieval of test data, does the laboratory ensure that the following requirements are met? - computer software has been documented and is adequate for use - procedures have been established and implemented to protect the integrity of data. Such procedures include, at a minimum, integrity of data entry or capture, data storage, data transmission, and data processing - computers and automated equipment are maintained to ensure proper functioning and retrieval of data - procedures have been developed and implemented to maintain security of data, including prevention of unauthorized access to, or unauthorized amendment of, computer records. |  |  | §5315.A.1-4 |  |  |  |  |  |  |  |  |
| 192 | Are all records and test reports held securely and in confidence to the client, unless otherwise required by law? |  |  | §5315.B |  |  |  |  |  |  |  |  |
| 193 | Does the testing laboratory maintain a system that provides for retrievability of the chain of custody of the sample source, the analytical method, results (including calibration and instrument checks), the analyst performing the analysis, and the date? |  |  | §5315.C |  |  |  |  |  |  |  |  |
| 194 | If laboratory records indicate that incorrect or questionable data has been generated by defective or improperly operated equipment, erroneous data entry, or other such anomalies, and a report has been issued, does the laboratory immediately notify the client and issue a written, corrected or amended report to the client? |  |  | §5315.C |  |  |  |  |  |  |  |  |
| 195 | Are current reference documents (e.g., EPA manuals, CFRs, Standard Methods) maintained and available to the staff? |  |  | §5315.D |  |  |  |  |  |  |  |  |
| 196 | Are entries to all laboratory analytical records made in a legible, permanent fashion? |  |  | §5315.E |  |  |  |  |  |  |  |  |
| 197 | Are all corrections to laboratory analytical records made without obliterating original entries, and initialed and dated? |  |  | §5315.E |  |  |  |  |  |  |  |  |
| 198 | Has a permanent record of employees' signatures and initials been maintained? |  |  | §5315.F |  |  |  |  |  |  |  |  |
| 199 | Has the laboratory maintained administrative records (e.g., training records) in a manner in which the continuity, integrity, and retrievability processes are preserved? |  |  | §5315.G |  |  |  |  |  |  |  |  |
| Unacceptable Samples |  |  |  |  |  |  |  |  |  |  |  |  |
| 200 | Does the laboratory have a written procedure for handling of questionable samples in cases where a sample is received by the testing laboratory and it is apparent or suspected that the sample protocol has not been followed? Note: The laboratory may choose to notify the customer and either request another sample or, if the customer insists upon analysis of the sample, reserve the right to include a disclaimer in the final report identifying the sample anomaly. This disclaimer must be permanently attached to the final report. |  |  | §5501.A |  |  |  |  |  |  |  |  |
| Display of Accreditation Certificate |  |  |  |  |  |  |  |  |  |  |  |  |
| 201 | Is the current accreditation certificate displayed at all times in a location visible to the public in the laboratory? |  |  | §5701.A |  |  |  |  |  |  |  |  |
| 202 | Does the laboratory accurately represent its accreditation status in laboratory reports, catalogs, advertising, business solicitations, or proposals? |  |  | §5701.C |  |  |  |  |  |  |  |  |
| Changes in Laboratory Operation |  |  |  |  |  |  |  |  |  |  |  |  |
| 203 | Has the laboratory reported any changes in laboratory name, ownership, location, personnel, facilities, methodology, or any factors significantly affecting the performance of analyses for which the laboratory was originally accredited, within 30 days of occurrence? |  |  | §5707.A |  |  |  |  |  |  |  |  |
| Checklist Prepared by |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Signature of Laboratory QA Officer (or other designated responsible party) |  | Printed Name of Laboratory QA Officer (or other designated responsible party) |  |  |  |  |  | Date |  |
| Acknowledgment of Checklist Use (to be completed following on-site assessment) |  |  |  |  |  |  |  |  |  |  |  |  |
| I acknowledge the LELAP’s use of the above LELAP Assessment Checklist for State Accredited Facilities on this date. |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Signature of Laboratory Representative |  |  | Printed Name of Laboratory Representative |  |  |  |  |  | Date |  |
|  |  | Signature of Laboratory Representative |  |  | Printed Name of Laboratory Representative |  |  |  |  |  | Date |  |
|  |  | Signature of Laboratory Representative |  |  | Printed Name of Laboratory Representative |  |  |  |  |  | Date |  |
|  |  | Signature of Laboratory Representative |  |  | Printed Name of Laboratory Representative |  |  |  |  |  | Date |  |
|  |  | Signature of LELAP Assessor |  |  | Printed Name of LELAP Assessor |  |  |  |  |  | Date |  |
|  |  | Signature of LELAP Assessor |  |  | Printed Name of LELAP Assessor |  |  |  |  |  | Date |  |
|  |  | Signature of LELAP Assessor |  |  | Printed Name of LELAP Assessor |  |  |  |  |  | Date |  |
|  |  | Signature of LELAP Assessor |  |  | Printed Name of LELAP Assessor |  |  |  |  |  | Date |  |