Title 33

ENVIRONMENTAL QUALITY

PART IX: WATER QUALITY

Subpart 2.  The Louisiana Pollutant Discharge Elimination System (LPDES) Program

Chapter 25.	Permit Application Requirements and Special LPDES Program Requirements

§2501.	Application for a Permit

A. — C.1.c.i.	…

ii.	the applicant's name, address, telephone number, email address, and ownership status;

C.1.c.iii. — E.2.	…

F.	Information Requirements. All applicants for LPDES permits, other than permits for POTWs and other TWTDS, must provide the following information in Paragraphs F.1-11 of this Section to the Office of Environmental Services using the application form provided by the state administrative authority (additional information required of applicants is set forth in Subsections G-K and Q-R of this Section and LAC 33:I.1701):

F.1. — F.2.	…

3.	up to four SIC codes and up to four NAICS codes which best reflect the principal products or services provided by the facility;

4.	the operator's name, address, telephone number, email address, ownership status, and status as federal, state, private, public, or other entity;

F.5. — F.7.	…

8.	a brief description of the nature of the business; and

9.	additional application requirements in LAC 33:IX.6505.A and LAC 33:I.1701.;

10.	an indication of whether the facility uses cooling water and the source of the cooling water; and

11.	an indication of whether the facility is requesting any of the variances at LAC 33:IX.2501.L.

G. — G.7. h.ii.	…

i.	where quantitative data are required in Subparagraphs G.7.a-h of this Section, existing data may be used, if available, in lieu of sampling done solely for the purpose of the application, provided that:

i.	all data requirements are met;

ii.	sampling was performed, collected, and analyzed no more than four and one-half years prior to submission;

iii.	all data are representative of the discharge; and

iv.	all available representative data are considered in the values reported.

G.8. — J.1.a.	…

b.	Applicant Information. Name, mailing address, and telephone number, and email address of the applicant, and indication as to whether the applicant is the facility’s owner, operator, or both.

J.1.c. — J.1.h.iv.(a).	…

(b).	the name, mailing address, contact person, and phone number, and email address of the organization transporting the discharge, if the transport is provided by a party other than the applicant;

(c).	the name, mailing address, contact person, phone number, email address, and LPDES permit number (if any) of the receiving facility; and

J.1.h.iv.(d). — J.1.h.v.(c).	…

i.	An indication of whether the facility is requesting any of the variances at LAC 33:IX.2501.M.

J.2. — J.4.	…

a.	As provided in Subparagraphs J.4.b-j of this Section, all applicants must submit to the Office of Environmental Services effluent monitoring information for samples taken from each outfall through which effluent is discharged to waters of the state. The state administrative authority may allow applicants to submit sampling data for only one outfall on a case-by-case basis, where the applicant has two or more outfalls with substantially identical effluent. The state administrative authority may also allow applicants to composite samples from one or more outfalls that discharge into the same mixing zone. For POTWs applying prior to commencement of discharge, data shall be submitted no later than 24 months after the commencement of discharge.

J.4.b. — J.5.	…

a.	All applicants must provide an identification of any whole effluent toxicity tests conducted during the four and one-half years prior to the date of the application on any of the applicant’s discharge or on any receiving water near the discharge. For POTWs applying prior to commencement of discharge, data shall be submitted no later than 24 months after the commencement of discharge.

J.5.b. — J.6.	…

a.	number of significant industrial users (SIUs) and nonsignificant categorical industrial users (NSCIUs), as defined at LAC 33:IX.6105, including SIUs and NSCIUs that truck or haul waste discharging to the POTW;

J.6.b. — J.8.	…

9.	Contractors. All applicants must provide the name, mailing address, telephone number, email address, and responsibilities of all contractors responsible for any operational or maintenance aspects of the facility.

J.10. — K.5.e.	…

f.	No later than two years24 months after the commencement of discharge from the proposed facility, the applicant is required to provide effluent characteristics (see LAC 33:IX.2501.G.7).complete and submit Items V and VI of LPDES application Form 2C (see LAC 33:IX.2501.G). However, the applicant need not complete those portions of Item V LAC 33:IX.2501.G.7 requiring tests which he hashave already been performed and reported under the discharge monitoring requirements of histhe LPDES permit.

K.6. — Q.2.	…

a.	the name, mailing address, and telephone number, and email address of the applicant; and

Q.2.b. — Q.8.f.	…

i.	the name, and mailing address, and email of the receiving facility;

Q.8.f.ii. — Q.9.c.iii.	…

iv.	the name, mailing address, and telephone number, and email address of the site owner, if different from the applicant;

v.	the name, mailing address, and telephone number, and email address of the person who applies sewage sludge to the site, if different from the applicant;

Q.9.c.vi. — Q.9.d.	…

i.	whether the applicant has contacted the permitting authority in the state where the bulk sewage sludge subject to 40 CFR 503.13(b)(2) will be applied, to ascertain whether bulk sewage sludge subject to 40 CFR 503.13(b)(2) has been applied to the site on or since July 20, 1993, and if so, the name of the permitting authority and the name, and phone number, and email address (if available) of a contact person at the permitting authority; and

Q.9.d.ii. — Q.10.b.	…

i.	the site name or number, contact person, mailing address, and telephone number, and email address for the surface disposal site; and

Q.10.b.ii. — Q.10.c.xi.	…

(a).	the name, contact person, and mailing address, and email address of the facility; and

Q.10.c.xi.(b). — Q.11.b.	…

i.	the name and/or number, contact person, mailing address, and telephone number, and email address of the sewage sludge incinerator; and

Q.11.b.ii. — Q.12.	…

a.	the name, contact person, mailing address, email address, location, and all applicable permit numbers of the MSWLF;

Q.12.b. — Q.12.d.	…

13.	Contractors. All applicants must provide the name, mailing address, telephone number, email address, and responsibilities of all contractors responsible for any operational or maintenance aspects of the facility related to sewage sludge generation, treatment, use, or disposal.

Q.14. — R.5.b.	…

AUTHORITY NOTE:	Promulgated in accordance with R.S. 30:2001 et seq., and in particular Section 2074(B)(3) and (B)(4).

HISTORICAL NOTE:	Promulgated by the Department of Environmental Quality, Office of Water Resources, LR 21:945 (September 1995), amended LR 23:723 (June 1997), amended by the Office of the Secretary, LR 25:661 (April 1999), amended by the Office of Environmental Assessment, Environmental Planning Division, LR 26:2552 (November 2000), LR 26:2756 (December 2000), LR 27:45 (January 2001), LR 28:465 (March 2002), LR 28:1766 (August 2002), LR 29:1462 (August 2003), repromulgated LR 30:230 (February 2004), amended by the Office of Environmental Assessment, LR 30:2028 (September 2004), LR 31:425 (February 2005), amended by the Office of the Secretary, Legal Affairs Division, LR 31:2509 (October 2005), LR 32:819 (May 2006), LR 33:2069, 2165 (October 2007), LR 33:2360 (November 2007), LR 35:648 (April 2009), amended by the Office of the Secretary, Legal Affairs and Criminal Investigations Division, LR 46:

Chapter 27.	LPDES Permit Conditions

§2707.	Establishing Limitations, Standards, and Other Permit Conditions

A.1. — K.3.	…

4.	the practices are reasonably necessary to achieve effluent limitations and standards or to carry out the purposes and intent of the CWA and the LEQA.

NOTE: Additional technical information on BMPs and the elements of BMPs is contained in the following documents: Guidance Manual for Developing Best Management Practices (BMPs), October 1993, EPA No. 833/B-93-004, NTIS No. PB 94-178324, ERIC No. W498; Storm Water Management for Construction Activities: Developing Pollution Prevention Plans and Best Management Practices, September 1992, EPA No. 832/R-92-005, NTIS No. PB 92-235951, ERIC No. N482; Storm Water Management for Construction Activities, Developing Pollution Prevention Plans and Best Management Practices: Summary Guidance, EPA No. 833/R-92-001, NTIS No. PB 93-223550, ERIC No.W139; Storm Water Management for Industrial Activities; Developing Pollution Prevention Plans and Best Management Practices, September 1992; EPA No. 832/R-92-006, NTIS No. PB 92-235969, ERIC No. N477; Storm Water Management for Industrial Activities, Developing Pollution Prevention Plans and Best Management Practices: Summary Guidance, EPA No. 833/R-92-002, NTIS No. PB 94-133782, ERIC No. W492. Copies of these documents (or directions on how to obtain them) can be obtained by contacting either the Office of Water Resource Center (using the EPA document number as a reference) at (202) 566-1729 or the Educational Resources Information Center (ERIC) (using the ERIC number as a reference) at (800) 538-3742. Updates of these documents or additional BMP documents may also be available. A list of EPA BMP guidance documents is available on the Office of Water Management Home Page at http://www.epa.gov/owm. These and other EPA guidance documents can be obtained through the National Service Center for Environmental Publications (NSCEP) at the NSCEP website. In addition, states may have BMP guidance documents. These EPA guidance documents are listed here only for informational purposes; they are not binding and EPA does not intend that these guidance documents have any mandatory, regulatory effect by virtue of their listing in this note.

L. — S.	…

AUTHORITY NOTE:	Promulgated in accordance with R.S. 30:2001 et seq., and in particular Section 2074(B)(3) and (B)(4).

HISTORICAL NOTE:	Promulgated by the Department of Environmental Quality, Office of Water Resources, LR 21:945 (September 1995), amended LR 23:724 (June 1997), LR 23:1523 (November 1997), amended by the Office of Environmental Assessment, Environmental Planning Division, LR 26:2282 (October 2000), LR 26:2764 (December 2000), LR 28:469 (March 2002), LR 28:1767 (August 2002), repromulgated LR 30:230 (February 2004), amended by the Office of Environmental Assessment, LR 31:426 (February 2005), amended by the Office of the Secretary, Legal Affairs Division, LR 33:2070 (October 2007), LR 34:74 (January 2008), amended by the Office of the Secretary, Legal Affairs and Criminal Investigations Division, LR 46:

Chapter 31.	General LPDES Program Requirements

§3113.	Public Notice of Permit Actions and Public Comment Period

A. — C.1.j.ii.	…

2.	for major LPDES individual permits, LPDES general permits, and permits that include sewage sludge land application plans under 40 CFR 501.15(a)(2)(ix), publication of a notice in a daily or weekly newspaper within the area affected by the facility or activity; and for EPA-issued NPDES general permits, in the Federal Register;

NOTE:	The state administrative authority is encouraged to provide as much notice as possible of the LPDES draft general permit to the facilities or activities to be covered by the general permit.

a.	for LPDES individual permits and LPDES master general permits, in lieu of the requirement for publication of a notice in a daily or weekly newspaper, as described in Paragraph 2 of this Section, the director may publish all notices of activities as described in LAC 33:IX.3113.A.1 to the permitting authority’s public website. If the director selects this option for the draft permit, as defined in LAC 33:IX.3101, the director must post the draft permit and fact sheet on the website for the duration of the public comment period.

Note: The director is encouraged to ensure that all method(s) of public notice effectively informs all interested communities and allows access to the permitting process for those seeking to participate.

C.3. — F.	…

AUTHORITY NOTE:	Promulgated in accordance with R.S. 30:2001 et seq., and in particular Section 2074(B)(3) and (B)(4).

HISTORICAL NOTE:	Promulgated by the Department of Environmental Quality, Office of Water Resources, LR 21:945 (September 1995), amended by the Water Pollution Control Division, LR 23:725 (June 1997), amended by the Office of Environmental Assessment, Environmental Planning Division, LR 26:2554 (November 2000), LR 28:473 (March 2002), LR 28:1767 (August 2002), repromulgated LR 30:231 (February 2004), amended by the Office of Environmental Assessment, LR 31:426 (February 2005), amended by the Office of the Secretary, Legal Affairs Division, LR 33:2070 (October 2007), amended by the Office of the Secretary, Legal Affairs and Criminal Investigations Division, LR 46:

Chapter 37.	Criteria and Standards for Technology – Based Treatment Requirements under Sections 301(b) and 402 of the Act

§3705.	Technology – Based Treatment Requirements in Permits

A. — A.1.a.	…

b.	the best practicable waste treatment technology―not later than July 1, 1983; and Reserved.

A.2. — H.4.	…

AUTHORITY NOTE:	Promulgated in accordance with R.S. 30:2001 et seq., and in particular Section 2074(B)(3) and (B)(4).

HISTORICAL NOTE:	Promulgated by the Department of Environmental Quality, Office of Water Resources, LR 21:945 (September 1995), repromulgated by the Office of Environmental Assessment, Environmental Planning Division, LR 30:231 (February 2004), amended by the Office of the Secretary, Legal Affairs and Criminal Investigations Division, LR 46: