NOTICE OF INTENT

Department of Environmental Quality

Office of the Secretary

Legal Affairs Division

Standards Governing Landfills (Type I and II)

(LAC 33:VII.711) (SW071)

Under the authority of the Environmental Quality Act, R.S. 30:2001 et seq., and in accordance with the provisions of the Administrative Procedure Act, R.S. 49:950 et seq., the secretary gives notice that rulemaking procedures have been initiated to amend the Solid Waste regulations, LAC 33:VII.711 (SW071).

This Rule updates regulations governing leachate collection and removal systems for industrial and municipal landfills. These proposed regulations establish and clarify procedures, standards, requirements, and records for the measurement, collection, and control of leachate. This Rule requires record keeping of leachate systems and provides timelines to repair leachate collection systems and components in accordance with applicable regulations. The basis and rationale for this Rule are to ensure collection and treatment of leachate and to provide compliance timelines for a leachate collection system in accordance with applicable regulations. This Rule meets an exception listed in R.S. 30:2019(D)(2) and R.S. 49:963.B(3); therefore, no report regarding environmental/health benefits and social/economic costs is required.

Family Impact Statement

This Rule has no known impact on family formation, stability, and autonomy as described in R.S. 49:972.

Poverty Impact Statement

This Rule has no known impact on poverty as described in R.S. 49:973.

Small Business Analysis

This Rule has no known impact on small business as described in R.S. 49:974.1 - 974.8.

Provider Impact Statement

This Rule has no known impact on providers as described in HCR 170 of 2014.

Public Comments

All interested persons are invited to submit written comments on the proposed regulation. Persons commenting should reference this proposed regulation by SW071. Such comments must be received no later than July 4, 2023, at 4:30 p.m., and should be sent to William Little, Attorney Supervisor, Office of the Secretary, Legal Affairs Division, P.O. Box 4302, Baton Rouge, LA 70821-4302, fax (225) 219-4068, or by E-mail to DEQ.Reg.Dev.Comments@la.gov. Copies of these proposed regulations can be purchased by contacting the LDEQ Public Records Center at (225) 219-3168. Check or money order is required in advance for each copy of SW071. These proposed regulations are available on the Internet at www.deq.louisiana.gov/portal/tabid/1669/default.aspx.

Public Hearing

A public hearing will be held via Zoom on June 27, 2023, at 1:30 p.m. Interested persons are invited to attend and submit oral comments via PC, Mac, Linux, iOS, or Android at https://deqlouisiana.zoom.us/j/87319253187?pwd=aUN6Vm9aQW5ndkRndWorM1pKdWxvQT09, or telephone by dialing (636) 651-3182 using the conference code 725573. Should individuals with a disability need an accommodation in order to participate, contact William Little at the address given below, or (225) 219-3985.

These proposed regulations are available for inspection at the following LDEQ office locations from 8 a.m. until 4:30 p.m.:  602 N. Fifth Street, Baton Rouge, LA 70802; 1823 Highway 546, West Monroe, LA 71292; State Office Building, 1525 Fairfield Avenue, Shreveport, LA 71101; 1301 Gadwall Street, Lake Charles, LA 70615; 111 New Center Drive, Lafayette, LA 70508; 110 Barataria Street, Lockport, LA 70374; 201 Evans Road, Bldg. 4, Suite 420, New Orleans, LA  70123.

Courtney J. Burdette

Executive Counsel

Title 33

ENVIRONMENTAL QUALITY

Part VII.  Solid Waste

Subpart 1.  Solid Waste Regulations

Chapter 7.	Solid Waste Standards

Subchapter A.	Landfills, Surface Impoundments, and/or Landfarms

§711.	Standards Governing Landfills (Type I and II)

A. — B.4.f.vii.	…

viii.	The leachate head shall be maintained in a pumped-down condition such that not more than 1 foot of head shall exist above the lowest elevation of the leachate collection lines. Compliance with the 1 foot leachate head standard shall be achieved by compliance with LAC 33:VII.711.D.3.e. and f, and the provisions of the facility operational plan that address LAC 33:VII.711.D.2.g.-i.

B.4.f.ix. — C.2.c.xi.	…

xii.	records on the leachate head, volume(s), and results of the leachate sampling, if applicable;

xiii. — xv.	…

xvi.	post-closure monitoring reports; and

xvii.	copies of all documents received from and submitted to the department.;

xviii.	records on leachate pump tests; and

xix.	records of action(s) taken under LAC 33:VII.711.D.2.i.

C.3. — D.2.f.	…

g.	the methods that will be used to ensure that the leachate collection/treatment system is functioning as designed; including, but not limited to:

i.	the testing and inspection of system components;

ii.	the repair and/or replacement of system components; and

iii.	the time frame for such repair and/or replacements;and

h.	the measuring protocol, frequency, and recordkeeping to be used to monitor leachate head and the frequency with which the depth of leachate within the collection system will be checked, as well as how the leachate will be removed and transported to the treatment facility.; and

i.	the actions to be taken when monitoring indicates leachate head exceeds the standard in LAC 33:VII.711.B.4.f.viii.

3. — 3.d.	…

e.	Leachate Pumps

i.	Leachate pumps shall be tested at least weekly, maintained, and operated to ensure compliance with LAC 33:VII.711.B.4.f.viii.

ii.	Testing results shall be documented within 24 hours and maintained in accordance with LAC 33:VII.711.C.2.a-c.

iii.	For nonfunctioning leachate pumps and/or not maintaining liquid head below the 1 foot leachate head standard set forth in LAC 33:VII.711.B.4.f.viii, action to repair and/or to replace pumps shall be initiated and completed within seven days, or as otherwise approved by the administrative authority.

iv.	Any request for an extension under LAC 33:VIII.711.D.3.iii shall be submitted for approval to the Office of Environmental Services and shall at a minimum  include:

(a).	reason(s) for the extension; and

(b).	estimated time for repair or replacement, including supporting documentation.

f.	Leachate Head Monitoring

i.	Leachate head shall be monitored and recorded:

(a).	in accordance with the facility operational plan at least every normal operating day; or

(i).	as otherwise approved by the administrative authority for cells without final cover; and

(b).	at least every seven days for cells that have received final cover.

ii.	If monitoring of leachate head shows an exceedance of more than 1 foot of head above the lowest elevation of the leachate collection lines under the facility operational plan, action shall be taken in accordance with LAC 33:VII.711.D.2.i.

D.4. — F.3.d.	…

AUTHORITY NOTE:	Promulgated in accordance with R.S. 30:2001 et seq.

HISTORICAL NOTE:	Promulgated by the Department of Environmental Quality, Office of Solid and Hazardous Waste, Solid Waste Division, LR 19:187 (February 1993), amended LR 19:1143 (September 1993), repromulgated LR 19:1316 (October 1993), amended by the Office of the Secretary, LR 24:2251 (December 1998), amended by the Office of Environmental Assessment, Environmental Planning Division, LR 26:2523 (November 2000), repromulgated LR 27:704 (May 2001), amended LR 30:1676 (August 2004), amended by the Office of Environmental Assessment, LR 30:2024 (September 2004), amended by the Office of the Secretary, Legal Affairs Division, LR 31:2492 (October 2005), LR 33:1047 (June 2007), LR 33:2145 (October 2007), LR 34:1901 (September 2008), LR 37:1564 (June 2011), LR 37:3248 (November 2011), amended by the Office of the Secretary, Legal Affairs and Criminal Investigations Division LR 49:

FISCAL AND ECONOMIC IMPACT STATEMENT

FOR ADMINISTRATIVE RULES

Person

Preparing

Statement:	   Martin Perilloux      	Dept.	 Environmental Quality

Phone:	   225-219-3050             	Office:	  Environmental Services

Return		Rule

Address:	    602 North Fifth Street     	Title:	 Standards Governing Landfills

(Type I and II) LAC 33:VII.711)

Baton Rouge, LA 70802

Date Rule

Takes Effect:        Upon Promulgation

SUMMARY

(Use complete sentences)

In accordance with Section 961 of Title 49 of the Louisiana Revised Statutes, there is hereby submitted a fiscal and economic impact statement on the rule proposed for adoption, repeal or amendment. THE FOLLOWING STATEMENTS SUMMARIZE ATTACHED WORKSHEETS, I THROUGH IV AND WILL BE PUBLISHED IN THE LOUISIANA REGISTER WITH THE PROPOSED AGENCY RULE.

I.	ESTIMATED IMPLEMENTATION COSTS (SAVINGS) TO STATE OR LOCAL GOVERNMENTAL 	UNITS (Summary)

There are no estimated implementation costs or savings to state or local governmental units as a result of the proposed rule change. The proposed rule change establishes and clarifies procedures, standards, requirements, and records for measuring, collecting, and controlling leachate. The proposed rule changes require record keeping of leachate systems and provides timelines to repair leachate collection systems and components in accordance with applicable regulations.

II. 	ESTIMATED EFFECT ON REVENUE COLLECTIONS OF STATE OR LOCAL GOVERNMENTAL 	UNITS (Summary)

There is no estimated effect on revenue collections of state or local governmental units resulting from this proposed rule.

III. 	ESTIMATED COSTS AND/OR ECONOMIC BENEFITS TO DIRECTLY AFFECTED PERSONS, SMALL BUSINESSES, OR NON-GOVERNMENTAL GROUPS (Summary)

The proposed rule change may cause additional burden to landfill operators to record and maintain leachate collection systems. The department anticipates the economic impact to landfill operators to be minimal.

IV. 	ESTIMATED EFFECT ON COMPETITION AND EMPLOYMENT (Summary)

No effects on competition are anticipated.

Signature of Agency Head or Designee				Legislative Fiscal Officer or Designee

Courtney J. Burdette, Executive Counsel

Typed Name & Title of Agency Head or Designee

Date of Signature                                  		Date of Signature

FISCAL AND ECONOMIC IMPACT STATEMENT

FOR ADMINISTRATIVE RULES

The following information is required in order to assist the Legislative Fiscal Office in its review of the fiscal and economic impact statement and to assist the appropriate legislative oversight subcommittee in its deliberation on the proposed rule.

- Provide a brief summary of the content of the rule (if proposed for adoption, or repeal) or a brief summary of the change in the rule (if proposed for amendment). Attach a copy of the notice of intent and a copy of the rule proposed for initial adoption or repeal (or, in the case of a rule change, copies of both the current and proposed rules with amended portions indicated).

The proposed rule updates regulations governing leachate collection and removal system for industrial and municipal landfills.  The proposed rule change establishes and clarifies procedures, standards, requirements, and records for measuring, collecting, and controlling leachate. The proposed rule changes require record keeping of leachate systems and provides timelines to repair leachate collection systems and components in accordance with applicable regulations.

- Summarize the circumstances, which require this action. If the Action is required by federal regulation, attach a copy of the applicable regulation.

This proposed rule is to revise and update the record keeping of leachate systems and provides timelines to repair leachate collection systems and components.

- Compliance with Act 11 of the 1986 First Extraordinary Session

  - Will the proposed rule change result in any increase in the expenditure of funds? If so, specify amount and source of funding.

No, the proposed rule will not result in any increase in the expenditure of funds.

(2) 	If the answer to (1) above is yes, has the Legislature specifically appropriated the funds necessary for the associated expenditure increase?

(a)                 	Yes. If yes, attach documentation.

(b)                 	NO. If no, provide justification as to why this rule change should be published at this time

This is not applicable.

FISCAL AND ECONOMIC IMPACT STATEMENT

WORKSHEET

I.	A. 	COSTS OR SAVINGS TO STATE AGENCIES RESULTING FROM THE ACTION PROPOSED

- What is the anticipated increase (decrease) in costs to implement the proposed action?

COSTS	FY 23	FY 24	FY 25

Personal Services			0			       0				0

Operating Expenses			0			       0				0

Professional Services			0			       0				0

Other Charges				0			       0				0

Equipment				0			       0				0

Major Repairs & Constr.			0			       0				0

TOTAL					0			       0 				0

POSITIONS (#)			0			       0				0

- Provide a narrative explanation of the costs or savings shown in "A. 1.", including the increase or reduction in workload or additional paperwork (number of new forms, additional documentation, etc.) anticipated as a result of the implementation of the proposed action. Describe all data, assumptions, and methods used in calculating these costs.

There are no costs or savings to state agencies associated with the implementation of this rule.

- Sources of funding for implementing the proposed rule or rule change.

SOURCE	FY 23	FY 24	FY 25

State General Fund			0			       0				0

Agency Self-Generated			0			       0				0

Dedicated				0			       0				0

Federal Funds				0			       0				0

Other (Specify)				0			       0				0

TOTAL					0			       0				0

- Does your agency currently have sufficient funds to implement the proposed action? If not, how and when do you anticipate obtaining such funds?

No funds are needed to implement this rule.

B.		COST OR SAVINGS TO LOCAL GOVERNMENTAL UNITS RESULTING FROM THE ACTION PROPOSED.

- Provide an estimate of the anticipated impact of the proposed action on local governmental units, including adjustments in workload and paperwork requirements.  Describe all data, assumptions and methods used in calculating this impact.

There is no anticipated impact of the proposed action on local governmental units.

- Indicate the sources of funding of the local governmental unit, which will be affected by these costs or savings.

This is not applicable.

FISCAL AND ECONOMIC IMPACT STATEMENT

WORKSHEET

II.	EFFECT ON REVENUE COLLECTIONS OF STATE AND LOCAL GOVERNMENTAL UNITS

- What increase (decrease) in revenues can be anticipated from the proposed action?

REVENUE INCREASE/DECREASE	              FY 23	       FY 24	    FY 25

State General Fund			  	0			0			0

Agency Self-Generated				0			0			0

Dedicated Funds*				0			0			0

Federal Funds					0			0			0

Local Funds					0			0			0

TOTAL						0			0			0

*Specify the particular fund being impacted.

- Provide a narrative explanation of each increase or decrease in revenues shown in "A."  Describe all data, assumptions, and methods used in calculating these increases or decreases.

This is not applicable.

FISCAL AND ECONOMIC IMPACT STATEMENT

WORKSHEET

III.	COSTS AND/OR ECONOMIC BENEFITS TO DIRECTLY AFFECTED PERSONS, SMALL BUSINESSES, OR NONGOVERNMENTAL GROUPS

A.	What persons, small businesses, or non-governmental groups would be directly affected by the proposed action? For each, provide an estimate and a narrative description of any effect on costs, including workload adjustments and additional paperwork (number of new forms, additional documentation, etc.), they may have to incur as a result of the proposed action.

The proposed rule change may cause additional burden to landfill operators to record and maintain leachate collection systems. The department anticipates the economic impact to landfill operators to be minimal.

- Also provide an estimate and a narrative description of any impact on receipts and/or income resulting from this rule or rule change to these groups.

There is no anticipated impact on receipts and/or income to directly affected persons resulting from the proposed rule change.

IV. 	EFFECTS ON COMPETITION AND EMPLOYMENT

Identify and provide estimates of the impact of the proposed action on competition and employment in the public and private sectors. Include a summary of any data, assumptions and methods used in making these estimates.

No effects on competition are anticipated.