Loading & Concentration Calculations

Monthly Average (all of the samples in a month)

Weekly Average (samples within a certain week)

C= concentration

F=flow

L= loading

NOT Continuous Recorder

Concentration

Concentration Average =				C1 + C2 + C3 + C44

Loadings

Loading Average =					L1 + L2 + L3 + L44

Day 1		L1 = (F1)(C1)(8.34 lbs/day)

Day 1		L2 = (F2)(C2)(8.34 lbs/day)

Day 1		L3 = (F3)(C3)(8.34 lbs/day)

Day 1		L4 = (F4)(C4)(8.34 lbs/day)

WITH Continuous Recorder

Concentration

Concentration Average (Cfw) = 		C1F1 + C2F2 + C3F3 + C4(F4)F1 + F2 + F3 + F4

Loadings

Loading Average =			Cfw×F1+F2+F3+F44×8.34 lbs/day

Fecal Coliform Geometric Average

Geometric Mean (Average) = 		nC1C2C3C4………

Geometric Mean (Average) is the product of all the sample values followed by taking the nth root of the resulting value where n equals the number of samples

Example:	4 samples of 150, 75, 200, 24

Multiplied together equals 54,000,000

The 4th root equals 85.72

For more information, see the EPA NPDES Reporting Requirements Manual

on the Water Enforcement page of the LDEQ public website at www.deq.louisiana.gov.