## MWPP
LOUISIANA
MUNICIPAL WATER
POLLUTION PREVENTION
MWPP
Facility Name:
LPDES Permit Number:
Agency Interest (AI) Number:
Address:
Parish:
(Person Completing Form) Name:
Title:
Date Completed:
INSTRUCTIONS
1. |  | Complete only the sections of the Environmental Audit which apply to
your wastewater treatment system. Leave sections that do not apply
blank and enter a "0" for the point value.
2. |  | Parts 1 through 7 contain questions for which points may be generated.
These points are intended to communicate to the department and the
governing body or owner what actions will be necessary to prevent
effluent violations. Place the point totals from parts 1 through 7 on the
Point Calculation page.
3. |  | Add up the point totals.
4. |  | Submit the Environmental Audit to the governing body or owner for
review and approval.
5. |  | The governing body must pass a resolution which contains the following
items:
| a. |  | The resolution or letter must acknowledge the governing body
or owner has reviewed the Environmental Audit.
| b. |  | This resolution must indicate specific actions, if any, will be
taken to maintain compliance and prevent effluent violations.
Proposed actions should address the parts where maximum or
close to maximum points were generated in the Environmental
Audit.
| c. |  | The resolution should provide any other information the
governing body deems appropriate.
1
[10 empty] | Permit #: | 0
PART 1: INFLUENT FLOW/LOADINGS (all plants)
| A. | List the average monthly volumetric flows and BOD loadings received at your facility during
the last reporting year.
| Column 1 | [5 empty] | Column 2 | [5 empty] | Column 3
| Average Monthly | [5 empty] | Average Monthly | [5 empty] | Average Monthly
| Flow (million gallons | [5 empty] | BOD5 Concentration | [5 empty] | BOD5 Loading
| per day, MGD) | [5 empty] | (mg/l) | [5 empty] | (pounds per day, lb/day)
[5 empty] | x | [5 empty] | x 8.34 =
[5 empty] | x | [5 empty] | x 8.34 =
[5 empty] | x | [5 empty] | x 8.34 =
[5 empty] | x | [5 empty] | x 8.34 =
[5 empty] | x | [5 empty] | x 8.34 =
[5 empty] | x | [5 empty] | x 8.34 =
[5 empty] | x | [5 empty] | x 8.34 =
[5 empty] | x | [5 empty] | x 8.34 =
[5 empty] | x | [5 empty] | x 8.34 =
[5 empty] | x | [5 empty] | x 8.34 =
[5 empty] | x | [5 empty] | x 8.34 =
[5 empty] | x | [5 empty] | x 8.34 =
BOD loading = Average Monthly Flow (in MGD) x Average Monthly BOD concentration (in mg/l) x 8.34
| B. | List the design flow and design BOD loading for your facility in the blanks below. If you
are not aware of these design quantities, refer to your Operation and Maintenance (O&M)
Manual or contact your consulting engineer.
[6 empty] | Design Flow, MGD: |  |  |  |  | x 0.90 =
[6 empty] | Design BOD, lb/day: |  |  |  |  | x 0.90 =
2
[10 empty] | Permit #: | 0
| C. | How many months did the monthly flow (Column 1) to the wastewater treatment facility
(WWTF) exceed 90% of design flow? Circle the number of months and the corresponding
point total. Write the point total in the box below at the right.
|  | months | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
|  | points | 0 | 0 | 0 | 0 | 0 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
[12 empty] | Write 0 or 5 in the C point total box |  | C Point Total
| D. | How many months did the monthly flow (Column 1) to the WWTF exceed the design flow?
Circle the number of months and corresponding point total. Write the point total in the box
below at the right.
|  | months | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
|  | points | 0 | 5 | 5 | 10 | 10 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15
[12 empty] | Write 0, 5, 10 or 15 in the D point total box |  | D Point Total
| E. | How many months did the monthly BOD loading (Column 3) to the WWTF exceed 90%
of the design loading? Circle the number of months and corresponding point total. Write
the point total in the box below at the right.
|  | months | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
|  | points | 0 | 0 | 5 | 5 | 5 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
[12 empty] | Write 0, 5,or 10 in the E point total box |  | E Point Total
| F. | How many months did the monthly BOD loading (Column 3) to the WWTF exceed the
design loading? Circle the number of months and corresponding point total. Write the
point total in the box below at the right.
|  | months | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
|  | points | 0 | 10 | 20 | 30 | 40 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
[12 empty] | Write 0, 10, 20, 30, 40 or 50 in the F point total box |  | F Point Total
| G. | Add together each point total for C through F and place this sum in the box below at the right.
[12 empty] | TOTAL POINT VALUE FOR PART 1: |  | (max = 80)
Also enter this value or 80, whichever is less, on the point calculation table on page 16.
3
[10 empty] | Permit #: | 0
PART 2: EFFLUENT QUALITY / PLANT PERFORMANCE
| A. | List the monthly average effluent BOD and TSS concentrations produced by your facility
during the last reporting year.
[7 empty] | Column 1 | [5 empty] | Column 2
[7 empty] | Average Monthly | [5 empty] | Average Monthly
| Month |  | 4: BOD (mg/l); 10: TSS (mg/l)
| B. | List the monthly average permit limits for your facility in the blanks below.
90% of
[7 empty] | Permit Limit | [5 empty] | Permit Limit
[6 empty] | BOD, mg/l |  |  |  |  | x 0.90 =
[6 empty] | TSS, mg/l |  |  |  |  | x 0.90 =
4
[10 empty] | Permit #: | 0
| C. | Continuous Discharge to Surface Water.
| i. | How many months did the effluent BOD (Column 1) exceed 90% of the permit limits?
Circle the number of months and the corresponding point total. Write the point total in
the box below at the right.
|  | months | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
|  | points | 0 | 0 | 10 | 20 | 30 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40
[12 empty] | Write 0, 10, 20, 30 or 40 in the i point total box |  | i Point Total
| ii. | How many months did the effluent BOD (Column 1) exceed permit limits? Circle the
number of months and corresponding point total. Write the point total in the box below
at the right.
|  | months | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
|  | points | 0 | 5 | 5 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
[12 empty] | Write 0, 5, or 10 in the ii point total box |  | ii Point Total
| iii. | How many months did the effluent TSS (Column 2) exceed 90% of the permit limits?
Circle the number of months and the corresponding point total. Write the point total in
the box below at the right.
|  | months | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
|  | points | 0 | 0 | 10 | 20 | 30 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40
[12 empty] | Write 0, 10, 20, 30 or 40 in the iii point total box |  | iii Point Total
| iv. | How many months did the effluent TSS (Column 2) exceed permit limits? Circle the
number of months and corresponding point total. Write the point total in the box below
at the right.
|  | months | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
|  | points | 0 | 5 | 5 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
[12 empty] | Write 0, 5, or 10 in the iv point total box |  | iv Point Total
| v. | Add together each point total for i through iv and place this sum in the box below at the right.
[12 empty] | TOTAL POINT VALUE FOR PART 2: |  | (max = 100)
Also enter this value or 100, whichever is less, on the point calculation table on page 16.
5
[10 empty] | Permit #: | 0
| D. | Other Monitoring and Limitations
| i. | At any time in the past year was there and exceedance of a permit limit for other
pollutants such as: ammonia-nitrogen, phosphorus, pH, total residual chlorine, or fecal
coliform?
|  | √ Check one box. | 4: Yes; 6: No; 8: If Yes, Please describe:
| ii. | At any time in the past year was there a "failure" of a Biomonitoring (Whole Effluent
Toxicity) test of the effluent?
|  | √ Check one box. | 4: Yes; 6: No; 8: If Yes, Please describe:
| iii. | At any time in the past year was there an exceedance of a permit limit for a toxic
substance?
|  | √ Check one box. | 4: Yes; 6: No; 8: If Yes, Please describe:
6
[10 empty] | Permit #: | 0
PART 3: AGE OF THE WASTEWATER TREATMENT FACILITY
| A. | What year was the wastewater treatment facility constructed or last major expansion/
improvements completed?
|  |  | Current Year |  |  | - | Answer to A |  |  | = | Age in years
Enter Age in Part C below.
| B. | √ Check the type of treatment facility that is employed.
FACTOR:
|  |  |  | Mechanical Treatment Plant | [8 empty] | 2.5
(trickling filter, activated
sludge, etc…)
Specify Type:
|  |  |  | Aerated Lagoon | [8 empty] | 2.0
|  |  |  | Stabilization Pond | [8 empty] | 1.5
Other
|  |  |  | Specify Type: | [8 empty] | 1.0
| C. | Multiply the factor listed next to the type of facility your community employs by the age
of your facility to determine the total point value for Part 3.
TOTAL POINT VALUE FOR PART 3 =
[9 empty] | x |  |  | = |  | (max = 50)
[7 empty] | Factor |  |  | Age
Also enter this value or 50, whichever is less, on the point calculation table on page 16.
| D. | Please attach a schematic of the treatment plant.
7
[10 empty] | Permit #: | 0
PART 4: OVERFLOWS AND BYPASSES
A.
| i. | List the number of times in the last year there was an overflow, bypass or unpermitted
discharge of untreated or incompletely treated wastewater due to heavy rain:
|  |  |  | √ Check one box. |  |  |  | 0 = 0 points |  |  |  | 3 = 15 points
[8 empty] | 1 = 5 points |  |  |  | 4 = 30 points
[8 empty] | 2 = 10 points |  |  |  | 5 or more = 50 points
| ii. | List the number of bypasses, overflows or unpermitted discharges shown in A (i) that
were within the collection system and the number at the treatment plant
[5 empty] | Collection System: | [6 empty] | Treatment Plant:
B.
| i. | List the number of times in the last year there was an overflow, bypass or unpermitted
discharge of untreated or incompletely treated wastewater due to equipment failure,
either at the treatment plant or due to pumping problems in the collection system:
|  |  |  | √ Check one box. |  |  |  | 0 = 0 points |  |  |  | 3 = 15 points
[8 empty] | 1 = 5 points |  |  |  | 4 = 30 points
[8 empty] | 2 = 10 points |  |  |  | 5 or more = 50 points
| ii. | List the number of bypasses, overflows or unpermitted discharges shown in B (i) that
were within the collection system and the number at the treatment plant
[5 empty] | Collection System: | [6 empty] | Treatment Plant:
| C. | Specify whether the bypasses came from the city/village/town sewer system or from
contract or tributary communities/sanitary districts, etc…
| D. | Add the point values checked for A and B and place the total in the box below.
[12 empty] | TOTAL POINT VALUE FOR PART 4: |  | (max = 100)
Also enter this value or 100, whichever is less, on the point calculation table on page 16.
| E. | List the person responsible (name and title) for reporting overflows, bypasses or
unpermitted discharges to State and Federal authorities:
Describe the procedure for gathering, compiling and reporting:
8
[10 empty] | Permit #: | 0
PART 5: SLUDGE STORAGE AND DISPOSAL SITES
| A. | Sludge Storage
How many months of sludge storage capacity does your facility have available, either
on-site or off-site?
Circle the number of months and the corresponding point total. Write the point total in
the box below at the right.
|  |  | months | <2 |  | 2 |  | 3 |  | 4-5 |  | >6
|  |  | points | 50 |  | 30 |  | 20 |  | 10 |  | 0
[12 empty] | Write 0, 10, 20, 30 or 40 in the A point total box |  | A Point Total
| B. | For how many months does your facility have access to (and approval for) sufficient land
disposal sites to provide proper land disposal?
Circle the number of months and the corresponding point total. Write the point total in
the box below at the right.
|  |  | months | <2 |  | 6-11 |  | 12-23 |  | 24-35 |  | >36
|  |  | points | 50 |  | 30 |  | 20 |  | 10 |  | 0
[12 empty] | Write 0, 10, 20, 30 or 40 in the B point total box |  | B Point Total
| C. | Add together the A and B point values and place the sum in the box below at the right:
[12 empty] | TOTAL POINT VALUE FOR PART 5: |  | (max = 100)
Also enter this value or 100, whichever is less, on the point calculation table on page 16.
9
[10 empty] | Permit #: | 0
PART 6: NEW DEVELOPMENT
| A. | Please provide the following information for the total of all sewer line extensions which
were installed during the last year.
Design Population:
|  | Design Flow: | 6: MGD
|  | Design BOD: | 6: mg/l
| B. | Has an industry (or other development) moved into the community or expanded production
in the past year, such that either flow or pollutant loadings to the sewerage system were
significantly increased (5% or greater)?
|  | √ Check one box. | 4: Yes = 15 points; 8: No = 0 points
If Yes, Please describe:
List any new pollutants:
| C. | Is there any development (industrial, commercial or residential) anticipated in the next
2-3 years, such that either flow or pollutant loadings to the sewerage system could
significantly increase?
|  | √ Check one box. | 4: Yes = 15 points; 8: No = 0 points
If Yes, Please describe:
List any new pollutants you anticipate:
| D. | Add together the point value checked in B and C and place the sum in the box below.
[12 empty] | TOTAL POINT VALUE FOR PART 6: |  | (max = 30)
Also enter this value or 30, whichever is less, on the point calculation table on page 16.
10
[10 empty] | Permit #: | 0
PART 7: OPERATOR CERTIFICATION AND EDUCATION
| A. | What was the name of the operator-in-charge for the reporting year?
Name:
| B. | What is his or her certification number:
Cert.#:
| C. | What level of certification is the operator-in-charge required to have to operate the
wastewater treatment facility?
Level Required:
| D. | What is the level of certification of the operator-in-charge?
Level Certified:
| E. | Was the operator-in-charge of the report year certified at least at the grade level
required in order to operate this plant?
|  | √ Check one box. | 4: Yes = 0 points; 9: No = 50 points
[10 empty] | Write 0 or 50 in the E point total box |  | E Point Total
| F. | Has the operator-in-charge maintained recertification requirements during the reporting
year?
|  | √ Check one box. | 4: Yes; 9: No
| G. | How many hours of continuing education has the operator-in-charge completed over the
last two calendar years?
|  | √ Check one box. | 4: > 12 hours = 0 points; 9: < 12 hours = 50 points
[10 empty] | Write 0 or 50 in the G point total box |  | G Point Total
| H. | Is there a written policy regarding continuing education an training for wastewater
treatment plant employees?
|  | √ Check one box. | 4: Yes; 9: No
Explain:
| I. | What percentage of the continuing education expenses of the operator-in-charge were
paid for:
|  |  |  | By the permittee? | [6 empty] | By the operator?
| J. | Add together the E and G point values and place the sum in the box below at the right.
[12 empty] | TOTAL POINT VALUE FOR PART 7: |  | (max = 100)
Also enter this value or 100, whichever is less, on the point calculation table on page 16.
11
[10 empty] | Permit #: | 0
PART 8: FINANCIAL STATUS
| A. | Are User-Charge Revenues sufficient to cover operation and maintenance expenses?
|  | √ Check one box. | 4: Yes; 6: No; 7: If No, How are O&M costs financed?
| B. | What financial resources do you have available to pay for your wastewater improvements
and reconstruction needs?
12
[10 empty] | Permit #: | 0
PART 9: SUBJECTIVE EVALUATION
| A. | Collection System Maintenance
| i. | Describe what sewer system maintenance work has been done in the last year.
| ii. | Describe what lift station work has been done in the last year.
| iii. | What collection system improvements does the community have under construction for
the next 5 years?
| B. | If you have ponds please answer the following questions: | 9: √ Check one box.
| i. | Do you have duckweed buildup in the ponds? | 10: Yes; 12: No
| ii. | Do you mow the dikes regularly (at least monthly), to the
|  | waters edge? | 10: Yes; 12: No
| iii. | Do you have bushes or trees growing on the dikes or in
|  | the ponds? | 10: Yes; 12: No
| iv. | Do you have excess sludge buildup (> 1foot) on the bottom
|  | of any of your ponds? | 10: Yes; 12: No
| v. | Do you exercise all of your valves? | 10: Yes; 12: No
| vi. | Are your control manholes in good structural shape? | 10: Yes; 12: No
| vii. | Do you maintain at least 3 feet of freeboard in all of your
|  | ponds? | 10: Yes; 12: No
| viii. | Do you visit your pond system at least weekly? | 10: Yes; 12: No
13
[10 empty] | Permit #: | 0
| C. | Treatment Plants
| i. | Have the influent and effluent flow meters been calibrated in the last year?
|  |  | Yes |  | No | (√ Check one box.)
|  | Influent flow meter calibration date(s) | 7: Effluent flow meter calibration date(s)
| ii. | What problems, if any, have been experienced over the last year that have threatened
treatment?
| iii. | Is your community presently involved in formal planning for treatment facility upgrade?
|  | √ Check one box. | 4: Yes; 6: No; 8: If Yes, Please describe:
14
[10 empty] | Permit #: | 0
| D. | Preventive Maintenance
| i. | Does your plant have a written plan for preventive maintenance on major equipment
items?
|  | √ Check one box. | 4: Yes; 6: No; 8: If Yes, Please describe:
| ii. | Does this preventive maintenance program depict frequency of intervals, types of
lubrication and other preventive maintenance tasks necessary for each piece of
equipment?
[7 empty] | Yes |  | No
| iii. | Are these preventive maintenance tasks, as well as equipment problems, being
recorded and filed so future maintenance problems can be assured properly?
[7 empty] | Yes |  | No
| E. | Sewer Use Ordinance
| i. | Does your community have a sewer use ordinance that limits or prohibits the discharge
of excessive conventional pollutants (BOD, TSS or pH) or toxic substances to the
sewer system from industries, commercial users and residences?
|  | √ Check one box. | 4: Yes; 6: No; 8: If Yes, Please describe:
| ii. | Has it been necessary to enforce?
|  | √ Check one box. | 4: Yes; 6: No; 8: If Yes, Please describe:
| iii. | Any additional comments about your treatment plant or collection system? (Attach
additional sheets if necessary.)
15
[10 empty] | Permit #: | 0
POINT CALCULATION TABLE
[9 empty] | Actual Values |  |  |  | Maximum
|  | Part 1: | 0: Influent Flow/Loadings; 10: 80 points
|  | Part 2: | 0: Effluent Quality /
|  |  | Plant Performance | [9 empty] | 100 points
|  | Part 3: | 0: Age of WWTF; 10: 50 points
|  | Part 4: | 0: Overflows and Bypasses; 10: 100 points
|  | Part 5: | 0: Ultimate Disposition of Sludge; 10: 100 points
|  | Part 6: | 0: New Development; 10: 30 points
|  | Part 7: | 0: Operator Certification
|  |  | Training | [9 empty] | 100 points
TOTAL POINTS:
16
ATTACHMENT 3
SAMPLE MWPP RESOLUTION
Resolved that the village/town/city of ____________________________ informs the
Louisiana Department of Environmental Quality that the following actions were taken by
_______________________________________________ (governing body).
| 1. | Resolved the Municipal Water Pollution Prevention Environmental Audit Report which
is attached to this resolution.
| 2. | Set forth the following actions necessary to maintain permit requirements contained
in the Louisiana Pollution Discharge Elimination System (LPDES) permit,
number LA___________________ .
(Please be specific in listing the actions that will be taken to address the problems
identified in the audit report.)
a.
b.
c.
d.
etc..
Passed by a majority/unanimous (circle one) vote of the _____________________________
on __________________________ (date).
CLERK