|  | To: | Prospective Applicants for an LPDES Water Discharge Permit associated with Oil Field Service Companies |
| --- | --- | --- |

Attached is an Oil Field Service and Associated Wastewaters Permit Application, OSC, for a Louisiana Pollutant Discharge Elimination System (LPDES) permit, authorized under EPA’s delegated NPDES program under the Clean Water Act.  To be considered complete, every item on the form must be addressed and the last page signed by an authorized company agent.  If an item does not apply, please enter "NA" (for not applicable) to show that the question was considered.

NOTE: This application only applies to oilfield service companies (e.g. facilities which provide services to the oil and gas industry.  NOT SIC codes: 1311 – 1382)

Two copies (one original and one copy) of your completed application, each with a marked U.S.G.S. Quadrangle map or equivalent attached, should be submitted to:

Mailing Address:		Physical Address: (if hand delivered)

Department of Environmental Quality		Department of Environmental Quality

Office of Environmental Services		Office of Environmental Services

Post Office Box 4313		602 N Fifth Street

Baton Rouge, LA  70821-4313		Baton Rouge, LA 70821

Attention: Water Permits Division		Attention: Water Permits Division

Please be advised that completion of this application may not fulfill all state, federal, or local requirements for facilities of this size and type.

According to L. R. S. 48:385, any discharge to a state highway ditch, cross ditch, or right-of-way shall require approval from:

| Louisiana DOTD Office of Engineering Road Design Section Post Office Box 94245 Baton Rouge, LA 70804-9245 (225) 379-1927 | AND | Louisiana Department of Health Office of Public Health Center for Environmental Health Services PO Box 4489 Baton Rouge, LA 70821-4489 (225) 342-7499 |
| --- | --- | --- |

In addition, the plans and specifications for sanitary treatment plants must be approved by the Louisiana Department of Health, Office of Public Health at the address above.

A copy of the LPDES regulations may be obtained from the Department’s website at http://www.deq.louisiana.gov/portal/tabid/1674/Default.aspx.

For questions regarding this application, please contact the Water Permits Division at (225) 219-9371.  For help regarding completion of this application please contact DEQ, Small Business Assistance at 1-800-259-2890.

Except for the pollutants listed in this application and in accordance with LAC 33:IX.2501G.7.d, all other pollutants listed in LAC 33:IX.2501.G.7.c are waived, because information adequate to support issuance of the permit can be obtained with the information requested in this application.

| Date |  |  |  |  | Please check: |  | Initial Permit |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Agency Interest No. |  | AI |  |  |  |  | Permit Modification |
|  |  |  |  |  |  |  | Permit Renewal |
| LWDPS Permit No. |  | WP |  |  | Please check: |  | Proposed Facility |
| NPDES/LPDES Permit No. |  | LA |  |  |  |  | Existing Facility |

###### STATE OF LOUISIANA

DEPARTMENT OF ENVIRONMENTAL QUALITY

Office of Environmental Services, Water Permits Division

Post Office Box 4313

Baton Rouge, La  70821-4313

PHONE#: (225) 219-9371

#### LPDES Permit Application to Discharge Oil Field Service

and Associated Wastewaters

## (Attach additional pages if needed.)

| SECTION I - FACILITY INFORMATION |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| - Permit is to be issued to the following: (must have operational control over the facility operations - see LAC 33:IX.2501.B and LAC 33:IX.2503.A and B). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Legal Name of Applicant/Owner (Company, Partnership, Corporation, etc.) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Facility Name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Mailing Address |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Zip Code: |  |  |  |  |  |  |  |  |
|  | If applicant named above is not also the owner, state owner name, phone # and address. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Please check status: |  |  |  |  |  |  |  |  | Federal |  |  |  |  |  |  |  | Parish |  |  |  |  |  |  | Municipal |  |  |  | Other: |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | State |  |  |  |  |  |  |  | Public |  |  |  |  |  |  | Private |  |  |  |  |  |  |  |  |  |  |
| 2. Location of facility. Please provide a specific street, road, highway, interstate, and/or River Mile/Bank location of the facility for which the application is being submitted. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | City |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Parish |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Front Gate Coordinates: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Latitude- |  |  |  | deg. |  |  |  | min. |  |  |  |  | sec. |  |  |  |  |  |  | Longitude- |  |  |  |  |  | deg. |  |  |  |  | min. |  |  | sec. |
|  | Method of Coordinate Determination: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  | (Quad Map, Previous Permit, website, GPS) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Is the facility located on Indian Lands? |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  | No |  |  |  |  |  |  |  |  |  |  |  |  |  |

| SECTION I - FACILITY INFORMATION (cont.) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3. Name & Title of Contact Person at Facility |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Phone |  |  |  |  |  |  | Fax |  |  |  | e-mail |  |  |  |  |  |
|  | SIC (Standard Industrial Classification) Code(s): |  |  |  |  |  |  |  |  |  | 1389 |  |  |  | Other: |  |  |
|  | SIC codes can be obtained from the U. S. Department of Labor internet site at http://www.osha.gov/pls/imis/sicsearch.html |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B. Name and address of responsible representative who completed the application: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Name & Title |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Company |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Phone |  |  |  |  |  |  | Fax |  |  |  |  | e-mail |  |  |  |  |
|  | Address |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| C. Facility Information. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. | Facility Type |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. | Give a brief description of the operations that take place at this facility: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3. | Water Discharge Permit Revision (if applicable): Describe the requested revision to the existing permit. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4. | Source of water supply in gallons per day. List each source giving quality such as fresh, brackish, salt, hard, or soft; and give breakdown as to how each source is used. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5. | Please list any materials manufactured, used, stored, or in any other way handled at this facility (including toxic materials): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6. | Has this facility experienced a reportable quantity spill in the last 10 years? If yes, please explain. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| SECTION II - DISCHARGE INFORMATION |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| A. |  | Outfall Identification. |  |  |  |
|  |  | Provide a description of all waste streams contributing wastewater to the effluent for the outfall including process wastewater, sanitary wastewater, cooling water, and stormwater runoff and the average flow contributed by each operation. |  |  |  |
|  | Outfall No |  | Outfall Description (List all waste streams contributing to flow) | Treatment Description | Average Flow* (in gpd) |
|  | * Average Flow – The sum of all of the monthly average values measured over the previous two years divided by the number of monthly average values measured within the same period. |  |  |  |  |

| B. Stormwater |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | Are stormwater discharges covered by a stormwater General Permit |  |  | Yes |  | No |
| 2. | If yes, Stormwater discharge authorization number: |  |  |  |  |  |
| In accordance with LAC 33:IX.2511.A.1, storm water discharges shall not be required to obtain an LPDES permit "... except... discharges associated with industrial activity." In accordance with LAC 33:IX.2511.B.14.a-k, facilities classified as SIC code 1389 are considered to have storm water discharges associated with industrial activity. |  |  |  |  |  |  |

| SECTION II - DISCHARGE INFORMATION (cont.) |  |
| --- | --- |
| C. | Washwater - Complete this part for each washwater discharge point. Washwater includes, but is not limited to, wastewater generated from pressure or steam cleaning of equipment. Use a separate sheet for each discharge. |

| 1. | Discharge Identification (ex. Equipment Washwater - 001): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2. | Give a brief description of the location of the washwater outfall. For example, Outfall 003 is located on the northeast corner of the facility. NOTE: This descriptive location should correspond with the location indicated on the facility site map. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3. | List treatment method(s) used for the outfall: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4. | Identify the type of equipment washed and whether it is internal or external cleaning: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5. | List any pertinent physical and/or chemical properties of the discharge. (i.e., toxic components, taste and odor compounds, heavy metals, etc.) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6. | Are any soaps, detergents and/or solvents used for cleaning? If yes, provide the name, quantity, and frequency of use. Attach the MSDS for each agent used. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7. | Are any corrosion inhibitors used? If yes, provide the name, quantity, and frequency of use. Attach the MSDS for each agent used. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8. | Indicate how wastewaters listed in 1-5 above reach state waters (named water bodies). This will usually be either “directly”, “open ditch” (if it is a highway ditch, indicate the highway), or by “pipe”. Please specifically name all of the minor water bodies that your wastewater will travel through on the way to a major water body. This information can be obtained from U.S.G.S. Quadrangle Maps (See Section VI). Include river mile of discharge point if available. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | By |  |  |  |  |  |  |  |  |  |  |  | (effluent pipe, ditch, etc.); |  |  |  |  |  |  |
|  | thence into |  |  |  |  |  |  |  |  |  |  |  | (Parish drainage ditch, canal, etc.); |  |  |  |  |  |  |
|  | thence into |  |  |  |  |  |  |  |  |  |  |  | (named bayou, creek, stream, etc.); |  |  |  |  |  |  |
|  | thence into |  |  |  |  |  |  |  |  |  |  |  | (river, lake, etc.). |  |  |  |  |  |  |
| 9. | Latitude/Longitude of Discharge: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Latitude- |  |  |  | deg. |  | min. |  |  | sec. | Longitude- |  |  |  | deg. |  | min. |  | sec. |
|  | Method of Coordinate Determination: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | (Quad Map, Previous Permit, website, GPS) |  |  |  |  |  |  |  |  |  |  |  |

| ##### SECTION II – DISCHARGE INFORMATION (cont.) |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ##### C. Washwater (cont.) |  |  |  |  |  |  |  |  |  |  |  |
| Discharge identification from 1. above: |  |  |  |  |  |  |  |  |  |  |  |
| 10. |  | Lab Analysis- Sampling and analytical protocol must conform to the requirements found in 40 CFR Part 136. Provide analytical data for the following effluent characteristics for each washwater outfall. If a treatment method is used, provide analytical data after treatment. |  |  |  |  |  |  |  |  |  |
| Effluent Characteristic |  |  | Effluent Analysis |  |  |  |  |  |  |  |  |
|  |  |  | Concentration (mg/L) |  |  |  |  |  |  | Mass (lbs/day) |  |
|  |  |  | Monthly Average |  |  |  |  | Daily Maximum |  | Monthly Average | Daily Maximum |
| Flow (GPD) |  |  |  |  |  |  |  |  |  |  |  |
| Oil and Grease |  |  |  |  |  |  |  |  |  |  |  |
| TSS |  |  |  |  |  |  |  |  |  |  |  |
| COD |  |  |  |  |  |  |  |  |  |  |  |
| Chromium (µg/l) |  |  |  |  |  |  |  |  |  |  |  |
| Lead (µg/l) |  |  |  |  |  |  |  |  |  |  |  |
| Zinc (µg/l) |  |  |  |  |  |  |  |  |  |  |  |
| BOD5 |  |  |  |  |  |  |  |  |  |  |  |
| Ammonia (as N) |  |  |  |  |  |  |  |  |  |  |  |
| TOC |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Minimum |  |  |  |  |  |  | Maximum |  |
| pH - (Standard Units) |  |  |  |  |  |  |  |  |  |  |  |
| Temperature, summer (°C) |  |  |  |  |  |  |  |  |  |  |  |
| Temperature, winter (°C) |  |  |  |  |  |  |  |  |  |  |  |
| Is the effluent flow intermittent? |  |  |  |  | Yes |  |  |  | No |  |  |
|  | Check here for a waiver on providing the following analytical data above |  |  |  |  |  |  |  |  |  |  |
|  | If you are requesting a waiver, please provide a justification for the waiver. |  |  |  |  |  |  |  |  |  |  |

| ##### SECTION II – DISCHARGE INFORMATION (cont.) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ##### D. Sanitary Wastewater |  |  |  |  |  |  |  |  |  |
| ##### If sanitary wastewater is not discharged to surface waters, please indicate the disposal method: |  |  |  |  |  |  |  |  |  |
|  |  | Individual treatment system discharged through a septic tank to underground absorption lines |  |  |  |  |  |  |  |
|  |  |  | If yes, is there an overflow pipe? |  |  |  | Yes |  | No |
|  |  | Connection to Publicly Owned Treatment Works |  |  |  |  |  |  |  |
|  |  | Connection to Privately Owned Treatment Works |  |  |  |  |  |  |  |
|  |  | Other, please specify: |  |  |  |  |  |  |  |

For sanitary wastewater discharges to surface waters, please provide the following information for each outfall.

| 1. | Discharge Identification (ex. Sanitary Outfall 002): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2. | Give a brief description of the location of the sanitary outfall. For example, Outfall 002 consists of sanitary wastewater from the front office and is located on the east side of the facility. NOTE: This descriptive location should correspond with the location indicated on the facility site map. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3. | List treatment method(s) used for the outfall: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4. | List any pertinent physical and/or chemical properties of the discharge. (i.e., toxic components, taste and odor compounds, heavy metals, etc.) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5. | Receiving Waters: Indicate how wastewaters listed in 1-5 above reach state waters (named water bodies). This will usually be either “directly”, “open ditch” (if it is a highway ditch, indicate the highway), or by “pipe”. Please specifically name all of the minor water bodies that your wastewater will travel through on the way to a major water body. This information can be obtained from U.S.G.S. Quadrangle Maps (See Section VI). Include river mile of discharge point if available. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | By |  |  |  |  |  |  |  |  |  |  |  | (effluent pipe, ditch, etc.); |  |  |  |  |  |  |
|  | thence into |  |  |  |  |  |  |  |  |  |  |  | (Parish drainage ditch, canal, etc.); |  |  |  |  |  |  |
|  | thence into |  |  |  |  |  |  |  |  |  |  |  | (named bayou, creek, stream, etc.); |  |  |  |  |  |  |
|  | thence into |  |  |  |  |  |  |  |  |  |  |  | (river, lake, etc.). |  |  |  |  |  |  |
| 6. | Latitude/Longitude of Discharge: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Latitude- |  |  |  | deg. |  | min. |  |  | sec. | Longitude- |  |  |  | deg. |  | min. |  | sec. |
|  | Method of Coordinate Determination: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | (Quad Map, Previous Permit, website, GPS) |  |  |  |  |  |  |  |  |  |  |

| ##### SECTION II – DISCHARGE INFORMATION (cont.) |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ##### D. Sanitary Wastewater (cont.) |  |  |  |  |  |  |  |  |  |  |
|  | Discharge Identification from 1. above: |  |  |  |  |  |  |  |  |  |
| 7. | Lab Analysis- Sampling and analytical protocol must conform to the requirements found in 40 CFR Part 136. Provide analytical data for the following effluent characteristics for each sanitary outfall. If a treatment method is used, provide analytical data after treatment. |  |  |  |  |  |  |  |  |  |
| Effluent Characteristic |  | Effluent Analysis |  |  |  |  |  |  |  |  |
|  |  | Concentration (mg/L) |  |  |  |  |  |  | Mass (lbs/day) |  |
|  |  | Monthly Average |  |  |  |  | Daily Maximum |  | Monthly Average | Daily Maximum |
| Flow (GPD) |  |  |  |  |  |  |  |  |  |  |
| BOD5 |  |  |  |  |  |  |  |  |  |  |
| TSS |  |  |  |  |  |  |  |  |  |  |
| Fecal Coliform (colonies/100 mL) |  |  |  |  |  |  |  |  |  |  |
| TRC if chlorine is used |  |  |  |  |  |  |  |  |  |  |
| Oil and Grease |  |  |  |  |  |  |  |  |  |  |
| Ammonia (as N) |  |  |  |  |  |  |  |  |  |  |
|  |  | Minimum |  |  |  |  |  |  | Maximum |  |
| pH - (Standard Units) |  |  |  |  |  |  |  |  |  |  |
| Temperature, summer (°C) |  |  |  |  |  |  |  |  |  |  |
| Temperature, winter (°C) |  |  |  |  |  |  |  |  |  |  |
| Is the effluent flow intermittent? |  |  |  | Yes |  |  |  | No |  |  |
|  | Check here for a waiver on providing the following analytical data above |  |  |  |  |  |  |  |  |  |
|  | If you are requesting a waiver, please provide a justification for the waiver. |  |  |  |  |  |  |  |  |  |

##### SECTION II – DISCHARGE INFORMATION (cont.)

##### E. Other Wastewaters, please specify type

Complete this part for each wastewater discharge point that is not applicable to Parts B, C, and D of this Section. Use a separate sheet for each discharge.

| 1. | Discharge Identification (ex. Wastewater 004): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2. | Give a brief description of the location of the wastewater outfall and the area the wastewater originates from. For example, Outfall 004 consist of wastewater from the process area of the facility and is located on the northeast corner of the facility. NOTE: This descriptive location should correspond with the location indicated on the facility site map. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3. | List treatment method(s) used for the outfall: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4. | List any pertinent physical and/or chemical properties of the discharge. (i.e., toxic components, taste and odor compounds, heavy metals, etc.) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5. | Receiving Waters: Indicate how wastewaters listed in 1-5 above reach state waters (named water bodies). This will usually be either “directly”, “open ditch” (if it is a highway ditch, indicate the highway), or by “pipe”. Please specifically name all of the minor water bodies that your wastewater will travel through on the way to a major water body. This information can be obtained from U.S.G.S. Quadrangle Maps (See Section VI). Include river mile of discharge point if available. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | By |  |  |  |  |  |  |  |  |  |  |  | (effluent pipe, ditch, etc.); |  |  |  |  |  |  |
|  | thence into |  |  |  |  |  |  |  |  |  |  |  | (Parish drainage ditch, canal, etc.); |  |  |  |  |  |  |
|  | thence into |  |  |  |  |  |  |  |  |  |  |  | (named bayou, creek, stream, etc.); |  |  |  |  |  |  |
|  | thence into |  |  |  |  |  |  |  |  |  |  |  | (river, lake, etc.). |  |  |  |  |  |  |
| 6. | Latitude/Longitude of Discharge: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Latitude- |  |  |  | deg. |  | min. |  |  | sec. | Longitude- |  |  |  | deg. |  | min. |  | sec. |
|  | Method of Coordinate Determination: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | (Quad Map, Previous Permit, website, GPS) |  |  |  |  |  |  |  |  |  |  |  |

| ##### SECTION II – DISCHARGE INFORMATION (cont.) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ##### E. Other Wastewaters (cont.) |  |  |  |  |  |  |  |  |  |
|  | Discharge Identification from 1. above: |  |  |  |  |  |  |  |  |
| 7. | Lab Analysis- Provide analytical data for the following effluent characteristics for each wastewater outfall. If a treatment method is used, provide analytical data after treatment. If you believe that analytical data for any of the characteristics listed below does not need to be provided due to the type of wastewater, please contact the Permits Division. |  |  |  |  |  |  |  |  |
| Effluent Characteristic |  | Effluent Analysis |  |  |  |  |  |  |  |
|  |  | Concentration (mg/L) |  |  |  |  |  | Mass (lbs/day) |  |
|  |  | Monthly Average |  |  |  | Daily Maximum |  | Monthly Average | Daily Maximum |
| Flow (GPD) |  |  |  |  |  |  |  |  |  |
| TSS |  |  |  |  |  |  |  |  |  |
| COD if non-contact cooling water |  |  |  |  |  |  |  |  |  |
| TOC if non-contact cooling water |  |  |  |  |  |  |  |  |  |
| Chromium (µg/l) |  |  |  |  |  |  |  |  |  |
| Zinc (µg/l) |  |  |  |  |  |  |  |  |  |
| Lead (µg/l) |  |  |  |  |  |  |  |  |  |
| TRC if chlorine is used |  |  |  |  |  |  |  |  |  |
| Oil and Grease |  |  |  |  |  |  |  |  |  |
| Ammonia (as N) |  |  |  |  |  |  |  |  |  |
| BOD5 |  |  |  |  |  |  |  |  |  |
|  |  | ##### Minimum |  |  |  |  |  | ##### Maximum |  |
| pH - (Standard Units) |  |  |  |  |  |  |  |  |  |
| Temperature, summer (°C) |  |  |  |  |  |  |  |  |  |
| Temperature, winter (°C) |  |  |  |  |  |  |  |  |  |
| Is the effluent flow intermittent? |  |  |  | Yes |  |  | No |  |  |
|  | Check here for a waiver on providing the following analytical data above |  |  |  |  |  |  |  |  |
|  | If you are requesting a waiver, please provide a justification for the waiver. |  |  |  |  |  |  |  |  |

| ##### SECTION II – DISCHARGE INFORMATION (cont.) |  |  |
| --- | --- | --- |
| ##### F. Laboratory Accreditation |  |  |
|  | If any of the analysis reported above were performed by a contract lab or consulting firm, provide the firm name, address, phone number and pollutants analyzed. |  |
|  | Laboratory procedures and analyses performed by commercial laboratories shall be conducted in accordance with the requirements set forth under LAC 33:I.Subpart 3, Chapters 49-55. |  |
|  | Laboratory data generated by commercial laboratories that are not accredited under LAC 33:I.Subpart 3, Chapters 47-57, will not be accepted by the department. Retesting of analysis will be required by an accredited commercial laboratory. |  |
|  | Regulations on the Environmental Laboratory Accreditation Program and a list of labs that have applied for accreditation are available on the department website located at: |  |
|  | http://www.deq.louisiana.gov/portal/tabid/2925/Default.aspx |  |
|  | - Questions concerning the Louisiana Environmental Laboratory Accreditation Program may be directed to (225) 219-3247. |  |

| ## SECTION III – SITE HISTORY |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| A. Date operations began at this site: |  |  |  |  |  |  |  |  |  |
| B. Is the current operator the original operator? |  |  |  |  |  | Yes |  | No |  |
|  | If no, give a reverse chronological list of previous operators. Include the company name and telephone number (if available), and the dates through which the company operated this facility. |  |  |  |  |  |  |  |  |
|  | ### Company | ### Dates of Operation |  |  |  |  |  |  | ### Telephone Number |
|  |  | From |  |  | To |  |  |  |  |

| ## C. | ## Other Permit History |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ## Facilities located in the Louisiana Coastal Zone as mapped by the Louisiana Department of Natural Resources (LDNR) (http://dnr.louisiana.gov) must provide verification that the company has either obtained a Coastal Use Permit or is not required to obtain a Coastal Use Permit. |  |  |  |  |  |  |  |
| 1. | ## Is this facility located in the Louisiana Coastal Zone as mapped by LDNR? |  |  | Yes |  |  |  | No |
|  | If yes: |  |  |  |  |  |  |  |
| 2. | Do you have a Coastal Use Permit issued by DNR: |  |  | Yes |  |  |  | No |
| 3. | Are there any operations at the facility that may impact coastal waters such as any project involving dredge or fill, water control structures, bulkheads, oil and gas facilities, marina or residential development? |  |  |  |  |  |  |  |
|  |  |  |  | Yes |  |  |  | No |
|  | If yes, you must contact DNR for a determination (225) 342-8955 or dnrinfo@la.gov. |  |  |  |  |  |  |  |
|  | I have contacted LDNR and this facility is not required to obtain a Coastal Use Permit. |  |  |  |  |  |  |  |
|  | If a Coastal Use permit is required, an application was submitted on: |  |  |  |  |  |  |  |

| ###### SECTION IV – LAC 33.I.1701 REQUIREMENTS |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| A. | Does the company or owner have federal or state environmental permits identical to, or of a similar nature to, the permit for which you are applying in other states? (This requirement applies to all individuals, partnerships, corporations, or other entities who own a controlling interest of 50% or more in your company, or who participate in the environmental management of the facility for an entity applying for the permit or an ownership interest in the permit.) |  |  |  |  |  |  |  |  |
|  |  | Permits in Louisiana. List Permit Numbers: |  |  |  |  |  |  |  |
|  |  | Permits in other states (list states): |  |  |  |  |  |  |  |
|  |  | No other environmental permits. |  |  |  |  |  |  |  |
| B. | Do you owe any outstanding fees or final penalties to the Department? |  |  |  |  |  | Yes |  | No |
|  | If yes, please explain. |  |  |  |  |  |  |  |  |
| C. | Is your company a corporation or limited liability company? |  |  |  |  |  | Yes |  | No |
|  | If yes, is the corporation or LLC registered with the Secretary of State? |  |  |  |  |  | Yes |  | Yes |

# SECTION V – COMPLIANCE HISTORY

Report the history of all violations and enforcement actions for the facility, a summary of all permit excursions including effluent violations reported on the facility’s Discharge Monitoring Reports (DMRs) and bypasses for the last three years. Using a brief summary, report on the current status of all administrative orders, compliance orders, notices of violation, cease and desist orders, and any other enforcement actions either already resolved within the past 3 years or currently pending. The state administrative authority may choose, at its discretion, to require a more in-depth report of violations and compliance actions for the applicant covering any law, permit, or order concerning pollution at this or any other facility owned or operated by the applicant.

| ###### SECTION VI – MAPS/DIAGRAMS |  |
| --- | --- |
| A. | Site Diagram. Attach to this application a complete site diagram of your facility showing the boundaries of your facility, the location of all buildings and/or storage areas, the location of treatment units (such as settling basins, oxidation ponds, sewage treatment plants, oil/water separators), and demonstrate how the wastewater flows through your facility into each clearly labeled discharge point (including all treatment points). Please indicate the location of the facility and the front gate or entrance to the facility on the site diagram. The diagram does not need to be drawn to scale. |
| B. | Topographic Map. Attach to this application a map or a copy of a section of the map which has been highlighted to show the path of your wastewater from your facility to the first named water body. Include on the map the area extending at least one mile beyond your property boundaries. Indicate the outline of the facility, the location of each of its existing and proposed discharge structures, and any existing hazardous waste treatment storage or disposal facilities. A U.S.G.S. 1:24,000 scale map (7.5' Quadrangle) would be appropriate for this item. Appropriate maps can be obtained from local government agencies such as DOTD or the Office of Public Works. Maps can also be obtained online at http://map.ldeq.org/ or other online mapping service. Private map companies can also supply you with these maps. If you cannot locate a map through these sources you can contact the Louisiana Department of Transportation and Development at: |
| 1201 Capitol Access Road Baton Rouge, LA 70802 (225) 379-1232 maps@dotd.louisiana.gov |  |
| C. | Flow Diagram. Attach a line drawing of the water flow through the facility with a water balance showing operations contributing wastewater to the effluent and treatment units. The water balance must show average and maximum flows at intake and discharge points and between units, including treatment units. If a water balance cannot be determined, the applicant may provide instead a pictorial description of the nature and amount of any sources of water and any collection and treatment measures. Hand drawn diagrams are acceptable. |

According to the Louisiana Water Quality Regulations, LAC 33:IX.2503.B, the following requirements shall apply to the signatory page in this application:

Chapter 25.  Permit Application and Special LPDES Program Requirements

2503.	Signatories to permit applications and reports

A.	All permit applications shall be signed as follows:

1.	For a corporation - by a responsible corporate officer.  For the purpose of this Section responsible corporate officer means:

- A president, secretary, treasurer, or vice-president of the corporation in charge of a principal business function, or any other person who performs similar policy- or decision-making functions for the corporation, or

- The manager of one or more manufacturing, production, or operating facilities employing more than 250 persons or having gross annual sales or expenditures exceeding $25 million (in second-quarter 1980 dollars), if authority to sign documents has been assigned or delegated to the manager in accordance with corporate procedures.

2.	For a partnership or sole proprietorship - by a general partner or the proprietor, respectively; or

3.	For a municipality, parish, State, Federal or other public agency - either a principal executive officer or ranking elected official.  For the purposes of this Section a principal executive officer of a Federal agency includes:

(a) The chief executive officer of the agency, or

- A senior executive officer having responsibility for the overall operations of a principal geographic unit of the agency (e.g., Regional Administrator of EPA).

B.	All reports required by permits, and other information requested by the state administrative authority shall be signed by a person described in LAC 33:IX.2503.A, or by a duly authorized representative of that person.  A person is a duly authorized representative only if:

1.	The authorization is made in writing by a person described in LAC 33:IX.2503.A.

2.		The authorization specifies either an individual or a position having responsibility for the overall operation of the regulated facility or activity, such as a position of plant manager, operator of a well or well field, superintendent, position of equivalent responsibility, or an individual or position having overall responsibility for environmental matters for the company.  (A duly authorized representative may thus be either a named individual or any individual occupying a named position); and

3.	The written authorization is submitted to the state administrative authority.

C.	Changes to authorization.  If an authorization under LAC 33:IX.2503.B is no longer accurate because a different individual or position has responsibility for the overall operation of the facility, a new authorization satisfying the requirements of LAC 33:IX.2503.B must be submitted to the state administrative authority prior to or together with any reports, information, or applications to be signed by an authorized representative.

D.	Any person signing any document under LAC 33:IX.2503.A or B shall make the following certification:

"I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gather and evaluate the information submitted.  Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete.  I am aware that there are significant penalties for submitting false information including the possibility of fine and imprisonment for knowing violations."

SIGNATORY AND AUTHORIZATION

Pursuant to the Water Quality Regulations (specifically LAC 33:IX.2503) promulgated September 1995, the state permit application must be signed by a responsible individual as described in LAC 33:IX.2503 and that person shall make the following certification:

"I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gather and evaluate the information submitted.  Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete.  I am aware that there are significant penalties for submitting false information including the possibility of fine and imprisonment for knowing violations."

The applicant for this permit hereby authorizes the Department of Environmental Quality to publish the public notice for a draft permit once in the appropriate newspaper(s).  In accordance with LAC 33:IX.6521.A, the applicant agrees to be responsible for the cost of publication.  The newspaper(s) is authorized to invoice the applicant directly.

| Signature |  |
| --- | --- |
| Printed Name |  |
| Title |  |
| Date |  |
| E-mail address |  |
| Telephone |  |
| Federal Tax ID |  |

CHECKLIST

To prevent any unnecessary delay in the processing of your application to be covered under the permit, please take a moment and check to be certain that the following items have been addressed and enclosed:

1.	ALL questions and requested information have been answered (N/A if the question or information was not applicable).

2.	ALL required maps, drawings, lab analysis, and other reports are enclosed.

3.	The appropriate person has signed the signatory page.

4.	Please forward the original and one copy of this application and all attachments.

ANY APPLICATION THAT DOES NOT CONTAIN ALL OF THE REQUESTED INFORMATION WILL BE CONSIDERED INCOMPLETE.  APPLICATION PROCESSING WILL NOT PROCEED UNTIL ALL REQUESTED INFORMATION HAS BEEN SUBMITTED.

NOTE:  UPON RECEIPT AND SUBSEQUENT REVIEW OF THE APPLICATION BY THE WATER PERMITS DIVISION, YOU MAY BE REQUESTED TO FURNISH ADDITIONAL INFORMATION IN ORDER TO COMPLETE THE PROCESSING OF THE PERMIT.