|  | To: | Prospective Applicants for a Sanitary Wastewater Permit |
| --- | --- | --- |

Attached is a Sanitary Wastewater Discharge Permit Application, WPS-S.  To be considered complete, every item on the form must be addressed and the last page signed by an authorized company agent.  If an item does not apply, please enter "NA" (for not applicable) to show that the question was considered.

Two copies (one original and one copy) of your completed application, each with a marked U.S.G.S. Quadrangle map or equivalent attached, should be submitted to:

Mailing Address:		Physical Address:

(if hand delivered or sent certified mail)

Department of Environmental Quality		Department of Environmental Quality

Office of Environmental Services		Office of Environmental Services

Post Office Box 4313		602 N Fifth Street

Baton Rouge, LA  70821-4313		Baton Rouge, LA 70821

Attention: Water Permits Division		Attention: Water Permits Division

Please be advised that completion of this application may not fulfill all state, federal, or local requirements for facilities of this size and type.

According to L. R. S. 48:385, any discharge to a state highway ditch, cross ditch, or right-of-way shall require approval from:

| Louisiana DOTD Office of Highways Post Office Box 94245 Baton Rouge, LA 70804-9245 (225) 379-1927 | AND | Louisiana DHH Office of Public Health Center for Environmental Health Services PO Box 4489 Baton Rouge, LA 70821-4489 (225) 342-7395 |
| --- | --- | --- |

In addition, the plans and specifications for sanitary treatment plants must be approved by the Louisiana DHH, Office of Public Health at the address above.

A copy of the LPDES regulations may be obtained from the Department’s website at http://deq.louisiana.gov/resources/category/regulations-lac-title-33 or from the Office of Management and Finance, Regulation Development & General Law Section, Post Office Box 4314, Baton Rouge, Louisiana 70821-4314, phone (225) 219-3550.

For questions regarding this application please contact the Water Permits Division at (225) 219-9371.  For help regarding completion of this application please contact DEQ, Business and Community Outreach at 1-800-259-2890.

| Date |  |  |  | Please check: (all that apply) |  | Initial Permit |
| --- | --- | --- | --- | --- | --- | --- |
| Agency Interest No. |  | AI |  |  |  | Permit Modification |
| LPDES Permit No. |  | LA |  |  |  | Permit Renewal |
|  |  |  |  |  |  | Existing Facility |

###### STATE OF LOUISIANA

DEPARTMENT OF ENVIRONMENTAL QUALITY

Office of Environmental Services

Post Office Box 4313

Baton Rouge, LA 70821-4313

PHONE#: (225) 219-3181

## LPDES PERMIT APPLICATION TO DISCHARGE TREATED SANITARY WASTEWATER

## (Attach additional pages if needed.)

| SECTION I - FACILITY INFORMATION |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| - Permit is to be issued to the following: (must have operational control over the facility operations - see LAC 33:IX.2501.B and LAC 33:IX.2503.A and B). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. | Legal Name of Applicant/Owner (Company, Partnership, Corporation, etc.) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Facility Name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Mailing Address |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Zip Code: |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Please check status: |  |  |  |  |  |  |  |  | Federal |  |  |  |  |  |  |  | Parish |  |  |  |  |  |  |  | Municipal |  |  |  |  |  |  |  |  | Other: |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | State |  |  |  |  |  |  |  | Public |  |  |  |  |  |  |  | Private |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Does the Louisiana Public Service Commission regulate this facility to charge fees to the users at the above facility? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  | No |  |
|  | If yes, under what company name is this facility regulated? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Please consult the LPSC website to determine if your company is regulated, http://www.lpsc.louisiana.gov/UtilitySearch.aspx. If your company is regulated please be aware that you will be required to provide a financial security mechanism for this facility. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. | Location of facility. Please provide a specific street, road, highway, interstate, and/or River Mile/Bank location of the facility for which the application is being submitted. If possible, please provide the 911 address. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | City |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Parish |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Front Gate Coordinates: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Latitude- |  |  |  | deg. |  |  |  | min. |  |  |  |  | sec. |  |  |  |  |  |  | Longitude- |  |  |  |  |  |  |  |  |  |  | deg. |  |  |  |  |  |  | min. |  |  |  |  | sec. |
|  | Method of Coordinate Determination: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | (Quad Map, Previous Permit, website, GPS) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Is the facility located on Indian Lands? |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  | No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Is the facility located with 10,000 feet of an airport |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  | No |  |  |  |  |  |  |  |  |  |  |  |  |  |

| SECTION I - FACILITY INFORMATION (cont.) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3. | Name & Title of Contact Person at Facility |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Phone |  |  |  |  |  |  |  |  |  |  |  | Fax |  |  |  |  |  |  |  |  |  | e-mail |  |  |  |  |  |  |  |  |
| 4. | Facility Federal Tax I.D. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  | nine-digit number |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5. | SIC (Standard Industrial Classification) Code: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | SIC codes can be obtained from the U. S. Department of Labor internet site at http://www.osha.gov/oshstats/sicser.html |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B. Name and address of responsible representative who completed the application: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Name & Title |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Company |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Phone |  |  |  |  |  |  |  |  |  |  |  | Fax |  |  |  |  |  |  |  |  |  |  | e-mail |  |  |  |  |  |  |  |
|  | Address |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| C. | Name and address of responsible water billing party: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Name & Title |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Company |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Phone |  |  |  |  |  |  |  |  |  |  |  |  | Fax |  |  |  |  |  |  |  | e-mail |  |  |  |  |  |  |  |  |  |
|  | Address |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Please check (√) the appropriate blank. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | The applicant is: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. | Owner of the facility |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. | Operator of the facility |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3. | Owner & Operator of the facility |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Provide the name and telephone number of the Operator of the facility, if other than the owner: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Name: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Telephone: |  |  |  |  |  |  |  |  |  |  |  |
| D. | If this application is for a permit revision, please describe the revision (Add extra sheets if needed): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| SECTION I - FACILITY INFORMATION (cont.) |  |  |  |
| --- | --- | --- | --- |
| E. |  | If the permit revision is due to a facility addition, upgrade or construction of a new facility, please provide a schedule of compliance: |  |
|  |  | ACTIVITY | DATE |
|  |  | Begin process of obtaining funds and development of specifications |  |
|  |  | Begin construction |  |
|  |  | End construction |  |
|  |  | Achieve final effluent limitations and monitoring requirements |  |
| F. |  | Type of Facility (sewage district, residential subdivision, office building, etc.): |  |
| G. | The sources of raw wastewater are: |  |  |
|  | List Municipalities or areas served including populations: |  |  |

H.	For new or proposed facilities: if approval of the plans and specifications for the treatment facility has been granted by the Louisiana Department of Health, Office of Public Health, a copy of the approval letter shall be attached to this application.

For existing facilities: a copy of the approval letter from the Louisiana Department of Health, Office of Public Health, shall be provided with this application, if available.

| SECTION I - FACILITY INFORMATION (cont.) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| I. Connections to the treatment facility: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. |  | Complete the following information as it applies to your facility: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | SUBDIVISION |  |  |  |  | SCHOOLS/DAYCARES |  |  |  |  |  |  |  |  |  |
|  |  |  | Number of existing homes |  |  |  |  | Elementary school/daycare, number of pupils |  |  |  |  |  |  |  |  |
|  |  |  | Maximum number of connections |  |  |  |  | Junior/ high schools, number of pupils |  |  |  |  |  |  |  |  |
|  |  | PUBLICLY OWNED TREATMENT WORKS |  |  |  |  |  | Total number of employees |  |  |  |  |  |  |  |  |
|  |  |  | Design capacity of treatment facility in gpd |  |  |  | HOTELS/MOTELS |  |  |  |  |  |  |  |  |  |
|  |  | TRAILER PARK |  |  |  |  |  | Any food service available? (Yes/No) |  |  |  |  |  |  |  |  |
|  |  |  | Number of existing trailers |  |  |  |  | Number of rooms |  |  |  |  |  |  |  |  |
|  |  |  | Maximum number of connections |  |  |  |  | Total number of employees |  |  |  |  |  |  |  |  |
|  |  | OFFICE/WAREHOUSE |  |  |  |  | RESTAURANT |  |  |  |  |  |  |  |  |  |
|  |  |  | Total number of employees |  |  |  |  | Is the restaurant open 24 hours/day? (Yes/No) |  |  |  |  |  |  |  |  |
|  |  | WASHATERIA/LAUNDROMAT |  |  |  |  |  | Is the restaurant along a freeway? (Yes/No) |  |  |  |  |  |  |  |  |
|  |  |  | Number of washing machines |  |  |  |  | Is the restaurant considered a “Fast Food” Restaurant? (Yes/No) |  |  |  |  |  |  |  |  |
|  |  | APARTMENT COMPLEX |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Number of 1 bedroom apartments |  |  |  |  | Total number of employees |  |  |  |  |  |  |  |  |
|  |  |  | Number of 2 bedroom apartments |  |  |  |  | Number of seats |  |  |  |  |  |  |  |  |
|  |  |  | Number of 3+ bedroom apartments |  |  |  |  | Is this a seafood restaurant that boils seafood? |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | CHURCH |  |  |  |  |  |  |  |  |  |
|  |  | BAR/LOUNGE |  |  |  |  |  | Does the church have a kitchen? |  |  |  |  |  |  |  |  |
|  |  |  | Does the bar have regular food service? |  |  |  |  | Number of sanctuary seats |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | RETAIL SHOPPING CENTER |  |  |  |  |  |  |  |  |  |
|  |  |  | Number of seats |  |  |  |  | Total number of employees |  |  |  |  |  |  |  |  |
|  |  |  | Number of employees |  |  |  | VIDEO POKER |  |  |  |  |  |  |  |  |  |
|  |  | RV CAMPGROUND |  |  |  |  |  | Number of machines |  |  |  |  |  |  |  |  |
|  |  |  | Is there a dump station? |  |  |  | HOSPITAL |  |  |  |  |  |  |  |  |  |
|  |  |  | Volume of waste accepted/day in gpd |  |  |  |  | Number of beds |  |  |  |  |  |  |  |  |
|  |  |  | Number of RV spaces |  |  |  |  | Number of employees |  |  |  |  |  |  |  |  |
|  |  | GAS STATION/CONVENIENCE STORE |  |  |  |  | NURSING HOME |  |  |  |  |  |  |  |  |  |
|  |  |  | Number of individual fueling points |  |  |  | Maximum number of patients |  |  |  |  |  |  |  |  |  |
|  |  |  | If food service is offered, please fill out the section regarding restaurants. |  |  |  |  | Total number of employees |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | SHOWERS |  |  |  |  |  |  |  |  |  |
|  |  |  | Total number of employees |  |  |  |  | Number of individual showers |  |  |  |  |  |  |  |  |
|  |  | If your facility is not listed above, please give a detailed description including the number of units, number of employees/residents, etc. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | If this facility is a shopping center, list the types of businesses, square footage of the shopping center, and total number of employees served by the treatment facility. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | SECTION I - FACILITY INFORMATION (cont.). |  |  |  |
|  | 2. | If the facility will serve an incorporated area (city, town, village, etc.), indicate the population: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Existing: |  |  | Planned: |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Anticipated date for expanded population to enter system: |  |  |  |  |  |  | Month: |  |  | Year: |  |  |  |  |

|  | J. |  |  | Indirect Discharges |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 1. |  |  | Are there any indirect commercial/industrial discharges introduced into the treatment facility? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | Yes |  | No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 2. |  |  | Are any indirect sewage sludge (domestic septage, solids removed from primary, secondary, or advanced wastewater treatment, grease trap waste mixed with sewage sludge, or portable toilet waste) introduced into the facility? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | Yes |  | No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | If yes to I.1 or I.2, please complete ATTACHMENT 1, INDUSTRIAL/INDIRECT WASTE DISCHARGE INTO SANITARY SYSTEM for each indirect discharger into the treatment system. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| K. |  | Provide the anticipated date by which a permit is needed: |  |  |  |  |  |  |  |  |  |  |  |  | Month: |  |  | Year: |  |  |  |  |  |
| L. |  | Is or was this a Grant or Loan Project? |  |  |  |  |  |  |  |  |  |  | Yes |  |  | No |  |  |  |  |  |  |  |
|  |  | If so, please provide the following information: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Type of Grant or Loan: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | (CDBG, Revolving Loan, FmHA, etc.) |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Project No. (if applicable): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Status of Project (include date or best estimate): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Grant or Loan application submitted: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Grant or Loan awarded: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Construction started: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Project completed or anticipated completion: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Description of work funded by Grant or Loan: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | SECTION I - FACILITY INFORMATION (cont.) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| M. |  |  | Discharges Requiring Approval from the Louisiana State Historic Preservation Officer: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | If this application is being completed for a facility that has not yet been cleared or excavated, you should contact the Section 106 Review Coordinator in the Office of Cultural Development, Archaeology Division (P. O. Box 44247, Baton Rouge, LA 70804 or telephone (225) 342-8170) to determine if construction activities or the proposed discharges will adversely affect properties listed or eligible for listing in the National Register of Historic Places. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | This is an existing facility and no construction activities related to this application are proposed. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | This is a proposed facility and construction activities are not yet complete but I have obtained |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | approval from the State Historic Preservation Officer for the proposed construction activities. (You must attach a copy of the approval letter to this application.) Please refer to the permit for instructions related to additional permitting requirements for storm water discharges related to construction activities. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | This is a proposed facility and construction activities are not yet complete. I have not yet received |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | approval from the State Historic Preservation Officer for the proposed construction activities. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| SECTION II – TREATMENT INFORMATION |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| - Provide the location of the treatment facility and discharge point(s) on the appropriate section of a U.S.G.S. Quadrangle Map or equivalent and attach to this application (See Section VI). The map must include the following: 1. One mile beyond the property boundaries of the source, the facility and each of its intake and discharge structures; 2. Each of its hazardous waste treatment, storage, or disposal facilities; 3. Each well where fluids from the facility are injected underground; and 4. Wells, springs, other surface waterbodies, and drinking water wells listed in public records or otherwise known to the applicant in the map area. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Provide the geographic coordinates of the discharge point(s). Please indicate each discharge point (ex. Outfall 001, Outfall 002, etc.), and give the Latitude and Longitude for each discharge point. (Use additional sheets if necessary.) For each individual outfall, provide the outfall designation and description, include if discharge is continuous or intermittent. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Outfall Number: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Designation and Description: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Continuous or Intermittent: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Latitude: |  | deg. |  |  | min. |  |  |  |  | sec. | Longitude: |  | deg. |  | min. |  | sec. |
|  | Method of Coordinate Determination: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | (Quad Map, Previous Permit, website, GPS) |  |  |  |  |  |  |  |  |

| Outfall Number: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Designation and Description: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Continuous or Intermittent: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Latitude: |  | deg. |  |  | min. |  |  |  | sec. | Longitude: |  | deg. |  | min. |  | sec. |
| Method of Coordinate Determination: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | (Quad Map, Previous Permit, website, GPS) |  |  |  |  |  |  |  |  |

| B. | Provide a description of how the treatment facility effluent does or would reach State Waters: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | By |  |  |  | (effluent pipe, ditch, etc.); |  |
|  | thence into |  |  | (Parish drainage ditch, canal, etc.); |  |  |
|  | thence into |  |  | (named bayou, creek, stream, etc.); |  |  |
|  | thence into |  |  |  |  | (river, lake, etc.). |

If the discharge is directly to the Mississippi River, please provide the river mile of the discharge point. This information can be obtained from http://www.mvn.usace.army.mil/eng/edsd/navbook.htm.

|  | SECTION II-TREATMENT INFORMATION (CONT.) |
| --- | --- |
| C. | Provide a description of the treatment facility including collection system, complete description of the treatment method, type of disinfection method, and handling of the effluent (use additional sheets if necessary): |
|  | Please include any other additives that may be used in the treatment process (biocides, flocculants, etc.) |
| D. | Provide the type of flow measurement/recording device used at the facility (ex. V-notch weir, Totalizer, Totalizing Meter, Continuous Recorder, Combination Totalizing Meter/Continuous Recorder, etc.) |
| E. | Provide an estimation (or measurement for an existing source) of average raw wastewater flow (gpd) and load (lb BOD5/day). Show the method of calculation (use additional sheets if necessary): |

| F. | Provide the “Treatment Design Capacity” for the facility: (Million Gallons per Day, MGD): |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Existing: |  |  |  |  | Planned: |  |  |  |  |
| G. | Provide the “Estimated or Expected Treated Wastewater Flow: (Million Gallons per Day, MGD): |  |  |  |  |  |  |  |  |  |  |
|  |  | Existing: |  |  |  |  | Planned: |  |  |  |  |
| H. | Additional Plant Information: |  |  |  |  |  |  |  |  |  |  |
|  | Plant design BOD removal (%): |  |  |  |  |  |  | Plant design N removal (%): |  |  |  |
|  | Plant design P removal (%): |  |  |  |  |  |  | Plant design SS removal (%): |  |  |  |
|  | Plant Began Operation (year): |  |  |  |  |  |  | Plant Last Major Renovation (year): |  |  |  |

SECTION II – TREATMENT INFORMATION (cont.)

See LABORATORY ACCREDITATION on Page 13

I.	Provide an estimation (or lab analysis for an existing discharge) of the following effluent characteristics (wherever applicable): Complete one table for each outfall. (If this is a renewal application for an existing permit and the pollutants below are not in the currently effective permit, you still must provide a result for all parameters that apply to the facility type.)

| Outfall Number: |  |
| --- | --- |

| ### EXISTING |  |  |  |  |  |  |  |  | # PROPOSED |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Pollutants | # Influent |  | # Effluent |  |  |  |  |  | # Influent |  | # Effluent |  |  |  |  |  |
|  | Long Term Average Value |  | Maximum Weekly Average Value |  | Maximum Monthly Average Value |  | Long Term Average Value |  | Long Term Average Value |  | Maximum Weekly Average Value |  | Maximum Monthly Average Value |  | Long Term Average Value |  |
|  | Mass lbs/day | Concentration mg/l | Mass lbs/day | Concentration mg/l | Mass lbs/day | Concentration mg/l | Mass lbs/day | Concentration mg/l | Mass lbs/day | Concentration mg/l | Mass lbs/day | Concentration mg/l | Mass lbs/day | Concentration mg/l | Mass lbs/day | Concentration mg/l |
| BOD5 or CBOD5(Circle One) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| TSS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| NH3-N |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oil & Grease1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| TDS1, |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| TKN |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Total Nitrogen1, |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Total Phosphorus1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fecal Coliform (cfu/100 ml) |  |  | Value |  | Value |  | Value |  |  |  | Value |  | Value |  | Value |  |
| Flow (MGD) | Value |  | Value |  | Value |  | Value |  | Value |  | Value |  | Value |  | Value |  |
| pH (standard units) |  |  | Lowest Monthly Value |  | Highest Monthly Value |  |  |  |  |  | Lowest Monthly Average Value |  | Highest Monthly Average Value |  |  |  |
| Temperature |  |  | Lowest Monthly Value |  | Highest Monthly Value |  |  |  |  |  | Lowest Monthly Average Value |  | Highest Monthly Average Value |  |  |  |

| SECTION II – TREATMENT INFORMATION (cont.) See LABORATORY ACCREDITATION on Page 13 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| If this is a renewal application for an existing permit and the pollutants below are not in the currently effective permit, you still must provide a result for all parameters that apply to the facility type. Outfall Number:. |
| Total Residual Chlorine1,: |  | mg/l (instantaneous measurement) | Hardness: |  | mg/l CaCO3 |
| Dissolved Oxygen1: |  | mg/l (Monthly Average Minimum) |  |  |  |

OTHER REQUIREMENTS

1.	Applicants must provide data from a minimum of three samples taken within four and one-half years prior to the date of the permit application. Samples must be representative of the seasonal variation in the discharge from each outfall. Existing data may be used, if available, in lieu of sampling done solely for the purpose of this application.

2.	All existing data for pollutants specified above that are collected within four and one-half years of the application must be included in the pollutant data summary submitted by the applicant. If, however, the applicant samples for a specific pollutant on a monthly or more frequent basis, it is only necessary, for such pollutant, to summarize all data collected within one year of the application.

3.	Applicants must collect samples of effluent and analyze such samples for pollutants in accordance with analytical methods approved under LAC 33:IX.4901 unless an alternative is specified in the existing LPDES permit. Grab samples must be used for pH, temperature, cyanide, total phenols, residual chlorine, oil and grease, and fecal coliform. For all other pollutants, 24-hour composite samples must be used. For a composite sample only one analysis of the composite of aliquots is required.

| SECTION II - TREATMENT INFORMATION (cont.) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| J. | Sewage Sludge and Biosolids. |  |  |  |  |  |  |  |
| 1. | Identify the sewage sludge or biosolids use or disposal practice utilized by the facility (i.e. landfill, land application, or incineration). |  |  |  |  |  |  |  |
| 2. | Please give the facility’s Sewage Sludge/Biosolids Permit Number |  |  |  |  |  |  |  |
| 3. | As per LAC 33:IX.7301.D, if you do not have a sewage sludge/biosolids use or disposal permit, you must apply for one. |  |  |  |  |  |  |  |
| K. | If treatment includes some form of “Land Application” (ex. overland flow, rapid infiltration, spray irrigation) indicate the number of acres of the land application area and give a description of the land use (ex. pasture, cattle/sheep/goat/horse grazing, etc.) |  |  |  |  |  |  |  |
|  | Acres: |  |  |  |  |  |  |  |
|  | Land Use: |  |  |  |  |  |  |  |
| L. | If the treatment includes the use of a “Natural Wetland System”, please contact the Water Permits Division at telephone (225) 219-9371 for additional information prior to submittal of this application. |  |  |  |  |  |  |  |
| M. | For Publicly Owned Treatment Works (POTW’s): |  |  |  |  |  |  |  |
| 1. | Is the facility operating under an approved pretreatment program? |  |  |  |  | Yes |  | No |
| 2. | If so, provide the date of approval: |  |  |  |  |  |  |  |
| 3. | If not, is the facility required to develop a pretreatment program? |  |  |  |  | Yes |  | No |

N.  Inflow and Infiltration.

Provide the current average daily volume of inflow and infiltration, in gallons per day, and steps the applicant is taking to minimize inflow and infiltration.

SECTION II - TREATMENT INFORMATION (cont.)

O.	(1)	All POTWs having an effluent flow greater than or equal to 0.025 MGD, all facilities with an approved Pretreatment Program, or all facilities required to develop a Pretreatment Program shall:

Complete Attachment I for each industrial user (make additional copies, if necessary).  An Industrial User is defined in LAC 33:IX.6105 as a source of indirect discharge.  Indirect discharge is the introduction of pollutants into a POTW from any non-domestic source.

- All facilities having an effluent flow greater than or equal to 1 MGD, all facilities with an approved pretreatment Program, or all facilities required to develop a Pretreatment Program shall1:

  - Complete Attachment II using an effluent laboratory analysis of the EPA priority pollutants using the appropriate test method and minimum quantification level.  NOTE:  Lab analysis results must be turned in on Attachment II, laboratory analysis forms will not be accepted.

  - Provide the results of valid whole effluent biological toxicity testing.  Use EPA’s methods or other established protocols that are scientifically defensible and sufficiently sensitive to detect aquatic toxicity when conducting toxicity testing.  Such testing must have been conducted since the last LPDES permit reissuance or permit modification, whichever occurred later.

P.	For new/proposed facilities, please attach a copy of the Louisiana Department of Health and Hospitals approval letter for the plans and specifications of the treatment facility.  This information may be obtained from the Louisiana Department of Health and Hospitals, Office of Public Health, P.O. Box 4489, Baton Rouge, LA  70821-4489, (225) 342-7395.

1 Note: In addition to the facilities listed in N above, the state administrative authority may require other facilities to submit the results of toxicity tests and/or priority pollutants effluent analysis with their permit applications, based on consideration of the following factors:

  - the variability of the pollutants or pollutant parameters in the facility’s effluent (based on chemical specific information, the type of treatment facility, and types of industrial contributors);

  - the dilution of the effluent in the receiving water (ratio of effluent flow to receiving stream flow);

  - existing controls on point or nonpoint sources, including total maximum daily load calculations for the waterbody segment and the relative contribution of the POTW;

  - receiving stream characteristics, including possible or known water quality impairments, and whether the facility discharges to a coastal water or a water designated as an outstanding natural resource; or

  - other considerations (including but not limited to the history of toxic impact and compliance problems at the facility) which the State Administrative Authority determines could cause or contribute to adverse water quality impacts.

SECTION III– LABORATORY ACCREDITATION

If any of the analysis reported above were performed by a contract lab or consulting firm, provide the firm name, address, phone number and pollutants analyzed.

Laboratory procedures and analyses performed by commercial laboratories shall be conducted in accordance with the requirements set forth under LAC 33:I.Subpart 3, Chapters 49-55.

Laboratory data generated by commercial laboratories that are not accredited under LAC 33:I.Subpart 3, Chapters 47-57, will not be accepted by the department. Retesting of analysis will be required by an accredited commercial laboratory.

In the case where effluent testing was completed by an unaccredited laboratory, and where retesting is not possible (i.e. data reported on DMRs for prior month's sampling), the data generated will be considered invalid.

Regulations on the Environmental Laboratory Accreditation Program and a list of labs that have applied for accreditation are available on the department website located at:

http://www1.deq.louisiana.gov/portal/DIVISIONS/PublicParticipationandPermitSupport/LouisianaLaboratoryAccreditationProgram/AccreditedLaboratories.aspx

# SECTION IV – COMPLIANCE HISTORY

Report the history of all violations and enforcement actions for this facility and other facilities owned and/or operated by this applicant. The Report must include: - A summary of all permit excursions including effluent violations reported on the facility’s Discharge Monitoring Reports (DMRs) - bypasses for the last three years. - a brief summary on the current status of all administrative orders, compliance orders, notices of violation, cease and desist orders, and any other enforcement actions either already resolved within the past 3 years or currently pending. The state administrative authority may choose, at its discretion, to require a more in-depth report of violations and compliance actions for the applicant covering any law, permit, or order concerning pollution at this or any other facility owned or operated by the applicant. Please attach any additional pages to the permit application if need to explain this section.

| ###### SECTION V – LAC 33.I.1701 REQUIREMENTS |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| A. | Does the company or owner have federal or state environmental permits identical to, or of a similar nature to, the permit for which you are applying in other states? (This requirement applies to all individuals, partnerships, corporations, or other entities who own a controlling interest of 50% or more in your company, or who participate in the environmental management of the facility for an entity applying for the permit or an ownership interest in the permit.) Attach additional sheets if necessary to include ALL permits owned and operated by the company. |  |  |  |  |  |  |  |  |  |
|  |  | Permits in Louisiana. List Permit Numbers: |  |  |  |  |  |  |  |  |
|  |  | Permits in other states (list states): |  |  |  |  |  |  |  |  |
|  |  | No other environmental permits. |  |  |  |  |  |  |  |  |
|  |  | Hazardous Waste Management program under the Resource Conservation and Recovery Act (RCRA), Subpart C |  |  |  |  |  |  |  |  |
|  |  | Underground Injection Control program under the Safe Drinking Water Act (SDWA) |  |  |  |  |  |  |  |  |
|  |  | Prevention of Significant Deterioration (PSD) program under the CWA; |  |  |  |  |  |  |  |  |
|  |  | Nonattainment program under the Clean Air Act |  |  |  |  |  |  |  |  |
|  |  | National Emission Standards for Hazardous Air Pollutants (NESHAPS) preconstruction approval under the Clean Air Act |  |  |  |  |  |  |  |  |
|  |  | Ocean dumping permits under the Marine Protection Research and Sanctuaries Act |  |  |  |  |  |  |  |  |
|  |  | Dredge or fill permits under Section 404 of the CWA |  |  |  |  |  |  |  |  |
|  |  | Other relevant environmental permits, including state permits |  |  |  |  |  |  |  |  |
| B. | Do you owe any outstanding fees or final penalties to the Department? |  |  |  |  |  |  | Yes |  | No |
|  | If yes, please explain. |  |  |  |  |  |  |  |  |  |
| C. | Is your company a corporation or limited liability company? |  |  |  |  |  |  | Yes |  | No |
|  | If yes, is the corporation or LLC registered with the Secretary of State? |  |  |  |  |  |  | Yes |  | No |

| ## SECTION VI – MAPS/DIAGRAMS IF A SITE DIAGRAM AND A TOPOGRAPHIC MAP ARE NOT INCLUDED THIS APPLICATION WILL NOT BE ACCEPTED AS COMPLETE A. Site Diagram. Attach to this application a complete site diagram of your facility with the following: - Demonstrate how the wastewater flows through your facility into each clearly labeled discharge point (including all treatment points). - Indicate stormwater flow pattern on this diagram or provide additional diagrams if needed. - Please indicate the location of the facility and the front gate or entrance to the facility on the site diagram. |  |  |
| --- | --- | --- |
|  | B. Topographic Map. Attach to this application: - a map or a copy of a section of the map which has been highlighted to show the path of your wastewater from your facility to the first named water body. - Include on the map the area extending at least one mile beyond your property boundaries. - Indicate the outline of the facility, the location of each of its existing and proposed discharge structures, and any existing hazardous waste treatment storage or disposal facilities. A U.S.G.S. 1:24,000 scale map (7.5' Quadrangle) would be appropriate for this item. Appropriate maps can be obtained from local government agencies such as DOTD or the Office of Public Works. Maps can also be obtained online at http://map.deq.state.la.us/. Private map companies can also supply you with these maps. If you cannot locate a map through these sources you can contact the Louisiana Department of Transportation and Development at: |  |
|  | 1201 Capitol Access Road Baton Rouge, LA 70802 (225) 379-1107 maps@dotd.louisiana.gov |  |

| ## SECTION VII – OTHER PERMIT HISTORY |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ## Facilities located in the Louisiana Coastal Zone as mapped by the Louisiana Department of Natural Resources (LDNR) (http://sonris.com/direct.asp) must provide verification that the company has either obtained a Coastal Use Permit or is not required to obtain a Coastal Use Permit. |  |  |  |  |  |  |  |  |
| A. | ## Is this facility located in the Louisiana Coastal Zone as mapped by LDNR? |  |  | Yes |  |  |  | No |
|  | If yes: |  |  |  |  |  |  |  |
| B. | Do you have a Coastal Use Permit issued by DNR: |  |  | Yes |  |  |  | No |
| C. | Are there any operations at the facility that may impact coastal waters such as any project involving dredge or fill, water control structures, bulkheads, oil and gas facilities, marina or residential development? |  |  |  |  |  |  |  |
|  |  |  |  | Yes |  |  |  | No |
|  | If yes, you must contact DNR for a determination (888) 792-0432 or HelpDeskDNR@la.gov. |  |  |  |  |  |  |  |
|  | I have contacted LDNR and this facility is not required to obtain a Coastal Use Permit. |  |  |  |  |  |  |  |
|  | If a Coastal Use permit is required, an application was submitted on: |  |  |  |  |  |  |  |

# ENVIRONMENTAL ASSESSMENT STATEMENT

Those applicants that are (1) new facilities or (2) existing facilities applying for a substantial modification to their permit must complete this questionnaire.

There is no requirement that the information furnished in response to this questionnaire be certified by a professional engineer or other expert. A measured response should be given for each question posed, taking into consideration appropriate factors such as:  the environmental sensitivity of the area, both for the proposed site and alternative sites; impacts on the economy of the area, both favorable and unfavorable; availability of raw materials, fuels and transportation and the impact of potential sites on their availability and economics; relationship of the facility to other facilities, either within or independent of the company, and the effects of location on these relationships; and other factors which may be appropriate on a case-by-case basis. A simple “yes” or “no” answer will not be acceptable.

SUBMIT THE RESPONSES AS AN ATTACHMENT TO THE APPLICATION.

1.	Have the potential and real adverse environmental effects of the proposed facility been avoided to the maximum extent possible?

2.	Does a cost benefit analysis of the environmental-impact costs balanced against the social and economic benefits of the proposed facility demonstrate that the latter outweighs the former?

3.	Are there alternative projects which would offer more protection to the environment than the proposed facility without unduly curtailing nonenvironmental benefits?

4.	Are there alternative sites which would offer more protection to the environment than the proposed facility site without unduly curtailing nonenvironmental benefits?

5.	Are there mitigating measures which would offer more protection to the environment than the facility as proposed without unduly curtailing nonenvironmental benefits?

|  | I am requesting a waiver to decline filling the above Environmental Assessment Statement. (A waiver can be granted if the facility is located in a non-impaired waterway.) |
| --- | --- |
|  | *Please note that New Major facilities or Major facilities applying for a substantial modification cannot be granted this wavier. |

Please contact the Water Permits Division at telephone number (225) 219-9371, for any guidance on properly answering the above questions.

According to the Louisiana Water Quality Regulations, LAC 33:IX.2503.B, the following requirements shall apply to the signatory page in this application:

Chapter 25.  Permit Application and Special LPDES Program Requirements

2503.	Signatories to permit applications and reports

A.	All permit applications shall be signed as follows:

1.		For a corporation - by a responsible corporate officer.  For the purpose of this Section responsible corporate officer means:

(a) A president, secretary, treasurer, or vice-president of the corporation in charge of a principal business function, or any other person who performs similar policy- or decision-making functions for the corporation, or

(b) The manager of one or more manufacturing, production, or operating facilities employing more than 250 persons or having gross annual sales or expenditures exceeding $25 million (in second-quarter 1980 dollars), if authority to sign documents has been assigned or delegated to the manager in accordance with corporate procedures.

2.	For a partnership or sole proprietorship - by a general partner or the proprietor, respectively; or

3.		For a municipality, parish, State, Federal or other public agency - either a principal executive officer or ranking elected official.  For the purposes of this Section a principal executive officer of a Federal agency includes:

(a) The chief executive officer of the agency, or

(b) A senior executive officer having responsibility for the overall operations of a principal      geographic unit of the agency (e.g., Regional Administrator of EPA).

B.	All reports required by permits, and other information requested by the state administrative authority shall be signed by a person described in LAC 33:IX.2503.A, or by a duly authorized representative of that person.  A person is a duly authorized representative only if:

1.	The authorization is made in writing by a person described in LAC 33:IX.2503.A.

2.		The authorization specifies either an individual or a position having responsibility for the overall operation of the regulated facility or activity, such as a position of plant manager, operator of a well or well field, superintendent, position of equivalent responsibility, or an individual or position having overall responsibility for environmental matters for the company.  (A duly authorized representative may thus be either a named individual or any individual occupying a named position); and

3.	The written authorization is submitted to the state administrative authority.

C.	Changes to authorization.  If an authorization under LAC 33:IX.2503.B is no longer accurate because a different individual or position has responsibility for the overall operation of the facility, a new authorization satisfying the requirements of LAC 33:IX.2503.B must be submitted to the state administrative authority prior to or together with any reports, information, or applications to be signed by an authorized representative.

D.	Any person signing any document under LAC 33:IX.2503.A or B shall make the following certification:

"I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gather and evaluate the information submitted.  Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete.  I am aware that there are significant penalties for submitting false information including the possibility of fine and imprisonment for knowing violations."

SIGNATORY AND AUTHORIZATION

Pursuant to the Water Quality Regulations (specifically LAC 33:IX.2503) promulgated September 1995, the state permit application must be signed by a responsible individual as described in LAC 33:IX.2503. and that person shall make the following certification:

"I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gather and evaluate the information submitted.  Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete.  I am aware that there are significant penalties for submitting false information including the possibility of fine and imprisonment for knowing violations."

The applicant for this permit hereby authorizes the Department of Environmental Quality to publish the public notice for a draft permit once in the appropriate newspaper(s).  In accordance with LAC 33:IX.6521.A, the applicant agrees to be responsible for the cost of publication.  The newspaper(s) is authorized to invoice the applicant directly.

| Signature |  |
| --- | --- |
| Printed Name |  |
| Title |  |
| Company |  |
| Date |  |
| Telephone |  |
| Email Address |  |

IMPORTANT

To prevent any unnecessary delay in the processing of your application, please take a moment and check to be certain that the following items have been addressed and enclosed:

1.	ALL questions and requested information have been answered (N/A ONLY if the question or information was not applicable).

2.	ALL required maps, drawings, lab analysis, and other reports are enclosed.

3.	A copy of the Louisiana Department of Health and Hospitals approval letter for the plans and specifications of this treatment facility.

4.	The appropriate person has signed the signatory page.

5.	Forward the original and one of this application.

ANY APPLICATION THAT DOES NOT CONTAIN ALL OF THE REQUESTED INFORMATION WILL BE CONSIDERED INCOMPLETE.  APPLICATION PROCESSING WILL NOT PROCEED UNTIL ALL REQUESTED INFORMATION HAS BEEN SUBMITTED.

NOTE:  UPON RECEIPT AND SUBSEQUENT REVIEW OF THE APPLICATION BY THE WATER PERMITS DIVISION, YOU MAY BE REQUESTED TO FURNISH ADDITIONAL INFORMATION IN ORDER TO COMPLETE THE PROCESSING OF THE PERMIT.

ATTACHMENT I

INDUSTRIAL/INDIRECT WASTE DISCHARGER INTO SANITARY SYSTEM

| Legal Name of Company: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Mailing Address: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Contact Person: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Physical Address: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Type of Process: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Amount of flow attributed to non-process flow: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Amount of flow attributed to process flow: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| SIC Code: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Is this facility classified as an SIU or CIU? |  |  |  |  |  |  |  | SIU |  |  |  |  | CIU |  |  |  |  | N/A |  |  |  |  |  |  |  |
| If the facility is an SIU or CIU, please indicate which category(ies) and subcategory(ies) the facility falls under. (Please see 40 CFR, Chapter I, SUBCHAPTER N—EFFLUENT GUIDELINES AND STANDARDS) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Is this SIU subject to local limits? |  |  |  |  |  |  | Yes |  |  |  |  |  |  | No |  |  |  |  |  |  |  |  |  |  |  |
| Type of Discharge: (√) Check One: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Continuous |  |  |  |  | Intermittent |  |  |  |  |  |  | Batch |  |  |  |  |  |  |  |  |  |  |  |  |  |
| If intermittent, give hours per day and number of days per week of discharge: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

IF Text219 = 8 "

ATTACHMENT I

INDUSTRIAL WASTE DISCHARGER INTO SANITARY SYSTEM (cont.)

Legal Name of Company:

FORMTEXT

Mailing Address:

FORMTEXT

FORMTEXT

FORMTEXT

Contact Person:

FORMTEXT

Physical Address:

FORMTEXT

FORMTEXT

Type of Process:

FORMTEXT

Total Daily Flow:

FORMTEXT

SIC Code:

FORMTEXT

Type of Discharge: (√) Check One:

Continuous

FORMCHECKBOX

Intermittent

FORMCHECKBOX

Batch

FORMCHECKBOX

If intermittent, give hours per day and number of days per week of discharge:

FORMTEXT

FORMTEXT

Provide a measurement of the following effluent characteristics for the industry’s discharge before it reaches the sanitary system:

BOD5

FORMTEXT

lb/day

TSS

FORMTEXT

lb/day

COD

FORMTEXT

lb/day

pH

FORMTEXT

Standard Units

Oil & Grease

FORMTEXT

lb/day

NH3-N

FORMTEXT

lb/day

Other pertinent physical an chemical properties (ex. toxic compounds, taste and odor compounds, heavy metals)

FORMTEXT

FORMTEXT

Note:  Numerous discharges with similar processes, such as service stations, Laundromats, etc., may be grouped together and the total flow and waste loads reported on one form.  An estimate should be provided of the number of discharges.  If 桴⁥扡癯⁥潳牵散挠湯慴湩⁳湡⁹畳獢慴据獥渠瑯愠敭慮汢⁥潴琠敲瑡敭瑮戠⁹桴⁥慦楣楬祴挠癯牥摥戠⁹桴獩愠灰楬慣楴湯‬湡椠摮癩摩慵⁬牰瑥敲瑡敭瑮搠瑥牥業慮楴湯洠祡戠⁥慭敤戠⁹桴⁥獩畳湩⁧条湥祣ܮഇഌ呁䅔䡃䕍呎䤠䤍䑎单剔䅉⁌䅗呓⁅䥄䍓䅈䝒剅䤠呎⁏䅓䥎䅔奒匠卙䕔⁍挨湯⹴ܩ䰇来污丠浡⁥景䌠浯慰祮ܺ–但䵒䕔员Ġon may be made by the issuing agency.

ATTACHMENT I

INDUSTRIAL WASTE DISCHARGER INTO SANITARY SYSTEM (cont.)

Legal Name of Company:

FORMTEXT

Mailing Address:

FORMTEXT

FORMTEXT

FORMTEXT

Contact Person:

FORMTEXT

Physical Address:

FORMTEXT

FORMTEXT

Type of Process:

FORMTEXT

Total Daily Flow:

FORMTEXT

SIC Code:

FORMTEXT

Type of Discharge: (√) Check One:

Continuous

FORMCHECKBOX

Intermittent

FORMCHECKBOX

Batch

FORMCHECKBOX

If intermittent, give hours per day and number of days per week of discharge:

FORMTEXT

FORMTEXT

Provide a measurement of the following effluent characteristics for the industry’s discharge before it reaches the sanitary system:

BOD5

FORMTEXT

lb/day

TSS

FORMTEXT

lb/day

COD

FORMTEXT

lb/day

pH

FORMTEXT

Standard Units

Oil & Grease

FORMTEXT

lb/day

NH3-N

FORMTEXT

lb/day

Other pertinent physical an chemical properties (ex. toxic compounds, taste and odor compounds, heavy metals)

FORMTEXT

FORMTEXT

Note:  Numerous discharges with similar processes, such as service stations, Laundromats, etc., may be grouped together and the total flow and waste loads reported on one form.  An estimate should be provided of the number of discharges.  If 桴⁥扡癯⁥潳牵散挠湯慴湩⁳湡⁹畳獢慴据獥渠瑯愠敭慮汢⁥潴琠敲瑡敭瑮戠⁹桴⁥慦楣楬祴挠癯牥摥戠⁹桴獩愠灰楬慣楴湯‬湡椠摮癩摩慵⁬牰瑥敲瑡敭瑮搠瑥牥業慮楴湯洠祡戠⁥慭敤戠⁹桴⁥獩畳湩⁧条湥祣ܮഇ攌൰ഌ呁䅔䡃䕍呎䤠䤍䑎单剔䅉⁌䅗呓⁅䥄䍓䅈䝒剅䤠呎⁏䅓䥎䅔奒匠卙䕔⁍挨湯⹴ܩ䰇来污丠浡⁥景䌠浯慰祮ܺ–但䵒䕔员Ġ may be made by the issuing agency.

ep

ATTACHMENT I

INDUSTRIAL WASTE DISCHARGER INTO SANITARY SYSTEM (cont.)

Legal Name of Company:

FORMTEXT

Mailing Address:

FORMTEXT

FORMTEXT

FORMTEXT

Contact Person:

FORMTEXT

Physical Address:

FORMTEXT

FORMTEXT

Type of Process:

FORMTEXT

Total Daily Flow:

FORMTEXT

SIC Code:

FORMTEXT

Type of Discharge: (√) Check One:

Continuous

FORMCHECKBOX

Intermittent

FORMCHECKBOX

Batch

FORMCHECKBOX

If intermittent, give hours per day and number of days per week of discharge:

FORMTEXT

FORMTEXT

Provide a measurement of the following effluent characteristics for the industry’s discharge before it reaches the sanitary system:

BOD5

FORMTEXT

lb/day

TSS

FORMTEXT

lb/day

COD

FORMTEXT

lb/day

pH

FORMTEXT

Standard Units

Oil & Grease

FORMTEXT

lb/day

NH3-N

FORMTEXT

lb/day

Other pertinent physical an chemical properties (ex. toxic compounds, taste and odor compounds, heavy metals)

FORMTEXT

FORMTEXT

Note:  Numerous discharges with similar processes, such as service stations, Laundromats, etc., may be grouped together and the total flow and waste loads reported on one form.  An estimate should be provided of the number of discharges.  If 桴⁥扡癯⁥潳牵散挠湯慴湩⁳湡⁹畳獢慴据獥渠瑯愠敭慮汢⁥潴琠敲瑡敭瑮戠⁹桴⁥慦楣楬祴挠癯牥摥戠⁹桴獩愠灰楬慣楴湯‬湡椠摮癩摩慵⁬牰瑥敲瑡敭瑮搠瑥牥業慮楴湯洠祡戠⁥慭敤戠⁹桴⁥獩畳湩⁧条湥祣ܮഇഌ呁䅔䡃䕍呎䤠䤍䑎单剔䅉⁌䅗呓⁅䥄䍓䅈䝒剅䤠呎⁏䅓䥎䅔奒匠卙䕔⁍挨湯⹴ܩ䰇来污丠浡⁥景䌠浯慰祮ܺ–但䵒䕔员Ġon may be made by the issuing agency.

ATTACHMENT I

INDUSTRIAL WASTE DISCHARGER INTO SANITARY SYSTEM (cont.)

Legal Name of Company:

FORMTEXT

Mailing Address:

FORMTEXT

FORMTEXT

FORMTEXT

Contact Person:

FORMTEXT

Physical Address:

FORMTEXT

FORMTEXT

Type of Process:

FORMTEXT

Total Daily Flow:

FORMTEXT

SIC Code:

FORMTEXT

Type of Discharge: (√) Check One:

Continuous

FORMCHECKBOX

Intermittent

FORMCHECKBOX

Batch

FORMCHECKBOX

If intermittent, give hours per day and number of days per week of discharge:

FORMTEXT

FORMTEXT

Provide a measurement of the following effluent characteristics for the industry’s discharge before it reaches the sanitary system:

BOD5

FORMTEXT

lb/day

TSS

FORMTEXT

lb/day

COD

FORMTEXT

lb/day

pH

FORMTEXT

Standard Units

Oil & Grease

FORMTEXT

lb/day

NH3-N

FORMTEXT

lb/day

Other pertinent physical an chemical properties (ex. toxic compounds, taste and odor compounds, heavy metals)

FORMTEXT

FORMTEXT

Note:  Numerous discharges with similar processes, such as service stations, Laundromats, etc., may be grouped together and the total flow and waste loads reported on one form.  An estimate should be provided of the number of discharges.  If 桴⁥扡癯⁥潳牵散挠湯慴湩⁳湡⁹畳獢慴据獥渠瑯愠敭慮汢⁥潴琠敲瑡敭瑮戠⁹桴⁥慦楣楬祴挠癯牥摥戠⁹桴獩愠灰楬慣楴湯‬湡椠摮癩摩慵⁬牰瑥敲瑡敭瑮搠瑥牥業慮楴湯洠祡戠⁥慭敤戠⁹桴⁥獩畳湩⁧条湥祣ܮഇഌ呁䅔䡃䕍呎䤠䤍䑎单剔䅉⁌䅗呓⁅䥄䍓䅈䝒剅䤠呎⁏䅓䥎䅔奒匠卙䕔⁍挨湯⹴ܩ䰇来污丠浡⁥景䌠浯慰祮ܺ–但䵒䕔员Ġon may be made by the issuing agency.

ATTACHMENT I

INDUSTRIAL WASTE DISCHARGER INTO SANITARY SYSTEM (cont.)

Legal Name of Company:

FORMTEXT

Mailing Address:

FORMTEXT

FORMTEXT

FORMTEXT

Contact Person:

FORMTEXT

Physical Address:

FORMTEXT

FORMTEXT

Type of Process:

FORMTEXT

Total Daily Flow:

FORMTEXT

SIC Code:

FORMTEXT

Type of Discharge: (√) Check One:

Continuous

FORMCHECKBOX

Intermittent

FORMCHECKBOX

Batch

FORMCHECKBOX

If intermittent, give hours per day and number of days per week of discharge:

FORMTEXT

FORMTEXT

Provide a measurement of the following effluent characteristics for the industry’s discharge before it reaches the sanitary system:

BOD5

FORMTEXT

lb/day

TSS

FORMTEXT

lb/day

COD

FORMTEXT

lb/day

pH

FORMTEXT

Standard Units

Oil & Grease

FORMTEXT

lb/day

NH3-N

FORMTEXT

lb/day

Other pertinent physical an chemical properties (ex. toxic compounds, taste and odor compounds, heavy metals)

FORMTEXT

FORMTEXT

Note:  Numerous discharges with similar processes, such as service stations, Laundromats, etc., may be grouped together and the total flow and waste loads reported on one form.  An estimate should be provided of the number of discharges.  If 桴⁥扡癯⁥潳牵散挠湯慴湩⁳湡⁹畳獢慴据獥渠瑯愠敭慮汢⁥潴琠敲瑡敭瑮戠⁹桴⁥慦楣楬祴挠癯牥摥戠⁹桴獩愠灰楬慣楴湯‬湡椠摮癩摩慵⁬牰瑥敲瑡敭瑮搠瑥牥業慮楴湯洠祡戠⁥慭敤戠⁹桴⁥獩畳湩⁧条湥祣ܮഇഌ呁䅔䡃䕍呎䤠䤍䑎单剔䅉⁌䅗呓⁅䥄䍓䅈䝒剅䤠呎⁏䅓䥎䅔奒匠卙䕔⁍挨湯⹴ܩ䰇来污丠浡⁥景䌠浯慰祮ܺ–但䵒䕔员Ġon may be made by the issuing agency.

ATTACHMENT I

INDUSTRIAL WASTE DISCHARGER INTO SANITARY SYSTEM (cont.)

Legal Name of Company:

FORMTEXT

Mailing Address:

FORMTEXT

FORMTEXT

FORMTEXT

Contact Person:

FORMTEXT

Physical Address:

FORMTEXT

FORMTEXT

Type of Process:

FORMTEXT

Total Daily Flow:

FORMTEXT

SIC Code:

FORMTEXT

Type of Discharge: (√) Check One:

Continuous

FORMCHECKBOX

Intermittent

FORMCHECKBOX

Batch

FORMCHECKBOX

If intermittent, give hours per day and number of days per week of discharge:

FORMTEXT

FORMTEXT

Provide a measurement of the following effluent characteristics for the industry’s discharge before it reaches the sanitary system:

BOD5

FORMTEXT

lb/day

TSS

FORMTEXT

lb/day

COD

FORMTEXT

lb/day

pH

FORMTEXT

Standard Units

Oil & Grease

FORMTEXT

lb/day

NH3-N

FORMTEXT

lb/day

Other pertinent physical an chemical properties (ex. toxic compounds, taste and odor compounds, heavy metals)

FORMTEXT

FORMTEXT

Note:  Numerous discharges with similar processes, such as service stations, Laundromats, etc., may be grouped together and the total flow and waste loads reported on one form.  An estimate should be provided of the number of discharges.  If 桴⁥扡癯⁥潳牵散挠湯慴湩⁳湡⁹畳獢慴据獥渠瑯愠敭慮汢⁥潴琠敲瑡敭瑮戠⁹桴⁥慦楣楬祴挠癯牥摥戠⁹桴獩愠灰楬慣楴湯‬湡椠摮癩摩慵⁬牰瑥敲瑡敭瑮搠瑥牥業慮楴湯洠祡戠⁥慭敤戠⁹桴⁥獩畳湩⁧条湥祣ܮ∇∠–䙉吠硥㉴㤱㴠㌠∠఍䄍呔䍁䵈久⁔൉义啄呓䥒䱁圠十䕔䐠卉䡃剁䕇⁒义佔匠乁呉剁⁙奓呓䵅⠠潣瑮⤮܇敌慧⁬慎敭漠⁦潃灭湡㩹ጇ䘠剏呍塅⁔ᐁade by the issuing agency.

" " IF Text219 = 3 "

ATTACHMENT I

INDUSTRIAL WASTE DISCHARGER INTO SANITARY SYSTEM (cont.)

Legal Name of Company:

FORMTEXT

Mailing Address:

FORMTEXT

FORMTEXT

FORMTEXT

Contact Person:

FORMTEXT

Physical Address:

FORMTEXT

FORMTEXT

Type of Process:

FORMTEXT

Total Daily Flow:

FORMTEXT

SIC Code:

FORMTEXT

Type of Discharge: (√) Check One:

Continuous

FORMCHECKBOX

Intermittent

FORMCHECKBOX

Batch

FORMCHECKBOX

If intermittent, give hours per day and number of days per week of discharge:

FORMTEXT

FORMTEXT

Provide a measurement of the following effluent characteristics for the industry’s discharge before it reaches the sanitary system:

BOD5

FORMTEXT

lb/day

TSS

FORMTEXT

lb/day

COD

FORMTEXT

lb/day

pH

FORMTEXT

Standard Units

Oil & Grease

FORMTEXT

lb/day

NH3-N

FORMTEXT

lb/day

Other pertinent physical an chemical properties (ex. toxic compounds, taste and odor compounds, heavy metals)

FORMTEXT

FORMTEXT

Note:  Numerous discharges with similar processes, such as service stations, Laundromats, etc., may be grouped together and the total flow and waste loads reported on one form.  An estimate should be provided of the number of discharges.  If 桴⁥扡癯⁥潳牵散挠湯慴湩⁳湡⁹畳獢慴据獥渠瑯愠敭慮汢⁥潴琠敲瑡敭瑮戠⁹桴⁥慦楣楬祴挠癯牥摥戠⁹桴獩愠灰楬慣楴湯‬湡椠摮癩摩慵⁬牰瑥敲瑡敭瑮搠瑥牥業慮楴湯洠祡戠⁥慭敤戠⁹桴⁥獩畳湩⁧条湥祣ܮഇഌ呁䅔䡃䕍呎䤠䤍䑎单剔䅉⁌䅗呓⁅䥄䍓䅈䝒剅䤠呎⁏䅓䥎䅔奒匠卙䕔⁍挨湯⹴ܩ䰇来污丠浡⁥景䌠浯慰祮ܺ–但䵒䕔员Ġon may be made by the issuing agency.

ATTACHMENT I

INDUSTRIAL WASTE DISCHARGER INTO SANITARY SYSTEM (cont.)

Legal Name of Company:

FORMTEXT

Mailing Address:

FORMTEXT

FORMTEXT

FORMTEXT

Contact Person:

FORMTEXT

Physical Address:

FORMTEXT

FORMTEXT

Type of Process:

FORMTEXT

Total Daily Flow:

FORMTEXT

SIC Code:

FORMTEXT

Type of Discharge: (√) Check One:

Continuous

FORMCHECKBOX

Intermittent

FORMCHECKBOX

Batch

FORMCHECKBOX

If intermittent, give hours per day and number of days per week of discharge:

FORMTEXT

FORMTEXT

Provide a measurement of the following effluent characteristics for the industry’s discharge before it reaches the sanitary system:

BOD5

FORMTEXT

lb/day

TSS

FORMTEXT

lb/day

COD

FORMTEXT

lb/day

pH

FORMTEXT

Standard Units

Oil & Grease

FORMTEXT

lb/day

NH3-N

FORMTEXT

lb/day

Other pertinent physical an chemical properties (ex. toxic compounds, taste and odor compounds, heavy metals)

FORMTEXT

FORMTࠀT

Note:  Numerous discharges with similar processes, such as service stations, Laundromats, etc., may be grouped together and the total flow and waste loads reported on one form.  An estimate should be provided of the number of discharges.  If the above source contains any substances not amenable to treatment by the facility covered by this application, an individual pretreatment determination may be made by the issuing agency.

" " IF Text219 = 4 "

ATTACHMENT I

INDUSTRIAL WASTE DISCHARGER INTO SANITARY SYSTEM (cont.)

Legal Name of Company:

FORMTEXT

Mailing Address:

FORMTEXT

FORMTEXT

FORMTEXT

Contact Person:

FORMTEXT

Physical Address:

FORMTEXT

FORMTEXT

Type of Process:

FORMTEXT

Total Daily Flow:

FORMTEXT

SIC Code:

FORMTEXT

Type of Discharge: (√) Check One:

Continuous

FORMCHECKBOX

Intermittent

FORMCHECKBOX

Batch

FORMCHECKBOX

If intermittent, give hours per day and number of days per week of discharge:

FORMTEXT

FORMTEXT

Provide a measurement of the following effluent characteristics for the industry’s discharge before it reaches the sanitary system:

BOD5

FORMTEXT

lb/day

TSS

FORMTEXT

lb/day

COD

FORMTEXT

lb/day

pH

FORMTEXT

Standard Units

Oil & Grease

FORMTEXT

lb/day

NH3-N

FORMTEXT

lb/day

Other pertinent physical an chemical properties (ex. toxic compounds, taste and odor compounds, heavy metals)

FORMTEXT

FORMTEXT

Note:  Numerous discharges with similar processes, such as service stations, Laundromats, etc., may be grouped together and the total flow and waste loads reported on one form.  An estimate should be provided of the number of discharges.  If the above source contains any substances not amenable to treatment by the facility covered by this application, an individual pretreatment determination may be made by the issuing agency.

ATTACHMENT I

INDUSTRIAL WASTE DISCHARGER INTO SANITARY SYSTEM (cont.)

Legal Name of Company:

FORMTEXT

Mailing Address:

FORMTEXT

FORMTEXT

FORMTEXT

Contact Person:

FORMTEXT

Physical Address:

FORMTEXT

FORMTEXT

Type of Process:

FORMTEXT

Total Daily Flow:

FORMTEXT

SIC Code:

FORMTEXT

Type of Discharge: (√) Check One:

Continuous

FORMCHECKBOX

Intermittent

FORMCHECKBOX

Batch

FORMCHECKBOX

If intermittent, give hours per day and number of days per week of discharge:

FORMTEXT

FORMTEXT

Provide a measurement of the following effluent characteristics for the industry’s discharge before it reaches the sanitary system:

BOD5

FORMTEXT

lb/day

TSS

FORMTEXT

lb/day

COD

FORMTEXT

lb/day

pH

FORMTEXT

Standard Units

Oil & Grease

FORMTEXT

lb/day

NH3-N

FORMTEXT

lb/day

Other pertinent physical an chemical properties (ex. toxic compounds, taste and odor compounds, heavy metals)

FORMTEXT

FORMTEXT

Note:  Numerous discharges with similar processes, such as service stations, Laundromats, etc., may be grouped together and the total flow and waste loads reported on one form.  An estimate should be provided of the number of discharges.  If the above source contains any substances not amenable to treatment by the facility covered by this application, an individual pretreatment determination may be made by the issuing agency.

ATTACHMENT I

INDUSTRIAL WASTE DISCHARGER INTO SANITARY SYSTEM (cont.)

Legal Name of Company:

FORMTEXT

Mailing Address:

FORMTEXT

FORMTEXT

FORMTEXT

Contact Person:

FORMTEXT

Physical Address:

FORMTEXT

FORMTEXT

Type of Process:

FORMTEXT

Total Daily Flow:

FORMTEXT

SIC Code:

FORMTEXT

Type of Discharge: (√) Check One:

Continuous

FORMCHECKBOX

Intermittent

FORMCHECKBOX

Batch

FORMCHECKBOX

If intermittent, give hours per day and number of days per week of discharge:

FORMTEXT

FORMTEXT

Provide a measurement of the following effluent characteristics for the industry’s discharge before it reaches the sanitary system:

BOD5

FORMTEXT

lb/day

TSS

FORMTEXT

lb/day

COD

FORMTEXT

lb/day

pH

FORMTEXT

Standard Units

Oil & Grease

FORMTEXT

lb/day

NH3-N

FORMTEXT

lb/day

Other pertinent physical an chemical properties (ex. toxic compounds, taste and odor compounds, heavy metals)

FORMTEXT

FORMTEXT

Note:  Numerous discharges with similar processes, such as service stations, Laundromats, etc., may be grouped together and the total flow and waste loads reported on one form.  An estimate should be provided of the number of discharges.  If the above source contains any substances not amenable to treatment by the facility covered by this application, an individual pretreatment determination may be made by the issuing agency.

" " IF Text219 = 5 "

ATTACHMENT I

INDUSTRIAL WASTE DISCHARGER INTO SANITARY SYSTEM (cont.)

Legal Name of Company:

FORMTEXT

Mailing Address:

FORMTEXT

FORMTEXT

FORMTEXT

Contact Person:

FORMTEXT

Physical Address:

FORMTEXT

FORMTEXT

Type of Process:

FORMTEXT

Total Daily Flow:

FORMTEXT

SIC Code:

FORMTEXT

Type of Discharge: (√) Check One:

Continuous

FORMCHECKBOX

Intermittent

FORMCHECKBOX

Batch

FORMCHECKBOX

If intermittent, give hours per day and number of days per week of discharge:

FORMTEXT

FORMTEXT

Provide a measurement of the following effluent characteristics for the industry’s discharge before it reaches the sanitary system:

BOD5

FORMTEXT

lb/day

TSS

FORMTEXT

lb/day

COD

FORMTEXT

lb/day

pH

FORMTEXT

Standard Units

Oil & Grease

FORMTEXT

lb/day

NH3-N

FORMTEXT

lb/day

Other pertinent physical an chemical properties (ex. toxic compounds, taste and odor compounds, heavy metals)

FORMTEXT

FORMTEXT

Note:  Numerous discharges with similar processes, such as service stations, Laundromats, etc., may be grouped together and the total flow and waste loads reported on one form.  An estimate should be provided of the number of discharges.  If the above source contains any substances not amenable to treatment by the facility covered by this application, an individual pretreatment determination may be made by the issuing agency.

ATTACHMENT I

INDUSTRIAL WASTE DISCHARGER INTO SANITARY SYSTEM (cont.)

Legal Name of Company:

FORMTEXT

Mailing Address:

FORMTEXT

FORMTEXT

FORMTEXT

Contact Person:

FORMTEXT

Physical Address:

FORMTEXT

FORMTEXT

Type of Process:

FORMTEXT

Total Daily Flow:

FORMTEXT

SIC Code:

FORMTEXT

Type of Discharge: (√) Check One:

Continuous

FORMCHECKBOX

Intermittent

FORMCHECKBOX

Batch

FORMCHECKBOX

If intermittent, give hours per day and number of days per week of discharge:

FORMTEXT

FORMTEXT

Provide a measurement of the following effluent characteristics for the industry’s discharge before it reaches the sanitary system:

BOD5

FORMTEXT

lb/day

TSS

FORMTEXT

lb/day

COD

FORMTEXT

lb/day

pH

FORMTEXT

Standard Units

Oil & Grease

FORMTEXT

lb/day

NH3-N

FORMTEXT

lb/day

Other pertinent physical an chemical properties (ex. toxic compounds, taste and odor compounds, heavy metals)

FORMTEXT

FORMTEXT

Note:  Numerous discharges with similar processes, such as service stations, Laundromats, etc., may be grouped together and the total flow and waste loads reported on one form.  An estimate should be provided of the number of discharges.  If the above source contains any substances not amenable to treatment by the facility covered by this application, an individual pretreatment determination may be made by the issuing agency.

ATTACHMENT I

INDUSTRIAL WASTE DISCHARGER INTO SANITARY SYSTEM (cont.)

Legal Name of Company:

FORMTEXT

Mailing Address:

FORMTEXT

FORMTEXT

FORMTEXT

Contact Person:

FORMTEXT

Physical Address:

FORMTEXT

FORMTEXT

Type of Process:

FORMTEXT

Total Daily Flow:

FORMTEXT

SIC Code:

FORMTEXT

Type of Discharge: (√) Check One:

Continuous

FORMCHECKBOX

Intermittent

FORMCHECKBOX

Batch

FORMCHECKBOX

If intermittent, give hours per day and number of days per week of discharge:

FORMTEXT

FORMTEXT

Provide a measurement of the following effluent characteristics for the industry’s discharge before it reaches the sanitary system:

BOD5

FORMTEXT

lb/day

TSS

FORMTEXT

lb/day

COD

FORMTEXT

lb/day

pH

FORMTEXT

Standard Units

Oil & Grease

FORMTEXT

lb/day

NH3-N

FORMTEXT

lb/day

Other pertinent physical an chemical properties (ex. toxic compounds, taste and odor compounds, heavy metals)

FORMTEXT

FORMTEXT

Note:  Numerous discharges with similar processes, such as service stations, Laundromats, etc., may be grouped together and the total flow and waste loads reported on one form.  An estimate should be provided of the number of discharges.  If the above source contains any substances not amenable to treatment by the facility covered by this application, an individual pretreatment determination may be made by the issuing agency.

ATTACHMENT I

INDUSTRIAL WASTE DISCHARGER INTO SANITARY SYSTEM (cont.)

Legal Name of Company:

FORMTEXT

Mailing Address:

FORMTEXT

FORMTEXT

FORMTEXT

Contact Person:

FORMTEXT

Physical Address:

FORMTEXT

FORMTEXT

Type of Process:

FORMTEXT

Total Daily Flow:

FORMTEXT

SIC Code:

FORMTEXT

Type of Discharge: (√) Check One:

Continuous

FORMCHECKBOX

Intermittent

FORMCHECKBOX

Batch

FORMCHECKBOX

If intermittent, give hours per day and number of days per week of discharge:

FORMTEXT

FORMTEXT

Provide a measurement of the following effluent characteristics for the industry’s discharge before it reaches the sanitary system:

BOD5

FORMTEXT

lb/day

TSS

FORMTEXT

lb/day

COD

FORMTEXT

lb/day

pH

FORMTEXT

Standard Units

Oil & Grease

FORMTEXT

lb/day

NH3-N

FORMTEXT

lb/day

Other pertinent physical an chemical properties (ex. toxic compounds, taste and odor compounds, heavy metals)

FORMTEXT

FORMTEXT

Note:  Numerous discharges with similar processes, such as service stations, Laundromats, etc., may be grouped together and the total flow and waste loads reported on one form.  An estimate should be provided of the number of discharges.  If the above source contains any substances not amenable to treatment by the facility covered by this application, an individual pretreatment determination may be made by the issuing agency.

" " IF Text219 = 6 "

ATTACHMENT I

INDUSTRIAL WASTE DISCHARGER INTO SANITARY SYSTEM (cont.)

Legal Name of Company:

FORMTEXT

Mailing Address:

FORMTEXT

FORMTEXT

FORMTEXT

Contact Person:

FORMTEXT

Physical Address:

FORMTEXT

FORMTEXT

Type of Process:

FORMTEXT

Total Daily Flow:

FORMTEXT

SIC Code:

FORMTEXT

Type of Discharge: (√) Check One:

Continuous

FORMCHECKBOX

Intermittent

FORMCHECKBOX

Batch

FORMCHECKBOX

If intermittent, give hours per day and number of days per week of discharge:

FORMTEXT

FORMTEXT

Provide a measurement of the following effluent characteristics for the industry’s discharge before it reaches the sanitary system:

BOD5

FORMTEXT

lb/day

TSS

FORMTEXT

lb/day

COD

FORMTEXT

lb/day

pH

FORMTEXT

Standard Units

Oil & Grease

FORMTEXT

lb/day

NH3-N

FORMTEXT

lb/day

Other pertinent physical an chemical properties (ex. toxic compounds, taste and odor compounds, heavy metals)

FORMTEXT

FORMTEXT

Note:  Numerous discharges with similar processes, such as service stations, Laundromats, etc., may be grouped together and the total flow and waste loads reported on one form.  An estimate should be provided of the number of discharges.  If the above source contains any substances not amenable to treatment by the facility covered by this application, an individual pretreatment determination may be made by the issuing agency.

ATTACHMENT I

INDUSTRIAL WASTE DISCHARGER INTO SANITARY SYSTEM (cont.)

Legal Name of Company:

FORMTEXT

Mailing Address:

FORMTEXT

FORMTEXT

FORMTEXT

Contact Person:

FORMTEXT

Physical Address:

FORMTEXT

FORMTEXT

Type of Process:

FORMTEXT

Total Daily Flow:

FORMTEXT

SIC Code:

FORMTEXT

Type of Discharge: (√) Check One:

Continuous

FORMCHECKBOX

Intermittent

FORMCHECKBOX

Batch

FORMCHECKBOX

If intermittent, give hours per day and number of days per week of discharge:

FORMTEXT

FORMTEXT

Provide a measurement of the following effluent characteristics for the industry’s discharge before it reaches the sanitary system:

BOD5

FORMTEXT

lb/day

TSS

FORMTEXT

lb/day

COD

FORMTEXT

lb/day

pH

FORMTEXT

Standard Units

Oil & Grease

FORMTEXT

lb/day

NH3-N

FORMTEXT

lb/day

Other pertinent physical an chemical properties (ex. toxic compounds, taste and odor compounds, heavy metals)

FORMTEXT

FORMTEXT

Note:  Numerous discharges with similar processes, such as service stations, Laundromats, etc., may be grouped together and the total flow and waste loads reported on one form.  An estimate should be provided of the number of discharges.  If the above source contains any substances not amenable to treatment by the facility covered by this application, an individual pretreatment determination may be made by the issuing agency.

ATTACHMENT I

INDUSTRIAL WASTE DISCHARGER INTO SANITARY SYSTEM (cont.)

Legal Name of Company:

FORMTEXT

Mailing Address:

FORMTEXT

FORMTEXT

FORMTEXT

Contact Person:

FORMTEXT

Physical Address:

FORMTEXT

FORMTEXT

Type of Process:

FORMTEXT

Total Daily Flow:

FORMTEXT

SIC Code:

FORMTEXT

Type of Discharge: (√) Check One:

Continuous

FORMCHECKBOX

Intermittent

FORMCHECKBOX

Batch

FORMCHECKBOX

If intermittent, give hours per day and number of days per week of discharge:

FORMTEXT

FORMTEXT

Provide a measurement of the following effluent characteristics for the industry’s discharge before it reaches the sanitary system:

BOD5

FORMTEXT

lb/day

TSS

FORMTEXT

lb/day

COD

FORMTEXT

lb/day

pH

FORMTEXT

Standard Units

Oil & Grease

FORMTEXT

lb/day

NH3-N

FORMTEXT

lb/day

Other pertinent physical an chemical properties (ex. toxic compounds, taste and odor compounds, heavy metals)

FORMTEXT

FORMTEXT

Note:  Numerous discharges with similar processes, such as service stations, Laundromats, etc., may be grouped together and the total flow and waste loads reported on one form.  An estimate should be provided of the number of discharges.  If the above source contains any substances not amenable to treatment by the facility covered by this application, an individual pretreatment determination may be made by the issuing agency.

ATTACHMENT I

INDUSTRIAL WASTE DISCHARGER INTO SANITARY SYSTEM (cont.)

Legal Name of Company:

FORMTEXT

Mailing Address:

FORMTEXT

FORMTEXT

FORMTEXT

Contact Person:

FORMTEXT

Physical Address:

FORMTEXT

FORMTEXT

Type of Process:

FORMTEXT

Total Daily Flow:

FORMTEXT

SIC Code:

FORMTEXT

Type of Discharge: (√) Check One:

Continuous

FORMCHECKBOX

Intermittent

FORMCHECKBOX

Batch

FORMCHECKBOX

If intermittent, give hours per day and number of days per week of discharge:

FORMTEXT

FORMTEXT

Provide a measurement of the following effluent characteristics for the industry’s discharge before it reaches the sanitary system:

BOD5

FORMTEXT

lb/day

TSS

FORMTEXT

lb/day

COD

FORMTEXT

lb/day

pH

FORMTEXT

Standard Units

Oil & Grease

FORMTEXT

lb/day

NH3-N

FORMTEXT

lb/day

Other pertinent physical an chemical properties (ex. toxic compounds, taste and odor compounds, heavy metals)

FORMTEXT

FORMTEXT

Note:  Numerous discharges with similar processes, such as service stations, Laundromats, etc., may be grouped together and the total flow and waste loads reported on one form.  An estimate should be provided of the number of discharges.  If the above source contains any substances not amenable to treatment by the facility covered by this application, an individual pretreatment determination may be made by the issuing agency.

ATTACHMENT I

INDUSTRIAL WASTE DISCHARGER INTO SANITARY SYSTEM (cont.)

Legal Name of Company:

FORMTEXT

Mailing Address:

FORMTEXT

FORMTEXT

FORMTEXT

Contact Person:

FORMTEXT

Physical Address:

FORMTEXT

FORMTEXT

Type of Process:

FORMTEXT

Total Daily Flow:

FORMTEXT

SIC Code:

FORMTEXT

Type of Discharge: (√) Check One:

Continuous

FORMCHECKBOX

Intermittent

FORMCHECKBOX

Batch

FORMCHECKBOX

If intermittent, give hours per day and number of days per week of discharge:

FORMTEXT

FORMTEXT

Provide a measurement of the following effluent characteristics for the industry’s discharge before it reaches the sanitary system:

BOD5

FORMTEXT

lb/day

TSS

FORMTEXT

lb/day

COD

FORMTEXT

lb/day

pH

FORMTEXT

Standard Units

Oil & Grease

FORMTEXT

lb/day

NH3-N

FORMTEXT

lb/day

Other pertinent physical an chemical properties (ex. toxic compounds, taste and odor compounds, heavy metals)

FORMTEXT

FORMTEXT

Note:  Numerous discharges with similar processes, such as service stations, Laundromats, etc., may be grouped together and the total flow and waste loads reported on one form.  An estimate should be provided of the number of discharges.  If the above source contains any substances not amenable to treatment by the facility covered by this application, an individual pretreatment determination may be made by the issuing agency.

" " IF Text219 = 7 "

ATTACHMENT I

INDUSTRIAL WASTE DISCHARGER INTO SANITARY SYSTEM (cont.)

Legal Name of Company:

FORMTEXT

Mailing Address:

FORMTEXT

FORMTEXT

FORMTEXT

Contact Person:

FORMTEXT

Physical Address:

FORMTEXT

FORMTEXT

Type of Process:

FORMTEXT

Total Daily Flow:

FORMTEXT

SIC Code:

FORMTEXT

Type of Discharge: (√) Check One:

Continuous

FORMCHECKBOX

Intermittent

FORMCHECKBOX

Batch

FORMCHECKBOX

If intermittent, give hours per day and number of days per week of discharge:

FORMTEXT

FORMTEXT

Provide a measurement of the following effluent characteristics for the industry’s discharge before it reaches the sanitary system:

BOD5

FORMTEXT

lb/day

TSS

FORMTEXT

lb/day

COD

FORMTEXT

lb/day

pH

FORMTEXT

Standard Units

Oil & Grease

FORMTEXT

lb/day

NH3-N

FORMTEXT

lb/day

Other pertinent physical an chemical properties (ex. toxic compounds, taste and odor compounds, heavy metals)

FORMTEXT

FORMTEXT

Note:  Numerous discharges with similar processes, such as service stations, Laundromats, etc., may be grouped together and the total flow and waste loads reported on one form.  An estimate should be provided of the number of discharges.  If the above source contains any substances not amenable to treatment by the facility covered by this application, an individual pretreatment determination may be made by the issuing agency.

ATTACHMENT I

INDUSTRIAL WASTE DISCHARGER INTO SANITARY SYSTEM (cont.)

Legal Name of Company:

FORMTEXT

Mailing Address:

FORMTEXT

FORMTEXT

FORMTEXT

Contact Person:

FORMTEXT

Physical Address:

FORMTEXT

FORMTEXT

Type of Process:

FORMTEXT

Total Daily Flow:

FORMTEXT

SIC Code:

FORMTEXT

Type of Discharge: (√) Check One:

Continuous

FORMCHECKBOX

Intermittent

FORMCHECKBOX

Batch

FORMCHECKBOX

If intermittent, give hours per day and number of days per week of discharge:

FORMTEXT

FORMTEXT

Provide a measurement of the following effluent characteristics for the industry’s discharge before it reaches the sanitary system:

BOD5

FORMTEXT

lb/day

TSS

FORMTEXT

lb/day

COD

FORMTEXT

lb/day

pH

FORMTEXT

Standard Units

Oil & Grease

FORMTEXT

lb/day

NH3-N

FORMTEXT

lb/day

Other pertinent physical an chemical properties (ex. toxic compounds, taste and odor compounds, heavy metals)

FORMTEXT

FORMTEXT

Note:  Numerous discharges with similar processes, such as service stations, Laundromats, etc., may be grouped together and the total flow and waste loads reported on one form.  An estimate should be provided of the number of discharges.  If the above source contains any substances not amenable to treatment by the facility covered by this application, an individual pretreatment determination may be made by the issuing agency.

ATTACHMENT I

INDUSTRIAL WASTE DISCHARGER INTO SANITARY SYSTEM (cont.)

Legal Name of Company:

FORMTEXT

Mailing Address:

FORMTEXT

FORMTEXT

FORMTEXT

Contact Person:

FORMTEXT

Physical Address:

FORMTEXT

FORMTEXT

Type of Process:

FORMTEXT

Total Daily Flow:

FORMTEXT

SIC Code:

FORMTEXT

Type of Discharge: (√) Check One:

Continuous

FORMCHECKBOX

Intermittent

FORMCHECKBOX

Batch

FORMCHECKBOX

If intermittent, give hours per day and number of days per week of discharge:

FORMTEXT

FORMTEXT

Provide a measurement of the following effluent characteristics for the industry’s discharge before it reaches the sanitary system:

BOD5

FORMTEXT

lb/day

TSS

FORMTEXT

lb/day

COD

FORMTEXT

lb/day

pH

FORMTEXT

Standard Units

Oil & Grease

FORMTEXT

lb/day

NH3-N

FORMTEXT

lb/day

Other pertinent physical an chemical properties (ex. toxic compounds, taste and odor compounds, heavy metals)

FORMTEXT

FORMTEXT

Note:  Numerous discharges with similar processes, such as service stations, Laundromats, etc., may be grouped together and the total flow and waste loads reported on one form.  An estimate should be provided of the number of discharges.  If the above source contains any substances not amenable to treatment by the facility covered by this application, an individual pretreatment determination may be made by the issuing agency.

ATTACHMENT I

INDUSTRIAL WASTE DISCHARGER INTO SANITARY SYSTEM (cont.)

Legal Name of Company:

FORMTEXT

Mailing Address:

FORMTEXT

FORMTEXT

FORMTEXT

Contact Person:

FORMTEXT

Physical Address:

FORMTEXT

FORMTEXT

Type of Process:

FORMTEXT

Total Daily Flow:

FORMTEXT

SIC Code:

FORMTEXT

Type of Discharge: (√) Check One:

Continuous

FORMCHECKBOX

Intermittent

FORMCHECKBOX

Batch

FORMCHECKBOX

If intermittent, give hours per day and number of days per week of discharge:

FORMTEXT

FORMTEXT

Provide a measurement of the following effluent characteristics for the industry’s discharge before it reaches the sanitary system:

BOD5

FORMTEXT

lb/day

TSS

FORMTEXT

lb/day

COD

FORMTEXT

lb/day

pH

FORMTEXT

Standard Units

Oil & Grease

FORMTEXT

lb/day

NH3-N

FORMTEXT

lb/day

Other pertinent physical an chemical properties (ex. toxic compounds, taste and odor compounds, heavy metals)

FORMTEXT

FORMTEXT

Note:  Numerous discharges with similar processes, such as service stations, Laundromats, etc., may be grouped together and the total flow and waste loads reported on one form.  An estimate should be provided of the number of discharges.  If the above source contains any substances not amenable to treatment by the facility covered by this application, an individual pretreatment determination may be made by the issuing agency.

ATTACHMENT I

INDUSTRIAL WASTE DISCHARGER INTO SANITARY SYSTEM (cont.)

Legal Name of Company:

FORMTEXT

Mailing Address:

FORMTEXT

FORMTEXT

FORMTEXT

Contact Person:

FORMTEXT

Physical Address:

FORMTEXT

FORMTEXT

Type of Process:

FORMTEXT

Total Daily Flow:

FORMTEXT

SIC Code:

FORMTEXT

Type of Discharge: (√) Check One:

Continuous

FORMCHECKBOX

Intermittent

FORMCHECKBOX

Batch

FORMCHECKBOX

If intermittent, give hours per day and number of days per week of discharge:

FORMTEXT

FORMTEXT

Provide a measurement of the following effluent characteristics for the industry’s discharge before it reaches the sanitary system:

BOD5

FORMTEXT

lb/day

TSS

FORMTEXT

lb/day

COD

FORMTEXT

lb/day

pH

FORMTEXT

Standard Units

Oil & Grease

FORMTEXT

lb/day

NH3-N

FORMTEXT

lb/day

Other pertinent physical an chemical properties (ex. toxic compounds, taste and odor compounds, heavy metals)

FORMTEXT

FORMTEXT

Note:  Numerous discharges with similar processes, such as service stations, Laundromats, etc., may be grouped together and the total flow and waste loads reported on one form.  An estimate should be provided of the number of discharges.  If the above source contains any substances not amenable to treatment by the facility covered by this application, an individual pretreatment determination may be made by the issuing agency.

ATTACHMENT I

INDUSTRIAL WASTE DISCHARGER INTO SANITARY SYSTEM (cont.)

Legal Name of Company:

FORMTEXT

Mailing Address:

FORMTEXT

FORMTEXT

FORMTEXT

Contact Person:

FORMTEXT

Physical Address:

FORMTEXT

FORMTEXT

Type of Process:

FORMTEXT

Total Daily Flow:

FORMTEXT

SIC Code:

FORMTEXT

Type of Discharge: (√) Check One:

Continuous

FORMCHECKBOX

Intermittent

FORMCHECKBOX

Batch

FORMCHECKBOX

If intermittent, give hours per day and number of days per week of discharge:

FORMTEXT

FORMTEXT

Provide a measurement of the following effluent characteristics for the industry’s discharge before it reaches the sanitary system:

BOD5

FORMTEXT

lb/day

TSS

FORMTEXT

lb/day

COD

FORMTEXT

lb/day

pH

FORMTEXT

Standard Units

Oil & Grease

FORMTEXT

lb/day

NH3-N

FORMTEXT

lb/day

Other pertinent physical an chemical properties (ex. toxic compounds, taste and odor compounds, heavy metals)

FORMTEXT

FORMTEXT

Note:  Numerous discharges with similar processes, such as service stations, Laundromats, etc., may be grouped together and the total flow and waste loads reported on one form.  An estimate should be provided of the number of discharges.  If the above source contains any substances not amenable to treatment by the facility covered by this application, an individual pretreatment determination may be made by the issuing agency.

" " " \* MERGEFORMAT  " \* MERGEFORMAT  " \* MERGEFORMAT  " \* MERGEFORMAT  " \* MERGEFORMAT  " \* MERGEFORMAT

Have any problems at the POTW (e.g., upsets, pass through, interference) have been attributed to the SIU in the past four and one-half years?

Yes

No

ATTACHMENT II

INSTRUCTIONS FOR EFFLUENT ANALYSIS

See LABORATORY ACCREDITATION on Page 13

In order to process applications for wastewater discharge facilities that have been identified as a Major facility (i.e. discharge over or have a design capacity greater than 1 MGD) we will need supplemental information regarding toxic pollutants to fulfill our requirements. Therefore, you must submit the information listed in this attachment on Table No. 1.

Table No. 1 must be used to submit the analysis.  This application will not be considered administratively complete unless Table No. 1 is completed.  The table includes EPA approved test methods with appropriate minimum quantification levels (MQL), for your review and use.  We recommend that you provide a copy of this Attachment II and Table No. 1 to your laboratory when requesting the effluent analysis.

Please be aware that all analyses must be performed at the minimum level of sensitivity as listed in Table No. 1.  The analyses must demonstrate that an acceptable calibration point as low as the specified MQL was used or a check standard equal to the MQL that is within 25% of the known value.  Test procedures must conform to approved EPA methodology listed in 40 CFR Part 136.

If similar scans were performed within two (2) years prior to the date of submittal of this application and the reported results conform to the instructions detailed above, that information may be submitted with this application.  However, if the scan was performed prior to two (2) years, the results of a more recent analysis should be submitted along with this application.  NOTE: If available, the results of more than one scan may be submitted with this application.

The data requested in this attachment and Table No. 1 shall be submitted to this Office along with the permit application information so that we may proceed with issuance of a permit for this facility.  You must include copies of the laboratory results and detection levels and certification that QA/QC procedures were implemented.  This information will be considered in the evaluation and processing of the permit for your facility.  If you have any questions regarding these requirements, please contact DEQ Customer Assistance at (888) 763-5424.

The permittee is required to analyze the effluent discharge from the referenced facility for each pollutant listed in Table No. 1, Sample Laboratory Analysis Format, in accordance with the following instructions:

A.	Effluent samples, for the analysis of toxic pollutants (except volatile compounds), shall consist of at least twelve (12) aliquots collected at equal intervals over a representative twenty-four (24) hour period and composited according to flow.  When composite samples are inappropriate due to sampling methods, holding time, or analytical constraints, four (4) grab samples taken at equal intervals over a representative twenty-four (24) hour period are acceptable.

For the sampling of (toxic) volatile compounds using EPA Methods 601, 602, 603, 624, 1624, or any other 40 CFR Part 136 method approved after the effective date of the permit, the permittee may use one of the following methods:

(1)	For "24-hour composite" sampling, the permittee shall manually collect four (4) aliquots at regular intervals during the actual hours of discharge during the 24-hour sampling period using sample collection, preservation, and handling techniques specified in the appropriate test method.  These aliquots must be combined in the laboratory immediately before analysis.  To composite these aliquots, see the instructions for the test method selected in Method 601 (Section 10.4), Method 602 (Section 10.4), Method 603 (Section 10.4), Method 624 (Section 11.4), or Method 1624 (Section 10.3).  Each aliquot is poured into a syringe.  The plunger is added, and the volume is adjusted to 1-1/4 ml.  Each aliquot (1-1/4 ml) is injected into the purging chamber (total 5 ml).  After four (4) injections, the chamber is

ATTACHMENT II

INSTRUCTIONS FOR EFFLUENT ANALYSIS (cont.)

purged.  Only one analysis or run is required since the aliquots are combined prior to analysis.

The daily determination of mass (lbs/day) shall be the product of the daily concentration (µg/L) determined above times 0.001 times the density correction factor (8.34 lbs/gal) times the daily flow (MGD) occurring during the 24-hour sampling period.

(2)	For "grab" sampling, the permittee may collect at least four (4) separate and discrete grab samples at regular intervals during the actual hours of discharge during the 24-hour sampling period.  A separate analysis shall be conducted for each discrete grab sample following the approved test methods.

The daily determination of concentration shall be the arithmetic average (weighted by flow) of all grab samples collected during the sampling day.  All other provisions of the preceding paragraph shall apply where applicable.

B.	The permittee shall report each metal as a TOTAL metal in accordance with the procedure described in 40 CFR §136.3, Table IB, footnote 3.

C.	In addition to the pollutants listed in this attachment and Table No. 1, provide at least one effluent analysis for any pollutant listed in Chapter 71 of the Water Quality Regulations, Appendix D, Table V, that you know or suspect is discharged to the receiving stream.

The permittee shall provide any quantitative effluent data collected in the past three years for the pollutants listed in Chapter 71 of the Water Quality Regulations, Appendix D, Tables II, III, and IV.

The permittee shall collect, preserve, and analyze each pollutant in accordance with EPA approved methods in 40 CFR Part 136.

Before analyzing the effluent, PLEASE NOTE, that each pollutant listed in Table No. 1 has a Minimum Quantification Level (MQL) developed by EPA, Region 6, for proper evaluation of that pollutant.  All analyses must be performed at the minimum level of sensitivity as listed in Table No. 1.  The analyses must demonstrate that an acceptable calibration point as low as the specified MQL was used or a check standard equal to the MQL that is within 25% of the known value.  Test procedures must conform to approved EPA methodology listed in 40 CFR Part 136.

Please analyze each pollutant on this list in accordance with the suggested test method at the specified MQL.  We will consider a nondetectable level (zero effluent concentration) as equal to or less than the listed MQL.  For those pollutants with reported laboratory method detection levels greater than the MQL listed in Table No. 1, we will:

A.	Consider the pollutant to be potentially present in the effluent, and

B.	Those pollutants which are State regulated will be evaluated for potential exceedance of the State's water quality criteria, where applicable.  Effluent limitations will be included in the permit for any pollutant which exceeds the State's water quality criteria for that pollutant.

The permittee shall submit a written certification, from the laboratory analyzing the effluent, certifying that each pollutant was analyzed in accordance with the appropriate quality control procedures described in 40 CFR 136.

METALS, CYANIDE AND TOTAL PHENOLS

Note:  The following metals must be expressed as total metals.

Pollutant Name

Monthly Avg Results

µg/l

Daily Max. Results

µg/l

Lab Detection Level

µg/l

EPA Required MQL

µg/l

EPA Test Method

Pollutant Name

Monthly Avg Results

µg/l

Daily Max. Results

µg/l

Lab Detection Level

µg/l

EPA Required MQL

µg/l

EPA Test Method

Antimony

60

*Mercury

0.005

*Arsenic

5

*Lead

2

Beryllium

0.5

*Nickel (fresh)

5

*Cadmium

1

*Nickel (marine)

5

*Chromium (III)

10

Selenium

5

*Chromium (VI)

10

Silver

0.5

Total Chromium

10

Thallium

0.5

*Copper

3

*Zinc

20

Cyanide (total)

10

*Phenols, Total**

5

** - Total Phenol must be measured in accordance with the 4-Aminoantipyrine (4AAP) method.

VOLATILE COMPOUNDS

Pollutant Name

Monthly Avg Results

µg/l

Daily Max. Results

µg/l

Lab Detection Level

µg/l

EPA Required MQL

µg/l

EPA Test Method

Pollutant Name

Monthly Avg Results

µg/l

Daily Max. Results

µg/l

Lab Detection Level

µg/l

EPA Required MQL

µg/l

EPA Test Method

Acrolein

50

Chloroform

10

Acrylonitrile

20

1,1-Dichloroethane

10

*Benzene

10

*1,2-Dichloroethane

(EDC)

10

*Bromodichloro-

methane

10

1,1-Dichloroethene

10

*Bromoform

2

1,2-Dichloropropane

10

*Carbon Tetrachloride

50

1,3-Dichloropropylene

10

Chloroethane

10

*Ethyl Benzene

10

2-chloroethylvinyl

ether

10

*Dibromochloro-methane

10

Chlorobenzene

10

VOLATILE COMPOUNDS (cont.)

Pollutant Name

Pollutant Analysis Results

µg/l

Lab Detection Level

µg/l

EPA Required MQL

µg/l

EPA Test Method

Pollutant Name

Pollutant Analysis Results

µg/l

Lab Detection Level

µg/l

EPA Required MQL

µg/l

EPA Test Method

*Methylene Chloride

10

*1,1,1-Trichloro-

ethane

10

Methyl Bromide

(Bromomethane)

20

*1,1,2-Trichloro-

ethane

10

*Methyl chloride

(Chloromethane)

50

*Tetrachloroethene

10

*1,1,2,2-Tetrachloro-

ethane

50

*Toluene

10

1,2-Trans-Dichloro-

ethene

10

*Trichloroethene

10

*Vinyl Chloride

10

ACID COMPOUNDS

Pollutant Name

Pollutant Analysis Results

µg/l

Lab Detection Level

µg/l

EPA Required MQL

µg/l

EPA Test Method

Pollutant Name

Pollutant Analysis Results

µg/l

Lab Detection Level

µg/l

EPA Required MQL

µg/l

EPA Test Method

*2-Chlorophenol

10

Pentachlorophenol

5

4-Chloro 3-Methyl

phenol

10

Phenol

50

*2,4-Dichlorophenol

10

2,4,6-Trichlorophenol

50

2,4-Dimethylphenol

10

2,4-Dinitrophenol

50

2-Methyl 4,6-dinitro-

phenol

50

2-Nitrophenol

20

4-Nitrophenol

50

PESTICIDES

Pollutant Name

Pollutant Analysis Results

µg/l

Lab Detection Level

µg/l

EPA Required MQL

µg/l

EPA Test Method

Pollutant Name

Pollutant Analysis Results

µg/l

Lab Detection Level

µg/l

EPA Required MQL

µg/l

EPA Test Method

*Aldrin

0.01

*Dieldrin

0.02

*Chlordane

0.2

*Endosulfan I

0.01

*DDD - 4,4

0.1

*Endosulfan II

0.02

*DDE - 4,4

0.1

Endosulfan sulfate

0.1

*DDT - 4,4

0.02

*Endrin

0.02

*Heptachlor

0.01

Endrin aldehyde

0.1

Heptachlor epoxide

0.01

*PCB - 1016

0.2

Hexachlorocyclohex-

ane-alpha(BHC)

0.05

*PCB - 1221

0.2

*PCB - 1232

0.2

Hexachlorocyclohex-

ane-beta(BHC)

0.05

*PCB - 1242

0.2

*PCB - 1248

0.2

Hexachlorocyclohex-

ane-delta(BHC)

0.05

*PCB - 1254

0.2

*PCB - 1260

0.2

*Hexachlorocyclohex-

ane-gamma(lindane)

0.05

*Toxaphene

0.3

BASE / NEUTRAL COMPOUNDS

Pollutant Name

Pollutant Analysis Results

µg/l

Lab Detection Level

µg/l

EPA Required MQL

µg/l

EPA Test Method

Pollutant Name

Pollutant Analysis Results

µg/l

Lab Detection Level

µg/l

EPA Required MQL

µg/l

EPA Test Method

Acenaphthene

10

Bis(2-chloroiso-

propyl) ether

10

Acenapthylene

10

Anthracene

10

4-Bromophenyl

phenyl ether

10

*Benzidine

50

Benzo(a) anthracene

5

2-Chloronaphthalene

10

3,4-Benzofluor-

anthene

10

4-Chlorophenyl

phenyl ether

10

Benzo(k) fluoranthene

5

Chrysene

5

Benzo(a) pyrene

5

Dibenzo(a,h)

anthracene

5

Di-n-butylphthalate

10

BASE / NEUTRAL COMPOUNDS (cont.)

Pollutant Name

Pollutant Analysis Results

µg/l

Lab Detection Level

µg/l

EPA Required MQL

µg/l

EPA Test Method

Pollutant Name

Pollutant Analysis Results

µg/l

Lab Detection Level

µg/l

EPA Required MQL

µg/l

EPA Test Method

Benzo(ghi)perylene

20

1,3-Dichlorobenzene

10

Benzyl butyl phthalate

10

1,4-Dichlorobenzene

p-Dichlorobenzene

10

Bis(2-chloroethyl)ether

10

Bis(2-chloroethoxy)

methane

10

3,3-Dichlorobenzidine

5

Diethyl phthalate

10

Bis(2-ethylhexyl)

phthalate

10

Dimethyl phthalate

10

2,4-Dinitrotoluene

10

Di-n-octylphalate

10

2,6-Dinitrotoluene

10

1,2-Diphenylhydrazine

20

Isophorone

10

Flouranthene

10

Naphthalene

10

Flourene

10

Nitrobenzene

10

*Hexachlorobenzene

5

N-Nitrosodimethylamine

50

*Hexachlorobutadiene

10

N-Nitrosodiphenylamine

20

Hexachlorocyclo-

pentadiene

10

N-nitrosodi-n-propyl-

amine

20

Hexachloroethane

20

Phenanthrene

10

Indeno(1,2,3-cd)pyrene

5

Pyrene

10

1,2-Dichlorobenzene

10

1,2,4-Trichlorobenzene

10

HAZARDOUS SUBSTANCES

Pollutant Name

Pollutant Analysis Results

µg/l

Lab Detection Level

µg/l

EPA Required MQL

µg/l

EPA Test Method

Pollutant Name

Pollutant Analysis Results

µg/l

Lab Detection Level

µg/l

EPA Required MQL

µg/l

EPA Test Method

*2,4-D (2,4-Dichloro-

phenoxy acetic acid)

10

*2,4,5-TP (Silvex)

4

FOOTNOTE:	*These pollutants are regulated under LAC, Title 33, Part IX, Chapter 11, Louisiana Water Quality Standards.

For publicly owned treatment works (POTW) having a design capacity equal to or greater than 0.1 MGD and other facilities with an expected flow equal or greater than 0.1 MGD.

Total Dissolved Solids

Total Nitrogen is defined by Total Kjeldahl Nitrogen plus Nitrate/Nitrite

For facilities utilizing chlorine for disinfection.

For facilities discharging over 1.0 MGD.