Ground Water Potential Susceptibility Analysis

# Risk Ranking Matrix

### Potential Susceptibility = Sensitivity + Vulnerability

Sensitivity is based on water well, aquifer, and recharge factors.

Vulnerability is based on the types and numbers of significant potential sources of contamination and their distance from the well.

## Sensitivity Factors and Weighting

Sensitivity factors include well depth, age of well, average ground water velocity in the aquifer, and soil recharge potential.  Each factor is weighted by assigning a percentage of the overall sensitivity value. The Sensitivity Ranking Range is from 1 to 10.  If data for any sensitivity component is unavailable the default will be 10.

1.  Well Depth  (50%)

Shallow wells are more vulnerable to contamination than deeper wells that are naturally protected by confining clay layers.  Rankings were assigned to depth ranges.  Wells in the shallowest depth range are assigned a ranking of 10 while wells in the deepest depth range are assigned a ranking of 1, using the ranking system described in Chapter 6.

Ranking:

| 18 – 30 | Feet | = 10 |
| --- | --- | --- |
| 31 – 51 | Feet | = 9 |
| 52 – 86 | Feet | = 8 |
| 87 – 145 | Feet | = 7 |
| 146 – 245 | Feet | = 6 |
| 246 – 414 | Feet | = 5 |
| 415 – 699 | Feet | = 4 |
| 700 – 1179 | Feet | = 3 |
| 1180 – 1989 | Feet | = 2 |
| 1990 – 3354 | Feet | = 1 |

2.  Age of Well  (10%)

The older the well, the more sensitive.  As wells age, the grouting and casing can deteriorate. Also, the Louisiana Water Well Construction Standards were promulgated in November of 1985.  Wells constructed prior to this date may not be properly completed and may therefore be more vulnerable to contamination.  Deteriorated or improperly constructed wells can provide conduits for contaminants to enter the aquifer from the surface or shallow subsurface.  Age ranges are ranked from 1 to 10 using the ranking system described in Chapter 6.

Ranking:

| 1 – 2 | years | = 1 |
| --- | --- | --- |
| >2 – 3 | years | = 2 |
| >3 – 4 | years | = 3 |
| >4 – 6 | years | = 4 |
| >6 – 9 | years | = 5 |
| >9 – 15 | years | = 6 |
| >15 – 23 | years | = 7 |
| >23 – 36 | years | = 8 |
| >36 – 56 | years | = 9 |
| >56 | years | = 10 |

3.  Aquifer Average Ground Water Velocity  (25%)

Contaminants will move through aquifers having higher ground water velocities faster than through those with lower velocities.  Aquifers were ranked according to their average ground water velocity using the ranking system described in Chapter 6.

Ranking:

Terrace			= 9

Jasper (Miocene)		= 8

Evangeline			= 6

Red River Alluvial		= 5

Mississippi River Alluvial	= 4

Chicot			= 4

Sparta			= 4

Southern Hills			= 4

Cockfield			= 3

Carrizo-Wilcox		= 1

4.  Soil Recharge Potential (15%)

Soil recharge was based on the Louisiana Recharge Potential Map developed by the Louisiana Geological Survey for DEQ.  The recharge potential for each soil association within the geologic recharge areas is based on such soil characteristics as parent material; subsoil texture, permeability, and drainage; surface slope; and surface runoff.  These characteristics affect the movement of water from the surface, through the soil horizons, and into the underlying geohydrologic systems.  The interpretations are based on the soil characteristics up to six feet below the surface.  Soils overlying the alluvial aquifers have no recharge potential designation on the map but will be assigned a moderate ranking based on soil associations having areas of both high (point bar and natural levee deposits) and low (backswamp areas) recharge characteristics.  Rankings were assigned on a scale of 1 to 10: High recharge potential was assigned a ranking of 10; Medium recharge potential was assigned a ranking of 5; low recharge potential was assigned a ranking of 1.

Ranking:

High – well to excessively drained sands and gravel with rapid rates of infiltration and low runoff potential = 10.

Moderate – moderate to well drained soils having medium textures and moderate rates of water transmission.  Some areas have both high and low recharge = 5.

Low – poorly drained silts and clays with slow infiltration rates and high runoff potential = 1.

Sensitivity Ranking Examples:

Optimum Water Well (lowest sensitivity)

Depth  = 2000 feet : 1 (ranking) X .50 (weighting) = .50

Age = 1 : 1 (ranking) X .10 (weighting) = .10

Aquifer = Wilcox : 1 (ranking) X .25 (weighting) = .25

Soil Recharge = low : 1 (ranking) X .15 (weighting) = .15

Total = 1

Worst Case Scenario (highest sensitivity)

Depth  = 25 feet : 10 (ranking) X .50 (weighting factor) = 5

Age = 62 : 10 (ranking) X .10 (weighting) = 1

Aquifer = Terrace : 10 (ranking) X .25 (weighting) = 2.5

Soil Recharge = high : 10 (ranking) X .15 (weighting) = 1.5

Total = 10

### Vulnerability Factors and Weighting

Vulnerability factors include the types and number of potential sources of contamination and their distance from the well.  The ranking scheme for vulnerability was based on sources or causes of contamination of ground water impacting public water supplies in the past, review of ranking schemes in the literature, and the experience of the DEQ Wellhead Protection Program staff.  Potential sources of contamination were ranked as high, medium, or low risk.  The potential sources will then be weighted according to their proximity to the well.

SIGNIFICANT POTENTIAL SOURCES OF CONTAMINATION AFFECTING GROUNDWATER

### Higher Risk

Abandoned Water Well

Above Ground Storage Tank

Agriculture Chemical- Formulation/Distribution

(pesticide/insecticide)

Animal Feed Lots/Dairies (including impoundments)

Battery Recyclers

Body Shop/Paint Shop

Cercla Site

Chemical Plant

Class V Injection Wells

- Motor Vehicle Waste Disposal Wells

- Industrial Waste Disposal Wells

- Large Capacity Cesspools

Dry Cleaner/Laundromat

Inactive/Abandoned Site

Military Facility

Petroleum (includes bulk plants)

Septic System

Truck terminal

Underground Storage Tank

Wood Preserving Plant

# Medium Risk

Airport

Auto/Boat/Tractor/Small Engine Shop

Class I Injection Well (Industrial & Hazardous)

Class II Injection Well (Oil & Gas)

Class III Injection Well (Mining Salt or Sulphur)

Furniture Stripping

Inactive Water Well

Oil/Gas Well and Associated Drilling Activities (including impoundments)

Oxidation Pond

Promiscuous Dump

Railroad Yard - Switching

Railroad Yard- Loading and Offloading

Railroad Yard- Maintenance

Sand/Gravel Pit

Sanitary Landfill (active or inactive)

Sewer Treatment Plant (including impoundments)

Surface Impoundments (industrial)

# Lower Risk

Asphalt Plant

Car Wash

## Cemetery

Funeral Home

Golf Course

Hospital

Irrigation Well

Lumber Mill

Metal Plating/Metal Working

Nuclear Plant

##### Paper Mill

Pipeline Compressor Stations

Plant Nursery

Port Facilities

Power Plant

Printing Shops

Salvage Yard

##### Sewer Lift Station

##### Line Potential Sources of Contamination

Railroads, Pipelines and Sewer Lines, Roads, and Hazardous Waste Transportation Routes are Line Potential Sources of Contamination subject to spills and leaks.  They will be rated based on a pertinent number per square mile in the delineated area.  (Also septic systems).

###### Weighting of Potential Sources of Contamination

A six-tier approach will be used to rate potential sources of contamination according to their distance from the well.  Potential sources of contamination within 1000 feet of the well are considered most critical, and five tiers will be utilized inside of 1000 feet as follows:

# Distance from Well	Potential Source of Contamination

High		Medium	Low

0'   -   200' 		25		12.5		2.5

>200'  -    400'		20		10.0		2.0

>400'  -    600'		15		  7.5		1.5

>600'  -    800'		10		  5.0		1.0

>800'  -  1000'	  	  5                      2.5                 0.5

>1000'		 	  1                      0.5 		0.1

A graphic example of the tiered weighting system is attached to the end of this matrix.

In the cases where there are two or more wells clustered together, an inventory and a potential vulnerability number will be assigned to each well separately. The potential vulnerability score for each well will be divided by the unit area of the specific delineated area for that well. This will allow for comparison of the relative potential susceptibility totals of all wells in a system and statewide.

A 1000' radius translates to 0.1127 square miles.

A 2640' radius (1/2 mile) translates to 0.785 square miles.

A one (1) mile radius translates to 3.142 square miles.

Large systems will automatically have large totals because of the number of wells.  The potential vulnerability number divided by the unit area eliminates the bias introduced by large systems with a large number of wells.

Vulnerability Ranking Examples:

Potential Sources of Contamination >1000 feet from well:

6 USTs = 1.0 (weighting) X 6 = 6.0

1 Car Wash = 0.1 (weighting) X 1 = 0.1

1 Dry Cleaner = 1.0 (weighting) X 1 = 1.0

1 Boat Repair Shop = 0.5 (weighting) X 1 = 0.5

Total = 7.6

Potential Sources of Contamination within 1000 feet of well:

3 USTs  300’ from well = 20 (weighting) X 3 = 60

2 USTs 500’ from well = 15 (weighting) X 2 = 30

1 UST 120’ from well = 25 (weighting) X 1 = 25

1 Car Wash 700’ from well = 1 (weighting) X 1 = 1

1 Dry Cleaner  800’ from well = 10 (weighting) X 1 = 10

1 Boat Repair Shop 600’ from well = 5 (weighting) X 1 = 5

Total = 131

Potential Vulnerability = Vulnerability Score / unit area of SWPA

Assuming both are a 1-mile radius SWPA:

7.6 / 3.142 = 2.4

131 / 3.142 = 41.7

Initial Potential Susceptibility Analysis for Each Public Water Supply System

An initial potential susceptibility analysis, or Phase I analysis will be conducted for each water system when the assessment is complete.  As previously mentioned the comparative, or Phase II, analysis will be conducted when all assessments are complete.  The Initial, or Phase I, analysis will consist of:

1. A sensitivity analysis will be conducted for all PWS wells based on the Sensitivity Scale of    1–10 developed for the Matrix:

| Sensitivity Ranking | Range |
| --- | --- |
| Low | 1 – 3 |
| Medium | 4 – 7 |
| High | 8 - 10 |

2. The relative vulnerability of the system to potential sources of contamination will be given as the number of high, medium and low risk potential sources of contamination identified within 1000 feet of the well and greater than 1000 feet from the well within the source water protection area.  Potential sources located within 1000 feet of the well are assumed to pose a higher risk due to their proximity to the well.

Example of How the Final Potential Susceptibility Number is Determined for a Well

POTENTIAL SENSITIVITY RANKING NUMBER				  8

PLUS

POTENTIAL VULNERABILITY RANKING NUMBER			  6

TOTAL								14

For a one well water supply system, this is the potential susceptibility number for that ground water system.

For a two well system, if the second well has a potential susceptibility number of 16, the water system potential susceptibility number is 14 + 16  = 30/2=15.

The logarithmic formula in Section 6.3.2 of the document is then applied to the range of ground water public supply system potential susceptibility numbers statewide for a final comparative ranking between 1 and 10.