Louisiana Department of Environmental Quality

Source Water Assessment Program

Potential Susceptibility Assessment of a

# Surface Water Source of Public Drinking Water

## Basis for Assessment

The following sections contain information necessary to understand how and why this assessment was conducted. It is important to review this information to understand what the ranking of this source means.  A map showing the delineated source water protection area and the inventory of significant potential sources of contamination identified within that area are attached.  The list of significant potential sources and their rankings used to develop the assessment is also attached. If you have any questions regarding this assessment, please contact DEQ, Environmental Evaluation Division at 225-765-0578 or call 1-800-263-4012.

### A. Background

Under the Safe Drinking Water Act Amendments of 1996, all states are required by the U.S. Environmental Protection Agency (EPA) to assess every source of public drinking water for its relative susceptibility to contaminants regulated by the Act.  This Phase I assessment is based on a land use inventory of the delineated protection area.  A Phase II assessment will also include sensitivity factors associated with the intake and source water.  The Phase II assessment will be conducted upon completion of all source water assessments for systems using surface as a drinking water source.

### B. Level of Accuracy and Purpose of the Assessment

Since there are over 2000 public water supply systems in Louisiana, there is limited time and resources to accomplish these assessments.  All assessments must be completed by May 6, 2003.  An in-depth, site-specific investigation of each significant potential source of contamination was not possible.  Therefore, this assessment should be used as a planning tool, taken into account with local knowledge and concerns, to develop and implement appropriate protection measures for this source.  The results should not be used as an absolute measure of risk and they should not be used to undermine public confidence in their water system.

## Methodology

### A. Identification of Significant Potential Sources of Contamination

A significant potential source of contamination (SPSOC) is defined as any facility or activity that stores, uses, or produces, as a product or by-product, the contaminants regulated under the Safe Drinking Water Act and has a sufficient likelihood of releasing such contaminants at levels that could pose a concern relative to drinking water sources.  The SPSOC locations were obtained by field surveys conducted by DEQ and from available databases.

### B. Potential for Contamination by Significant Potential Sources of Contamination Identified on the Map

Potential contamination sources are facilities that use, produce, or store contaminants of concern (those regulated under the Safe Drinking Water Act) which, if improperly managed, could find their way into a source of public drinking water.  It is important to understand that a release may never occur from a SPSOC provided they are using best management practices.  Many SPSOC are regulated at the federal level, state level, or both to reduce the risk of a release.  There are a number of methods that water systems can use to work cooperatively with SPSOC.  These often involve educational visits and inspections of stored materials.  Many owners of such facilities may not even be aware that they are located near a public water supply intake.

### C. Ranking of Significant Potential Sources of Contamination

Significant potential sources of contamination were ranked as high, medium, or low risk according to the following considerations: 1) Sources of surface water contamination in the past, 2) Sources of surface water contamination in the past which have caused contamination of public water supply intakes, 3) Review of ranking schemes in the literature from other states and the U.S. EPA, and 4) Experience of DEQ staff.  An important consideration is the proximity of significant potential sources to the water body.  Potential contamination sources located in closest proximity to the water body will pose the greatest threat.  The greater the distance the less chance of contamination, because dilution and degradation increase with distance.  Most public surface water supply contamination incidents in the State of Louisiana have resulted from spills, accidents, or pesticide application.  The further away a significant potential source of contamination is located from the water body the lower the risk to the intake, even if the SPSOC is considered to be a high-risk activity or facility.

### D. Determination of Intake and Source Sensitivity

Since surface water sources are open to the atmosphere, they are considered inherently sensitive.  However, data collected from each system during the source water assessments will be used to develop a comparative sensitivity ranking among surface water systems.  The overall sensitivity ranking will be derived considering the following factors:

- Structural integrity of the intake – inferred from the age of the intake.  The older the intake, the higher the sensitivity.

- Length of streams in the source water protection area - the assumption is that there is a greater potential for negative impact on surface water when the length of rivers and streams in the area is high.  The stream data will be obtained from the U.S. Geological Survey.

- Runoff – there is greater potential for negative impact on the surface water when the runoff is high.  Factors that influence runoff are precipitation, slope, vegetative cover, and soil permeability.  High precipitation, steep slope, low vegetative cover, and low soil permeability contribute to high runoff.  The precipitation data will be obtained from the Louisiana Office of State Climatology, Southern Region Climate Center at Louisiana State University.  The slope data will be obtained from the U.S. Department of Agriculture Soil Conservation Service soils geographic database (STATSGO).  The vegetative cover data will be obtained from the U.S. Geological Survey.  Soil permeability data will be obtained from the State of Louisiana Aquifer Recharge Potential Map prepared for DEQ by the Louisiana Geological Survey, and from the U.S. Department of Agriculture Soil Conservation Service soil surveys.

## Prioritization for Protection Activities

This susceptibility assessment should be used as a basis for determining appropriate new protection measures or reevaluating current protection efforts.  No matter what the susceptibility ranking a source receives, protection is always important.  Whether the source is currently located in a “pristine” area or an area with numerous industrial landuses that require education and surveillance, the way to ensure good water quality in the future is to act now to protect valuable water supply resources.

An effective source water protection program is tailored to the particular local source water protection area.  It is the intent of DEQ to begin protection activities when the Source Water Assessment Program is completed.  However, local water supplies or communities may take steps to address SPSOCs of particular concern by contacting the appropriate state regulatory agency shown in the attached List of Regulatory Contacts.   A comparative potential susceptibility analyses will be conducted upon completion of all assessments to determine a relative risk ranking among all public water supply systems.  The results of this analysis will be used to develop a prioritization scheme for implementing protection activities.  The comparison is based on the intake and source sensitivity analysis and the density of potential sources of contamination for each intake.

## Source Water Assessment Results

Water System Name:

PWS ID Number:

Water Source:

Date of Assessment:

### Vulnerability Analysis – based on the types and numbers of significant potential sources of contamination (SPSOC) and their distances from the surface water source.

| Intake | # High Risk SPSOC W/in Critical Area* | # Medium Risk SPSOC W/in Critical Area* | # Low Risk SPSOC W/in Critical Area* | # High Risk SPSOC Outside Critical Area* | # Medium Risk SPSOC Outside Critical Area* | # Low Risk SPSOC Outside Critical Area* |
| --- | --- | --- | --- | --- | --- | --- |

* Critical Area is defined as a 1000 foot perimeter around lakes and reservoirs and 1000’ from the banks on either side of rivers and streams for a distance of 5 linear miles upstream of the intake.  SPSOCs located within the critical area were identified by a field survey.  SPSOCs located outside of the critical area were identified by a database search.