Storm Water Pollution Prevention Plan

Storm Water Pollution Prevention Plan

(SWPPP)

Permit Number: LAR ______________

Prepared For:

_____________________________________

Development Name & Location:

Prepared by:

Date:

________________

This Storm Water Pollution Prevention Plan (SWPPP) is provided by the Louisiana Department of Environmental Quality (LDEQ) Business and Community Outreach/Small Business Assistance Division (BCO/SBA).   LDEQ BCO/SBA technical services are provided courtesy of LDEQ.  Providing this document does not certify that the information is complete or complies with all requirements. The BCO/SBA claims no responsibility for omissions or inaccuracies in values or information presented to the LDEQ Administrative Authority by businesses seeking compliance with state environmental regulations. The LDEQ Administrative Authority alone determines when compliance is achieved; and, businesses are ultimately responsible for satisfying all requirements of such Authority

CERTIFICATIONS

To Be Completed by Construction Site Operator

(Plans and Specifications Operational Control)

“I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gather and evaluate the information submitted.  Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete.  I am aware that there are significant penalties for attesting to false information, including the possibility of fine and imprisonment for knowing violations.”

| Name and Title |  | Telephone Number |
| --- | --- | --- |
| Signature |  | Date |

To Be Completed by Construction Site Operator

(Day-to-Day Operational Control)

“I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gather and evaluate the information submitted.  Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete.  I am aware that there are significant penalties for attesting to false information, including the possibility of fine and imprisonment for knowing violations.”

| Name and Title |  | Telephone Number |
| --- | --- | --- |
| Signature |  | Date |

SWPPP Revision Documentation Form

This storm water pollution prevention plan (SWPPP) should be revised and updated to address changes in site conditions, new or revised government regulations, and additional on-site storm water pollution controls.  The signature of this representative attests that the SWPPP revision information is true and accurate.  Previous authors and facility representatives are not responsible for the revisions.

| Number | Date | Company Representative’s Signature |
| --- | --- | --- |

CONTENTS

- CONTACT INFORMATION

- OBJECTIVE

- NON-STORM WATER DISCHARGES

- SWP3 REVIEW AND AMENDMENTS

  - Review

  - Amendments

- SITE OR PROJECT DESCRIPTION

  - Description of Construction Activity & Environmental Impacts

  - Construction Activity with Potential Pollutant Sources

  - Major Activities Schedule

  - Property Acreage

  - Construction Activity Acreage

  - Soil Data

  - General Location Map and Site Map

  - Erosion and Sediment Control Site Map

  - Industrial Discharges

  - Receiving Waters

  - LPDES Construction General Permit,

LAR100000

  - Threatened and/or Endangered Species

  - Historical Determination

  - Total Maximum Daily Loading (TMDL)

- EROSION AND SEDIMENT CONTROLS

  - Short & Long Term Goals/Criteria

  - Best Practicable Technology (BPT)

  - Site-specific Erosion and Sediment Controls

- STABILIZATION PRACTICES

  - Deadline to Initiate Stabilization Measures

  - Deadline to Complete Installation of Stabilization Measures

  - Other Deadlines

  - Stabilization Records

- STRUCTURAL CONTROLS

  - Structural Control Requirements

  - Site Structural Controls

- STORM WATER MANAGEMENT

- OTHER CONTROLS

  - Other Control Requirements

  - Other Controls at the Site

- APPROVED LOCAL PLAN

- MAINTENANCE

- INSPECTIONS OF CONTROLS

- CONTRACTORS AND SUBCONTRACTORS RESPONSIBILITIES

- UTILITY COMPANIES

APPENDICES

APPENDIX A, General Location Map and Site Map

APPENDIX B, LPDES Storm Water Construction General Permit

APPENDIX C, Site Information

1.	General Description Sheet

2.	Schedule Sheet for Soil Disturbing Activities

3.	Soil Data Sheet

4.	Erosion and Sediment Control Site Map

5.	Erosion and Sediment Control Plan

6.	Stabilization Practice Schedule

7.	Structural Control Sheet

8.	Construction Site Inspection Report

1.0.	CONTACT INFORMATION

| property OWNER | PHONE/FAX/MOBILE | ADDreSS |
| --- | --- | --- |
| PROJECT CONTRACTOR |  |  |
| PROJECT EROSION LEAD/ 24-HOUR CONTACT |  |  |
| OTHER |  |  |

- OBJECTIVE

A storm water pollution prevention plan must be prepared for storm water discharges that will reach Waters of Louisiana, including discharges to the Municipal Separate Storm Sewer System (MS4), and to identify and address potential sources of pollution that are reasonably expected to affect the quality of discharges from the construction site, including off-site material storage areas, overburden and stockpiles of dirt, borrow areas, equipment staging areas, vehicle repair areas, fueling areas, etc., used by the permitted project. The SWP3 must describe and ensure the implementation of practices that will be used to reduce the pollutants in storm water discharges associated with construction activity at the construction site and assure compliance with the terms and conditions of the general permit.

3.0	Non-Storm Water Discharges

The following non-storm water discharges are authorized for discharge under the LPDES storm water construction general permit LAR100000 and LAR 200000:

- discharges from fire fighting activities;

- fire hydrant flushings;

- waters used to wash vehicles where detergents are not used;

- waters used to control dust in accordance with LAR 100000 Part 		IV.D.2.c.(2) and/or LAR 100000 Part III.D.2.c.(2);

- potable water sources including waterline flushings;

- routine external building washdown which does not use detergents;

- pavement washwaters where spills or leaks of toxic or hazardous 	materials have not occurred (unless all spilled material has been 	removed) and where detergents are not used.

- air conditioning condensate; uncontaminated groundwater or spring 	water;

- foundation or footing drains where flows are not contaminated with 	process materials such as solvents;

- uncontaminated excavation dewatering; and

- landscape irrigation.

4.0	SWP3 REVIEW AND AMMENDMENTS

4.1	Review

This SWP3 must be retained on-site at the construction site or, if 			the site is inactive or does not have an on-site location to store the 			plan, a notice must be posted describing the location of the SWP3.  		This SWP3 must be made readily available at the time of an on-site 		inspection.

  - Amendments

This SWP3 will be revised or updated when the following occurs:

1.	Change in design, construction, operation, or maintenance 				that has a significant effect on the discharge of pollutants 				and that has not been previously addressed in this SWP3.

- Results of inspections or investigations indicating this SWP3 		is proving ineffective in eliminating or significantly minimizing 	pollutants in discharges authorized under the general permit.

- To identify any new contractor and/or subcontractor that will 	implement a measure of the SWP3.

All other permittees implementing portions of the SWP3 that will be 			impacted by a change to the SWP3 will be notified of the change in 			a timely fashion.

The revisions to the SWP3 will be documented on the “SWPPP 			Revision Documentation Form” found in the front of this document. 			The authorized representative with regulatory authority (corporate 			officer or proprietor) to approve the SWPPP shall sign the modified 			plan certifying that the SWPPP revision information is true and 			accurate.

5.0	Site or Project Description

5.1	Description of Construction Activity & Environmental Impacts

Developer:_____________________________________________________________________________________________________________________________________________________________________________

Builder:_____________________________________________________________________________________________________________________________________________________________________________

SiteLocation:___________________________________________________________________________________________________________________________________________________________________________

Site/Project Description and Mitigation of Potential Environmental Impacts:_______________________________________________________________________________________________________________________________________________________________________________

_______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

5.2	Construction Activity with Potential Pollutants and Sources

The following lists the construction activities or materials that have 			the potential to contribute pollutants, including sediment, to storm 			water runoff.

| # Construction Activity and/or Material | # Potential Pollutant |
| --- | --- |
| - Land clearing | - Sediment – Total Suspended Solids (TSS), turbidity, oil and grease, Total Petroleum Hydrocarbons (TPH) |
| - Excavation | - Sediment – TSS, turbidity, oil and grease, TPH |
| - Filling | - Sediment – TSS, turbidity, oil and grease, TPH |
| - Paving | - Sediment – TSS, turbidity, oil and grease, TPH, pH |
| - Install foundations, retaining walls, etc | - Sediment – TSS, turbidity, oil and grease, TPH, pH |
| - Grading | - Sediment – TSS, turbidity, oil and grease, TPH |
| - Utilities | - Sediment – TSS, turbidity, oil and grease, TPH |

5.3	Major Activities Schedule

The following schedule sheet is an intended schedule 	or sequence of major activities that will disturb the soil for major portions of the site.  Details (for complex projects) are provided as an attachment in Appendix C, if applicable.

Schedule Sheet for Soil Disturbing Activities

Estimate Construction Start Date:  ______________________

Estimate Construction End Date:   ______________________

| # Activity | Estimated Time | # Actual Time |
| --- | --- | --- |
| Land clearing |  |  |
| Excavation |  |  |
| Filling |  |  |
| Paving |  |  |
| Install foundations, retaining walls, etc |  |  |
| Grading |  |  |
| Utilities |  |  |

5.4 	Property Acreage

The total area of the property is ______ acres.  The total anticipated area of soils to be disturbed is _______ acres.

5.5	Construction Activity Acreage

The total number of acres of construction activities, material 	storage areas, stockpiles, and borrows areas are listed below:

| # Activity or Material | # Acres |
| --- | --- |
| Construction Activities (resulting in land disturbance) |  |
| Off-site Material Storage Areas |  |
| Overburden and Stockpiles of Dirt |  |
| Borrow Areas |  |

5.6	Soil Data

Soil data for each lot is listed on a “Soil Data Sheet”.  This information includes pre-construction and post-construction runoff coefficient as well as a description of the soil type.

Soil Data Sheet

Pre-construction runoff coefficient: ____________________

Post-construction runoff coefficient: ___________________

Runoff Coefficient:

High: 70-100% impervious (example: asphalt, buildings, paved surfaces)

Medium: 40-70% impervious (example: packed soils)

Low: 0-40% impervious (example: grassy areas)

Description of soil:   soil name(s), soil mapping unit, erodability, settleability, depth, texture and soil structure: 	_____________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

5.7  	General Location Map and Site Map

The general location map found in Appendix A shows the location 			of the site.  A detailed site map is also attached.

  - Erosion and Sediment Control Site Map

The site map includes the following:

- Drainage patterns and approximate slopes anticipated after 	major grading activities.

- Areas where soil disturbance will occur and where soil will 				not be disturbed.

- Locations of all major structural and non-structural controls 				either planned or in place.

- Locations where stabilization practices are expected to be 			used.

- Locations of off-site material, waste, borrow, fill, or 				equipment storage areas.

- Surface waters (i.e. creeks, streams, or ponds including 			wetlands) either adjacent or in close proximity of site.

- Locations where storm water discharges from the site.

  - Industrial Discharges

This project does/does not (circle one) involve discharges associated with industrial activities other than commercial construction activities.

For construction occurring on an industrial site, reference existing multi-sector SWPPP, if applicable.

There are/are not (circle one) dedicated concrete or asphalt plants associated with this project.

There will be no discharge of process wastewater from concrete or asphalt plants.  A separate pollution prevention plan will be developed for concrete/asphalt plants.  Asphalt releasers will be captured by a drip pan, absorbent material, or other means and disposed of properly on a daily basis.

  - Receiving Waters

The first named water body that receives stormwater discharges from the site is ____________________________.  (See Appendix A:  General Site Location Map)

The Designated Uses (LAC 33:IX.1123, Table 3) for this water body are:

___________________________________________________________

  - LPDES Construction General Permit, LAR100000

A copy of the LPDES Construction General Permit, LAR100000/LAR200000 (circle one) is included in Appendix B.

5.12	Threatened and/or Endangered Species

To be eligible for coverage under the construction stormwater permit, facilities must provide documentation on whether a listed endangered or threatened species, or critical habitat, are found with the proximity of the project.  The facility used The Endangered Species Guidance provided in the Notice of Intent to help determine the status of the site.  The species that must be considered in the Parish where this site is located are:  __________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

A visual inspection of the area indicated (Check One):

No endangered or threatened species and/or critical habitat located within the proximity of the facility.

The following species and/or critical habitat and findings were noted:

________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

NOTE:  Include documentation regarding authorization under the Endangered Species Act (ESA), comprehensive site assessments, and/or BMP’s that are protective of listed endangered and threatened species and/or critical habitat, where applicable.

5.13	Historical Determination

The adverse effects on historic properties must be considered before a facility can be covered by the construction general permit.  The National Register of Historic Places web site was reviewed and revealed the following (Check One):

None of the listed sites are located in the vicinity of the facility, or listed sites will not be affected by the facility.

The following sites are located in the vicinity of the facility (Louisiana State Historic Preservation written agreement included in Appendix A.)

_____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

NOTE:  Include written agreement with the Louisiana State Historic Preservation Officer (SHPO) that outlines all measures to be undertaken to mitigate or prevent adverse effects to the historic property, where applicable.

5.14	Total Maximum Daily Loading (TMDL)

The LDEQ-designated Sub-segment for this facility is Sub-segment Number ______________________________. (Check one):

Currently, there is no TMDL established for the receiving stream 	that would regulate potential pollutants from the construction site.

The BMP’s chosen for this site and discussed in this SWPPP are expected to ensure that storm water discharges are in compliance with the TMDL for this site.

NOTE:  Refer to most recent EPA-approved Quality Inventory Section 305(b) Integrated Report’s Appendix A for sub-segment information.

6.0	Erosion and Sediment Controls

This section includes descriptions of control measures that will be implemented to control pollutants in the storm water discharges.  The control measures shall, at a minimum, be designed to effectively minimize the discharge of pollutants by design, installation, and maintenance, in order to meet effluent limitations required by 40 CFR 450.21.  These limitations were incorporated into the reissued LAR200000, effective March 1, 2012, and the reissued LAR100000, effective October 1, 2014.

6.1	Short and Long Term Goals/Criteria

- Retain sediment on-site to the extent practicable with consideration 			for local topography, soil type, and rainfall.

- Select, install, and maintain control measures according to the 			manufacturer or designer’s specifications.

- Remove sediment accumulations if sediment escapes the site at a 			frequency to minimize further negative effects and, whenever 			feasible, prior to the next storm event.

- Remove sediment from sediment traps and sedimentation ponds 			no later than the time that design capacity has been reduced by 			50%.

  - Remove sediment from silt fences before reaching 50% of fence height (above ground).

  - Address off-site material storage areas in erosion and sediment control efforts (overburden and dirt stockpiles, borrow areas).

6.2	Best Practicable Technology (BPT)

The chosen controls shall include designs that are effective at minimizing pollutants, and should be installed and maintained to:

- Control storm water volume and velocity in ways that minimize soil erosion.

- Control storm water runoff during peak flow and total storm runoff volume to minimize channel and stream bank erosion and scour around discharge points.

- Minimize exposed soils generated during construction.

- Preserve topsoil where feasible.

- Minimize disturbance of steep slopes on site.

- Minimize sediment discharge with erosion and sediment controls that are designed and installed to address:

  - Duration, amount, frequency and intensity of precipitation,

  - Nature of resulting runoff,

  - Soil characteristics:  range of particle sizes present.

- Use natural buffers around waters of the state and direct runoff to these areas, where feasible.

  - Discharges to Outstanding Natural Resource Waters and impaired (Category 5 or 4a), listed in Appendix A of the most recent EPA-approved Quality Inventory Section 305(b) Integrated Report must have a 50-foot buffer zone,

  - Explain alternative practices where site constraints limit buffer zones.

- Minimize soil compaction unless dictated by site development

- Utilize outlet structures that withdraw water from the surface of settling basins or impoundments.

  - Site-Specific Erosion and Sediment Controls

The erosion and sediment control methods used are listed in the “Erosion and Sediment Control Plan”. The plan for each lot, where applicable, is found in the “Individual Lot Information” section of the appendix.  The sediment controls should address all of the requirements in Sections 6.1 and 6.2 of this SWPPP.

7.0  	Stabilization Practices

The site stabilization practices described in this SWPPP include interim and permanent stabilization   measures that ensure that disturbed portions of the site are stabilized, and that existing vegetation is preserved when possible.  Final stabilization measures may include but are not limited to establishment of permanent self-sustaining perennial vegetation, mulching, geo-textiles, sod stabilization, vegetative buffer strips, protection of existing trees and mature vegetation, and other appropriate measures.

7.1	Deadline to Initiate Stabilization Measures

The types of activities that constitute the initiation of stabilization include, but are not limited to:

- Prepping soil for vegetative or non-vegetative stabilization

- Applying mulch or other non-vegetative product

- Seeding or planting

- Starting stabilization practices on a porting of the area to be stabilized

- Finalizing arrangements to have stabilization product fully installed.

Stabilization measures will be initiated immediately in 	portions of the site where clearing, grading, excavating, or other earth disturbing  activities have permanently ceased on any portion of the site, or temporarily ceased and will not resume for 14 days.  If earth disturbing activities will resume within 14 days, stabilization measures do not have to be initiated on that portion of the site.

7.2	Deadline to Complete Installation of Stabilization Measures

As soon as practicable, but no later than 14 days after initiation of soil stabilization measures, the site will have completed:

  - Vegetative Stabilization – initial seeding or planting, and/or

  - Non-Vegetative – installation or application of stabilization measures.

With extenuating circumstances like drought, stabilization measures will be completed as soon as practicable.  Routine inspections will be continued until final stabilization requirements, as defined in Part IX of the permit, are met

  - Other Deadlines

Where the site is affected by circumstances beyond the control of the Stormwater Permittee, and vegetative stabilization measures are proposed, the following deadlines apply:

- Immediately initiate, and within 14 days complete installation of temporary non-vegetative measures to prevent erosion.

- As soon as conditions allow, the activities required to plant and initially establish vegetation will proceed.

The circumstances that led to the inability to complete the deadlines outlined in sections 7.1 and 7.2 of this SWPPP will be documented, with the outline of a schedule for initiating and completing stabilization.

7.4	Stabilization Records

The stabilization practices implemented will be recorded on the “Stabilization Practice Schedule” found in the appendix.  If construction activities temporarily or permanently cease, then it will be noted in the Stabilization Practice Schedule.

Stabilization Practice Schedule

Address: ___________________________________________

| # Stabilization Practices | # Location | # Time Frame* |
| --- | --- | --- |

* Time Frame: Includes dates of major grading activities, dates when construction activities temporarily or permanently ceases on a portion of the site, date when stabilization measures are initiated.

- Structural Controls

8.1   Structural Control Requirements

Sediment traps and sediment basins may be used to control 	solids in storm water runoff for drainage locations serving less than ten (10) acres.  Sediment basins must utilize outlet structures that release water from the surface, unless infeasible.

At a minimum, silt fences, vegetative buffer strips, or equivalent 			sediment controls are required for all down slope boundaries (and 		for those side slope boundaries deemed appropriate as dictated by 		individual site conditions) of the construction.

  - Site Structural Controls

The structural controls used on each lot are listed on the Structural Controls Sheet included in the Site Information Section of 	the appendix. These controls are used to divert flows away from exposed soils, to limit the contact of runoff with disturbed areas, or to lessen the off-site transport of eroded soils.

Structural Control Sheet

Address: ______________________________________

| Structural Control Selected | Rational |
| --- | --- |

9.0 	Storm Water MANAGEMENT

If any permanent storm water controls (e.g. detention ponds, catch 	basin filter inserts, etc.) or velocity dissipation devices are installed during the construction process to control pollutants in storm water discharges and will remain in place after the completion of construction operations will be noted on the Structural Control Sheet found in the Site Information section of the appendix.

10.0 	Other Controls

10.1  	Other Control Requirements

To minimize off-site tracking of sediments and generation of dust,  	typical controls may include stabilized construction entrances, 	shoveling and sweeping, watering for dust control, etc.

All construction and waste materials that pose a potential pollutant 	source to the storm water runoff from the construction site will be 	stored in such a manner so as to prevent or minimize storm water 	contact.

To demonstrate that all applicable state and local regulations 	governing waste disposal, 	sanitary sewer or septic systems are 	being obeyed, the following practices are in place:

- The site will have the typical waste lumber, insulation, sheetrock, roofing, used paint 	supplies, etc. commonly found on a construction site. Either a roll off dumpster or wire fence containment will be provided for storing trash and rubbish until it can be properly disposed of. The dumpster or fence containment will be covered  when not in use to prevent storm water from coming into contact with the trash and rubbish.

- Any concrete or asphalt plants associated with the project will be permitted and operated under their appropriate stormwater pollution prevention control plans.

- Any controls required for endangered or threatened species or their habitat, and/or those required by the State Historic Preservation Officer (SHPO) will be installed properly and maintained accordingly.

  - Other Controls at the Site:

If any other controls will be used, it will be described on the Other Control Sheet found in the Site Information in the appendix.  For complex sites with more comprehensive controls, details are included in Appendix C.

Other Controls Sheet

| Controls | Rationale |
| --- | --- |
| Dust - | Water as needed |
| Off-site Tracking - | Shoveling or sweeping as needed |
| Sewage - | Port-a-toilets for workers; POTW for residence |
| Construction Litter and Trash - | Covered dumpster to minimize waste materials contact with storm water |

- APPROVED LOCAL PLAN

The local requirements for an Erosion and Sediment Control Plan

have been fulfilled and are included in the “Site Information” 	section of the appendix.

12.0	Maintenance

All erosion and sediment control measures and other protective measures 	identified in this SWP3 must be maintained in effective operating 	condition.  If through inspections the permittee determines that BMPs are 	not operating effectively, maintenance must be performed before the next 	anticipated storm event or as necessary to maintain the continued 	effectiveness of storm water controls.  If maintenance prior to the next 	anticipated storm event is impracticable, maintenance must be scheduled 	and accomplished as soon as practicable.  Erosion and sediment controls 	that have been intentionally disabled, run-over, removed, or otherwise 	rendered ineffective must be replaced or corrected immediately upon 	discovery.

13. 0	Inspections of Controls

Inspections will be performed as indicated below.

_____ Inspections of controls will occur once every seven (7) calendar 	days occurring on the same day of the week.

_____ At least once every 14 calendar days, before anticipated storm 	events (or series of storm events such as intermittent showers over one or 	more days) and within 24 hours of the end of a storm event of 0.5 inches 	or greater.

The inspection report will be reported using the Construction 	Site Inspection Report found in the Site Information section.

During these inspections, erosion and sediment control measures 	identified in the SWP3 shall be observed to ensure that they are operating 	correctly.  Locations where vehicles enter or exit the site shall be 	inspected for evidence of off-site sediment tracking.

Based on the results of the inspection, the site description and pollution 	prevention measures in this plan shall be revised as appropriate, but in no 	case later than seven calendar days following the inspection. Such 	modifications shall provide for timely implementation of any changes to the 	plan within seven calendar days following the inspection.

A report summarizing the scope of the inspection, name of personnel 	making the inspection, the date of the inspection, major observations 	relating to the implementation of the SWP3 (including if applicable the 	location(s) of discharges of sediment or other pollutants from the site and 	any control devise that failed to operate as designed or proved inadequate 	for a particular location), and actions taken shall be made and retained as 	part of the SWP3 for at least three years from the date that the site is 	finally stabilized. Such shall identify any incidents of non-compliance.

If the inspection indicates the site is in compliance (no non-compliance 	issues found), then the report shall certify that no non-compliance issues 	were found.

- CONTRACTORS AND SUBCONTRACTORS RESPONSIBILITY

Each control measure implemented on site is identified along with the person responsible for implementing that measure in the Erosion and Sediment Control Plan found in the “Site Information” section of the appendix.

A list of contractors and subcontractors and the control measures their operations impact is listed in the “Site Information” section of the appendix.

All contractors and subcontractors working at the site are informed of 	the terms and conditions of the SWP3 and their obligation to follow the 	plan. 	In doing so, they agree not to perform their operations counter to 	the plan without first contacting the builder in order that the necessary 	adjustments 	to the SWP3 plan can be made to assure that pollutants are 	not discharged from the site in the storm water runoff.

- UTILITY COMPANIES

Each control measure relating to the installation of utility service, and the party implementing the measure is listed in the “Erosion and 	Sediment Control Plan” found in the “Site Information” section in the appendix.

- EMERGENCY NOTIFICATION

In the event of an unauthorized discharge that causes an emergency condition, the operator shall notify the hotline notify the hotline (DPS 24-hour Louisiana Emergency Hazardous materials Hotline) by telephone at (225) 925-6595 no later than one hour after learning of the discharge.  Notification will be made regardless of the amount of the discharge.   A written notification shall be provided within seven (7) calendar days after the telephone notification, in accordance with the general permit requirements.

### APPENDIX A

### General Location Map

AND

Site Map

#### APPENDIX B

#### LPDES Construction General Permit

#### LAR100000/LAR200000

(Circle One)

#### APPENDIX C

Site Information

Content:	1.	General Description Sheet

2.	Schedule Sheet for Soil Disturbing Activities

3.	Soil Data Sheet

4.	Erosion and Sediment Control Site Map

5.	Erosion and Sediment Control Plan

6.	Stabilization Practice Schedule

7.	Structural Control Sheet

8.	Construction Site Inspection Report

General Description Sheet

Description of Project: 	_____________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

___________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

___________________________________________________________

Schedule Sheet for Soil Disturbing Activities

Estimate Construction Start Date:  ______________________

Estimate Construction End Date:   ______________________

| # Activity | Estimated Time | # Actual Time |
| --- | --- | --- |
| Land clearing |  |  |
| Excavation |  |  |
| Filling |  |  |
| Paving |  |  |
| Install foundations, retaining walls, etc |  |  |
| Grading |  |  |
| Utilities |  |  |

Soil Data Sheet

Pre-construction runoff coefficient: ____________________

Post-construction runoff coefficient: ___________________

Runoff Coefficient:

High: 70-100% impervious (example: asphalt, buildings, paved surfaces)

Medium: 40-70% impervious (example: packed soils)

Low: 0-40% impervious (example: grassy areas)

Description of soil type: 	_____________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

Insert Erosion and Sediment Control Site Map

Insert Erosion and Sediment Control Plan

Stabilization Practice Schedule

Address: ___________________________________________

| # Stabilization Practices | # Location | # Time Frame* |
| --- | --- | --- |

* Time Frame: Includes dates of major grading activities, dates when construction activities temporarily or permanently ceases on a portion of the site, date when stabilization measures are initiated.

Structural Control Sheet

Address: ______________________________________

| Structural Control Selected | Rational |
| --- | --- |

INSPECTION REPORT

Address: 		____________________________________________

Date: 			____________________________________________

Inspector/Title: 	____________________________________________

| Erosion and Sediment Control Measure | Satisfactory Yes/No | Comments |
| --- | --- | --- |

Entrance(s):	Clear of Mud, Dirt, Debris, or Tracking 	Yes _____, No _____

Corrective Action________________________________________

Outfall Locations:	BMPs are in place and working.	Yes _____,	No _____

Corrective Action________________________________________

Disturbed Area(s):	BMPs are in place and working.	Yes _____,	No _____

Corrective Action________________________________________

Summary of Findings:

Non-Compliance Issues:

Site is in Compliance 	Yes _____	No _______

“I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gather and evaluate the information submitted.  Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete.  I also certify that a storm water pollution prevention plan, including both construction and post construction controls, has been prepared for the site in accordance with the permit and that such plan complies with approved State, Tribal and/or local sediment and erosion plans or permits and/or storm water management plans or permits. I am aware that signature and submittal of the NOI is deemed to constitute my determination of eligibility under one or more of the requirements of Permit Part I.A.3.e(1), related to the Endangered Species Act requirements. To the best of my knowledge, I further certify that such discharges and discharge related activities will not have an effect on properties listed or eligible for listing on the National Register of Historic Places under the National Historic Preservation Act, or are otherwise eligible for coverage under Part I.A.3.f of the permit. I am also aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations.”

| Name and Title |  | Telephone Number |
| --- | --- | --- |
| Signature |  | Date |