## Slide 1: Watershed Monitoring for Marsh Bayou (030603)
LDEQ NPS Program

## Slide 2: Goals
To investigate water conditions at loading sites identified by the AnnAGNPS model and at other points in the watershed to identify potential NPS pollution loading points
To identify potential sources of NPS loading coming into the watershed
To monitor attainment for water quality criteria
To identify where potential BMPs are needed within the watershed

## Slide 3: Recon Work
Met with Surveys group to go out and recon potential sites
Evaluated sites for potential flow and tape down measurements
Evaluated AnnAGNPS model outputs for loading to the stream
Gained access to stream below ambient site for data comparison

## Slide 6
Chart: Ambient Nitrate-Nitrite
| January | February | March | April | May | June | July | August | September | October | November | December
1999 | 0.02 | 0.26 | 0.02 | 0.05 | 0.23 | 0.24 | 0.2 | 0.3 | 0.03 | 0.05 | 0.04 | 0.26
2005 | 0.08 | 0.05 | 0.065 | 0.16 | 0.05 | 0.06 | 0.05 | 0.05 | 0.05
2008/2009 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05

## Slide 7
Chart: Nitrate-Nitrite for Marsh Bayou Sites 2011-2012
| June | July | August | September | October | November | December | January | February | March | April | May
4017 | 0.01 | 0.036 | 0.01 | 0.01 | 0.012 | 0.582 | 0.103 | 0.037 | 0.0195 | 0.043 | 0.064 | 0.01
4016 | 0.01 | 0.037 | 0.01 | 0.01 | 0.013 | 0.018 | 0.112 | 0.03 | 0.0155 | 0.01 | 0.055 | 0.01
4015 | 0.01 | 0.025 | 0.01 | 0.01 | 0.01 | 0.022 | 0.106 | 0.036 | 0.0245 | 0.01 | 0.083 | 0.014
4018 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.1 | 0.015 | 0.01 | 0.01 | 0.013 | 0.01
4019 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.96 | 0.104 | 0.028 | 0.0185 | 0.01 | 0.028 | 0.01
839 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.103 | 0.036 | 0.021 | 0.064 | 0.01
4020 | 0.036 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.103 | 0.027 | 0.01 | 0.024 | 0.01

## Slide 8
Chart: Ambient Phosphorus
| January | February | March | April | May | June | July | August | September | October | November | December
1999 | 0.15 | 0.22 | 0.1 | 1.06 | 0.21 | 0.22 | 0.24 | 0.28 | 0.41 | 0.36 | 0.77 | 0.29
2005 | 0.19 | 0.13 | 0.125 | 0.49 | 0.395 | 0.27 | 0.63 | 0.325 | 0.56
2008/2009 | 0.33 | 0.33 | 0.31 | 0.21 | 0.42 | 0.05 | 0.39 | 0.05 | 0.25 | 0.26 | 0.17

## Slide 9
Chart: Phosphorus for Marsh Bayou Sites 2011-2012
| June | July | August | September | October | November | December | January | February | March | April | May
4017 | 0.524 | 0.337 | 1.22 | 0.428 | 0.233 | 0.254 | 0.238 | 0.24 | 0.2025 | 0.383 | 0.228 | 0.284
4016 | 1.2 | 0.328 | 0.388 | 0.594 | 0.787 | 0.285 | 0.244 | 0.197 | 0.1495 | 0.432 | 0.182 | 0.212
4015 | 0.298 | 0.424 | 0.292 | 0.431 | 0.215 | 0.354 | 0.304 | 0.196 | 0.122 | 0.162 | 0.184 | 0.147
4018 | 0.712 | 0.542 | 0.661 | 0.679 | 0.667 | 0.5 | 0.265 | 0.101 | 0.0615 | 0.102 | 0.187 | 0.134
4019 | 0.322 | 0.337 | 0.516 | 0.292 | 0.612 | 0.094 | 0.188 | 0.076 | 0.173 | 0.05 | 0.108 | 0.0954
839 | 0.134 | 0.169 | 0.538 | 0.543 | 0.377 | 0.3 | 0.392 | 0.255 | 0.119 | 0.177 | 0.486
4020 | 0.089 | 0.162 | 0.072 | 0.173 | 0.081 | 0.09 | 0.302 | 0.146 | 0.156 | 0.163 | 0.05

## Slide 10
Chart: Ambient TKN
| January | February | March | April | May | June | July | August | September | October | November | December
1999 | 1.35 | 1.4 | 1.02 | 7.33 | 1.6 | 0.84 | 0.81 | 1.03 | 1.57 | 1.25 | 1.9 | 1.06
2005 | 1.57 | 0.97 | 1.76 | 4.36 | 2.325 | 1.3 | 2.19 | 1.195 | 1.5
2008/2009 | 1.42 | 1.63 | 0.84 | 2.1 | 1.75 | 1.05 | 1.04 | 0.52 | 0.1 | 1.21 | 1.19 | 1.01

## Slide 11
Chart: TKN for Marsh Bayou Sites 2011-2012
| June | July | August | September | October | November | December | January | February | March | April | May
4017 | 2.13 | 0.794 | 6.92 | 1.41 | 3.58 | 0.133 | 1.81 | 1.81 | 1.0085 | 1.73 | 0.716 | 1.02
4016 | 2.86 | 0.397 | 1.08 | 1.09 | 0.661 | 0.869 | 1.52 | 1.65 | 1.185 | 3.13 | 1.02 | 0.999
4015 | 0.959 | 1.1 | 1.03 | 1.38 | 0.72 | 0.977 | 1.48 | 1.69 | 1.1515 | 1.82 | 0.876 | 0.855
4018 | 1.41 | 1.06 | 2.42 | 1.02 | 2 | 1.74 | 1.49 | 1.52 | 1.0525 | 1.64 | 0.691 | 1.08
4019 | 1.5 | 0.348 | 2.64 | 1.51 | 4.43 | 2.48 | 1.74 | 1.75 | 1.007 | 1.31 | 1.04 | 0.951
839 | 0.702 | 0.552 | 1.19 | 1.9 | 1.32 | 0.854 | 1.15 | 1.58 | 0.954 | 0.823 | 0.761
4020 | 0.557 | 0.291 | 0.422 | 0.454 | 0.478 | 0.221 | 1.38 | 1.63 | 0.927 | 0.716 | 0.552

## Slide 12
Chart: Ambient Turbidity
| January | February | March | April | May | June | July | August | September | October | November | December
1999 | 40 | 65 | 55 | 600 | 25 | 29 | 35 | 22 | 6.4 | 8.2 | 14 | 45
2005 | 45 | 40 | 64 | 300 | 48 | 23 | 35 | 14.5 | 10.4
2008/2009 | 56 | 44.4 | 45.5 | 35.2 | 16 | 8.17 | 9.79 | 8.41 | 14.7 | 10.3 | 18.6 | 54.1

## Slide 13
Chart: Turbidity for Marsh Bayou Sites 2011-2012
| June | July | August | September | October | November | December | January | February | March | April | May
4017 | 21.5 | 16.2 | 64 | 20.5 | 19.2 | 116 | 54 | 33.8 | 32.4 | 69.5 | 53.5 | 28.6
4016 | 65.1 | 17.8 | 12.7 | 19.9 | 22.9 | 57 | 29.4 | 31.7 | 31.75 | 168 | 53 | 26
4015 | 7.44 | 5.44 | 3.74 | 4.63 | 6.57 | 10.6 | 21.2 | 37.6 | 29 | 33.8 | 59 | 14.5
4018 | 9.29 | 10.3 | 14.8 | 6.5 | 11.7 | 12 | 31.7 | 32 | 25.55 | 23.5 | 36.8 | 12.7
4019 | 10.4 | 7.19 | 9.08 | 9.67 | 17.2 | 147 | 20.1 | 21.9 | 28.9 | 10.6 | 28.7 | 20.3
839 | 2.73 | 3.28 | 4.7 | 3.71 | 5.36 | 4.74 | 14.9 | 34.8 | 35.8 | 39.6 | 7.58
4020 | 6.8 | 4.75 | 2.68 | 5.65 | 7.55 | 7.43 | 6.29 | 24.5 | 28.3 | 33 | 11.8

## Slide 14
Chart: Ambient TDS
| January | February | March | April | May | June | July | August | September | October | November | December
1999 | 102 | 114 | 288 | 862 | 190 | 141 | 130 | 115 | 200 | 192 | 103 | 125
2005 | 139 | 81.3 | 156 | 354 | 176 | 159 | 167 | 115.5 | 127
2008/2009 | 169 | 153 | 191 | 308 | 115 | 52.5 | 100 | 72.5 | 122 | 105 | 120 | 134

## Slide 15
Chart: Total Dissolved Solids for Marsh Bayou Sites 2011-2012
| June | July | August | September | October | November | December | January | February | March | April | May
4017 | 248 | 167 | 246 | 219 | 340 | 290 | 108 | 16 | 139.5 | 100 | 88 | 160
4016 | 152 | 122 | 200 | 144 | 297 | 193 | 52 | 36 | 183.5 | 112 | 504 | 123
4015 | 145 | 125 | 104 | 120 | 286 | 243 | 52 | 52 | 132 | 60 | 128 | 101
4018 | 95 | 127 | 68 | 152 | 256 | 186 | 10 | 10 | 167 | 92 | 112 | 64
4019 | 80 | 107 | 95 | 107 | 218 | 227 | 84 | 48 | 120 | 40 | 52 | 95
839 | 113 | 108 | 132 | 115 | 212 | 183 | 60 | 28 | 177 | 88 | 35
4020 | 86 | 79 | 1420 | 127 | 10 | 117 | 48 | 44 | 137 | 36 | 70

## Slide 16
Chart: Ambient TSS
| January | February | March | April | May | June | July | August | September | October | November | December
1999 | 15 | 35 | 38.5 | 151 | 4 | 6 | 9 | 34.7 | 13 | 6.5 | 31 | 12.3
2005 | 9.5 | 19.5 | 23.35 | 77 | 18 | 6.7 | 5.3 | 7.5 | 12
2008/2009 | 4 | 7 | 10 | 18 | 12 | 7.5 | 5 | 9.5 | 18 | 4 | 4 | 7

## Slide 17
Chart: Total Suspended Solids for Marsh Bayou Sites 2011-2012
| June | July | August | September | October | November | December | January | February | March | April | May
4017 | 31 | 19 | 124 | 48 | 140 | 4 | 28 | 82 | 25 | 9 | 31 | 13
4016 | 884 | 124 | 97 | 21 | 27 | 60 | 27 | 32 | 29 | 27 | 24 | 13
4015 | 24 | 33 | 23 | 16 | 17 | 15 | 17 | 20 | 16 | 14 | 24 | 18
4018 | 18 | 58 | 29 | 23 | 26 | 25 | 28 | 26 | 12 | 8 | 19 | 17
4019 | 86 | 45 | 5 | 18 | 76 | 98 | 44 | 14 | 11 | 4 | 12 | 68
839 | 6 | 9 | 19 | 12 | 24 | 21 | 5 | 14 | 14 | 13 | 15
4020 | 5 | 16 | 10 | 11 | 43 | 36 | 10 | 9 | 11 | 25 | 20

## Slide 18
Chart: Ambient DO
| January | February | March | April | May | June | July | August | September | October | November | December
1999 | 0.43 | 5.8 | 5.82 | 1.37 | 1.39 | 2.96 | 2.87 | 0.54 | 1.47 | 1.68 | 0.26 | 8.52
2005 | 2.31 | 5.83 | 2.14 | 3.63 | 0.295 | 0.61 | 0.6 | 0.6 | 0.26
2008/2009 | 2.1 | 0.77 | 0.27 | 0.61 | 0.5 | 0.165 | 0.5 | 1.17 | 0.13 | 0.22 | 1.9 | 5.34

## Slide 19
Chart: Dissolved Oxygen for Marsh Bayou Sites 2011-2012
| June | July | August | September | October | November | December | January | February | March | April | May
4017 | 1 | 1.1 | 0.79 | 0.28 | 1.4 | 2.87 | 0.94 | 7 | 5.42 | 4.46 | 1.31
4016 | 1.73 | 3.45 | 1.54 | 1.8 | 0.14 | 4.09 | 1.5 | 6.7 | 6.29 | 2.44 | 3.14
4015 | 0.33 | 0.46 | 0.37 | 1.1 | 2.64 | 1.99 | 0.8 | 4.55 | 6.105 | 2.27 | 1.67
4018 | 0.35 | 0.88 | 0.37 | 1.08 | 0.29 | 0.56 | 1.03 | 3.44 | 5.695 | 0.96 | 0.61
4019 | 0.26 | 0.5 | 0.13 | 0.36 | 0.67 | 3.62 | 0.68 | 4.09 | 6.1 | 1.87 | 0.8
839 | 0.42 | 0.45 | 0.28 | 0.3 | 0.21 | 0.49 | 0.75 | 4.02 | 6.15 | 0.76
4020 | 1.9 | 1.52 | 3.69 | 4.7 | 4.12 | 3.38 | 4.89 | 3.2 | 3

## Slide 20
Chart: Ambient Fecal Coliform
| January | February | March | April | May | June | July | August | September | October | November | December
1999 | 7 | 240 | 50 | 30 | 80 | 170 | 50 | 1600 | 170 | 1300 | 500 | 8.52
2005 | 300 | 5000 | 1225 | 16000 | 632 | 230 | 30 | 374 | 70
2008/2009 | 170 | 500 | 30 | 9000 | 30 | 16000 | 300 | 140 | 130 | 130 | 130 | 1100

## Slide 21
Chart: Fecal Coliform for Marsh Bayou sites 2011-2012
| June | July | August | September | October | November | December | January | February | March | April | May
4017 | 8200 | 1800 | 3400 | 6200 | 12000 | 9200 | 1200 | 700 | 1293 | 2000 | 12000 | 3200
4016 | 12000 | 3300 | 12000 | 10000 | 12000 | 10200 | 460 | 1300 | 1625 | 2200 | 2800 | 1300
4015 | 1160 | 8600 | 6800 | 170 | 1300 | 1400 | 80 | 900 | 1944 | 1500 | 3200 | 740
4018 | 1300 | 12000 | 12000 | 3200 | 12000 | 4600 | 500 | 5200 | 1676 | 1000 | 2500 | 340
4019 | 5600 | 12000 | 12000 | 6000 | 12000 | 12000 | 1600 | 600 | 3219 | 1400 | 2200 | 12000
839 | 590 | 1700 | 3100 | 2500 | 2200 | 5600 | 50 | 480 | 4200 | 1100 | 480
4020 | 520 | 1300 | 2600 | 1060 | 380 | 1700 | 800 | 900 | 2100 | 700 | 380

## Slide 22
Site 4017
Site 4016

## Slide 23
Site 4015
Site 4018

## Slide 24
Site 4019
WQN Ambient Site

## Slide 25: Conclusions
Bacteria problem seems to exist throughout the waterbody, however the source was not determine.
Lack of flow through out the year during ambient conditions.
DO problem may be more flow than pollutant related.
Current ambient site may not be representative of the stream, at least, in the case of DO.